| GOVERNMENT OF THE PEOPLE’S REPUBLIC OF BANGLADESH |  |  |
| --- | --- | --- |
| Local Government Engineering Department (LGED) Local Government Division Ministry of Local Government, Rural Development, and Cooperatives |  |  |
| # Environmental Assessment REPORT # For Restoration/ Rehabilitation of Baburail Canal with Landscaping, Beautification & Lighting Narayanganj City Corporation Municipal Governance and Services Project (MGSP) DRAFT FINAL NOVEMBER 2017 |  |  |

TABLE OF CONTENTS

|  | Page |
| --- | --- |
| ACRONYMS AND ABBREVIATIONS |  |
| GLOSSARY |  |
| EXECUTIVE SUMMARY |  |

|  |  | EXECUTIVE SUMMARY |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A |  | Introduction |  |  |  |  |  |  |  |  |  |
| B |  | Policy, Legal Administrative and Regulatory Framework |  |  |  |  |  |  |  |  |  |
| C |  | Subproject Description |  |  |  |  |  |  |  |  |  |
| D |  | Category of the Subproject |  |  |  |  |  |  |  |  |  |
| E |  | Initial Screening and Scoping of Environmental Impacts |  |  |  |  |  |  |  |  |  |
| F |  | Environmental Assessment |  |  |  |  |  |  |  |  |  |
| G |  | Alternative Analysis |  |  |  |  |  |  |  |  |  |
| H |  | Stakeholder and Public Consultation |  |  |  |  |  |  |  |  |  |
| I |  | Environmental Management and Monitoring Plan |  |  |  |  |  |  |  |  |  |
| J |  | Institutional Arrangements |  |  |  |  |  |  |  |  |  |
| 1.0 |  | INTRODUCTION |  |  |  |  |  |  |  |  |  |
|  |  | 1.1 |  | Subproject Background |  |  |  |  |  |  |  |
|  |  | 1.2 |  | Problem Analysis and Rationale of the Subproject |  |  |  |  |  |  |  |
|  |  | 1.3 |  | Objectives of this Study |  |  |  |  |  |  |  |
|  |  | 1.4 |  | Approach and Methodology of this Study |  |  |  |  |  |  |  |
|  |  | 1.5 |  | Scope of Work |  |  |  |  |  |  |  |
|  |  | 1.6 |  | Structure of the Report |  |  |  |  |  |  |  |
| 2.0 |  | LEGAL, POLICY AND REGULATORY FRAMEWORK |  |  |  |  |  |  |  |  |  |
|  |  | ## 2.1 |  | ## Introduction |  |  |  |  |  |  |  |
|  |  | ## 2.2 |  | ## Applicable Environmental Legislation and Policies in Bangladesh |  |  |  |  |  |  |  |
|  |  |  |  | 2.2.1 |  |  |  |  | ## Implication of GoB Legal and Regulations on the Proposed Subproject |  |  |
|  |  | 2.3 |  | International Treaties signed by Bangladesh |  |  |  |  |  |  |  |
|  |  | 2.4 |  | World Bank Safeguard Policies |  |  |  |  |  |  |  |
|  |  |  |  | 2.4.1 |  |  |  |  | ### Environmental Assessment (OP/BP 4.01) |  |  |
|  |  |  |  | 2.4.2 |  |  |  |  | ### Involuntary Resettlement (OP/BP 4.12) |  |  |
|  |  |  |  | 2.4.3 |  |  |  |  | ### Environment, Health and Safety Guidelines |  |  |
|  |  |  |  | ### 2.4.4 |  |  |  |  | ### Applicable World Bank Policies to the Subproject |  |  |
|  |  |  |  | ### 2.4.5 |  |  |  |  | ### Compliance Status with Bangladesh and World Bank Requirements |  |  |
| 3.0 |  | SUBPROJECT DESCRIPTION |  |  |  |  |  |  |  |  |  |
|  |  | 3.1 |  | Introduction |  |  |  |  |  |  |  |
|  |  | 3.2 |  | Subproject Objectives |  |  |  |  |  |  |  |
|  |  | 3.3 |  | Subproject Options |  |  |  |  |  |  |  |
|  |  | 3.4 |  | Subproject Plan, Design, Standard, Specification, Quantification |  |  |  |  |  |  |  |
|  |  |  |  | 3.4.1 |  |  |  |  | Subproject Plan |  |  |
|  |  |  |  | 3.4.2 |  |  |  |  | Design Principles |  |  |
|  |  |  |  | 3.4.3 |  |  |  |  | Major Component of the Subproject |  |  |
|  |  |  |  | 3.4.4 |  |  |  |  | Construction Materials |  |  |
|  |  |  |  | 3.4.5 |  |  |  |  | Resource and Utilities Require |  |  |
|  |  |  |  | 3.4.6 |  |  |  |  | Design of Slope Protection and Bridge |  |  |
|  |  |  |  | 3.4.7 |  |  |  |  | Specification |  |  |
| 4.0 |  | SUBPROJECT SETTING |  |  |  |  |  |  |  |  |  |
|  |  | 4.1 | Subproject Area and Current Situation |  |  |  |  |  |  |  |  |
|  |  | 4.2 | Major Environmental Features |  |  |  |  |  |  |  |  |
|  |  | 4.3 | Current Surface Water and Soil/Sediment/Sludge Quality |  |  |  |  |  |  |  |  |
| 5.0 |  | THE ENVISAGED KEY SUBPROJECT ACTIVITIES |  |  |  |  |  |  |  |  |  |
|  |  | 5.1 | Dredging/Excavating by Long boom Hydraulic Excavator |  |  |  |  |  |  |  |  |
|  |  | 5.2 | Temporary Disposal of the Dredged/Excavated Materials |  |  |  |  |  |  |  |  |
|  |  | 5.3 | Transportation of the Dredged/Excavated Materials |  |  |  |  |  |  |  |  |
|  |  | 5.4 | - Final Disposal and/or Separation and Re-use of the Dredged/Excavated Materials |  |  |  |  |  |  |  |  |
| 6.0 |  | EXISTING ENVIRONMENTAL & SOCIO-ECONOMIC CONDITIONS |  |  |  |  |  |  |  |  |  |
|  |  | 6.1 | Physical Environment |  |  |  |  |  |  |  |  |
|  |  |  | 6.1.1 |  |  |  |  | Geology and Soils |  |  |  |
|  |  |  | 6.1.2 |  |  |  |  | Topology |  |  |  |
|  |  |  | 6.1.3 |  |  |  |  | Climate and Meteorology |  |  |  |
|  |  |  | 6.1.4 |  |  |  |  | Hydrology |  |  |  |
|  |  |  | 6.1.5 |  |  |  |  | Drainage System |  |  |  |
|  |  |  | 6.1.6 |  |  |  |  | Flood in the Subproject Area |  |  |  |
|  |  |  | 6.1.7 |  |  |  |  | Seismic Effects |  |  |  |
|  |  | 6.2 | Biotic Environment |  |  |  |  |  |  |  |  |
|  |  |  | 6.2.1 |  |  |  |  |  |  | Flora |  |
|  |  |  | 6.2.2 |  |  |  |  |  |  | Fauna |  |
|  |  | 6.3 | Quality of the Environment |  |  |  |  |  |  |  |  |
|  |  | 6.4 | Socio-economic & Socio-cultural Environment |  |  |  |  |  |  |  |  |
| 7.0 |  | IDENTIFICATION AND ANALYSIS OF KEY ENVIRONMENTAL ISSUES |  |  |  |  |  |  |  |  |  |
|  |  | 7.1 | Environmental Sensitivity Investigation |  |  |  |  |  |  |  |  |
|  |  | 7.2 | Environmental Hot Spots |  |  |  |  |  |  |  |  |
|  |  | 7.3 | Likely Beneficial Impacts |  |  |  |  |  |  |  |  |
|  |  | 7.4 | Community Recommendations |  |  |  |  |  |  |  |  |
| 8.0 |  | ANALYSIS OF ALTERNATIVE |  |  |  |  |  |  |  |  |  |
|  |  | 8.1 | # The ‘No Subproject’ Scenario |  |  |  |  |  |  |  |  |
|  |  | 8.2 | # Site Alternatives |  |  |  |  |  |  |  |  |
| 9.0 |  | ANTICIPATED IMPACTS AND MITIGATION MEASURES |  |  |  |  |  |  |  |  |  |
|  |  | 9.1 | # Impact Identification |  |  |  |  |  |  |  |  |
|  |  | 9.2 | Pre-construction Phase |  |  |  |  |  |  |  |  |
|  |  |  | 9.2.1 |  |  |  | Technical Design |  |  |  |  |
|  |  |  | 9.2.2 |  |  |  | ### Public Consultation |  |  |  |  |
|  |  |  | 9.2.3 |  |  |  | ### Ecological Impacts |  |  |  |  |
|  |  |  | 9.2.4 |  |  |  | ### Resettlement & land acquisition |  |  |  |  |
|  |  | ### 9.3 | ### Construction Phase |  |  |  |  |  |  |  |  |
|  |  |  | ### 9.3.1 |  |  |  | ### Impact due to Dredging/Excavation Work (Handling, Transport and Disposal of the Excavated Materials) |  |  |  |  |
|  |  |  | ### 9.3.2 |  |  |  | ### Dismantle Work, Site Clearing, Excavation and Filling Work |  |  |  |  |
|  |  |  | ### 9.3.3 |  |  |  | ### Pollution from the Construction Materials |  |  |  |  |
|  |  |  | ### 9.3.4 |  |  |  | ### Air Quality and Dust |  |  |  |  |
|  |  |  | ### 9.3.5 |  |  |  | ### Noise and Vibration |  |  |  |  |
|  |  |  | ### 9.3.6 |  |  |  | ### Water Quality |  |  |  |  |
|  |  |  | ### 9.3.7 |  |  |  | ### Impacts on Regional Hydrology, Flooding and Drainage |  |  |  |  |
|  |  |  | ### 9.3.8 |  |  |  | ### Erosion and Siltation |  |  |  |  |
|  |  |  | ### 9.3.9 |  |  |  | ### Occupational Health and Safety |  |  |  |  |
|  |  |  | ### 9.3.10 |  |  |  | ### Impacts on Social Environment and Common Property Resources |  |  |  |  |
|  |  |  | ### 9.3.11 |  |  |  | ### Labor Influx and Anticipated Impacts |  |  |  |  |
|  |  |  | ### 9.3.12 |  |  |  | ### Impacts on Traffic Movement |  |  |  |  |
|  |  |  | ### 9.3.13 |  |  |  | ### Quality of Life Values/Positive Social Impacts |  |  |  |  |
| 10 |  | ENVIRONMENTAL MANAGEMENT PLAN |  |  |  |  |  |  |  |  |  |
|  |  | 10.1 | ### Objectives of Environmental Management Plan |  |  |  |  |  |  |  |  |
|  |  | 10.2 | ### Inclusion of EMP in the Contract Documents |  |  |  |  |  |  |  |  |
|  |  | 10.3 | ## Grievance Redress Mechanism |  |  |  |  |  |  |  |  |
|  |  |  | ## 10.3.1 |  | - Grievance Redress Committee (GRC) |  |  |  |  |  |  |
|  |  |  | ## 10.3.2 |  | ## Grievance Resolution Process |  |  |  |  |  |  |
|  |  | 10.4 | ## Environmental Management Action Plan |  |  |  |  |  |  |  |  |
|  |  | 10.5 | ## Environmental Monitoring Plan |  |  |  |  |  |  |  |  |
|  |  |  | ## 10.5.1 |  |  | ### Compliance Monitoring |  |  |  |  |  |
|  |  |  | ## 10.5.2 |  |  | ### Effects Monitoring |  |  |  |  |  |
|  |  | 10.6 | ## Environmental Management Budget |  |  |  |  |  |  |  |  |
|  |  | 10.7 | ## Environmental Codes of Practice and Responsibility of the Contractor |  |  |  |  |  |  |  |  |
| 11 |  | INSTITUTIONAL ARRANGEMENT AND CAPACITY BUILDING |  |  |  |  |  |  |  |  |  |
|  |  | 11.1 | Institutional Arrangements and Responsibilities |  |  |  |  |  |  |  |  |
|  |  | 11.2 | Capacity Building |  |  |  |  |  |  |  |  |
| 12 |  | PUBLIC CONSULTATION AND DISCLOSURE |  |  |  |  |  |  |  |  |  |
|  |  | 12.1 | Introduction |  |  |  |  |  |  |  |  |
|  |  | 12.2 | Objectives of Public Consultation and Disclosure Meeting |  |  |  |  |  |  |  |  |
|  |  | 12.3 | Approach and Methodology for Consultation |  |  |  |  |  |  |  |  |
|  |  | 12.4 | Stakeholder Assessment |  |  |  |  |  |  |  |  |
|  |  | 12.5 | Public Consultation Meetings (PCMs) |  |  |  |  |  |  |  |  |
|  |  | 12.6 | Public Disclosure Meetings (PDMs) |  |  |  |  |  |  |  |  |
|  |  | 12.7 | Access to Information |  |  |  |  |  |  |  |  |
| 13 |  | INDICATIVE EMERGENCY RESPONSE PLAN |  |  |  |  |  |  |  |  |  |
|  |  | 13.1 | Emergency Response Planning (ERP) |  |  |  |  |  |  |  |  |
|  |  | 13.2 | Alarm Systems/ Cautionary Systems |  |  |  |  |  |  |  |  |
|  |  | 13.3 | Training |  |  |  |  |  |  |  |  |
|  |  | 13.4 | Spills Prevention |  |  |  |  |  |  |  |  |
| 14 |  | CONCLUSION AND RECOMMENDATION |  |  |  |  |  |  |  |  |  |
|  |  | 14.1 | Conclusion |  |  |  |  |  |  |  |  |
|  |  | 14.2 | Recommendation |  |  |  |  |  |  |  |  |
| 15 |  | ANNEXURE |  |  |  |  |  |  |  |  |  |

LIST OF THE TABLES

LIST OF THE FIGURES

LIST OF THE PHOTOGRAPHS

GLOSSARY

Adverse impact: An impact that is considered undesirable.

Ambient air: Surrounding air.

Aquatic: Growing or living in or near water.

Baseline (or existing) conditions:  The “baseline‟ essentially comprises the factual understanding and interpretation of the existing environmental, social and health conditions of where the project activity is proposed. Understanding the baseline shall also include those trends present within it, and especially how changes could occur regardless of the presence of the project, i.e. the “No-development Option‟.

Beneficial impacts: Impacts, which are considered to be desirable and useful.

Biological diversity: The variety of life forms, the different plants, animals and microorganisms, genes they contain and the ecosystems they form. It is usually considered at three levels: genetic diversity, species diversity and ecological diversity.

Ecosystem: A dynamic complex of plant, animal, fungal and microorganism communities and associated non-living environment interacting as an ecological unit.

Emission: The total amount of solid, liquid or gaseous pollutant emitted into the atmosphere from a given source within a given time, as indicated, for e.g., in milligrams per cubic meter of gas or by a relative measure, upon discharge from the source.

Endangered species: Species in danger of extinction and whose survival is unlikely if the existing conditions continue to operate. Included among those are species whose numbers have been reduced to a critical level or whose habitats have been so drastically reduced that they are deemed to suffer from immediate danger of extinction.

Environmental effects: The measurable changes, in the natural system of productivity and environmental quality, resulting from a development activity.

Environmental Impact: An estimate or judgment of the significance and value of environmental effects for natural, socio-economic and human receptors.

Environment Management Plan (EMP): A Plan to undertake an array of follow-up activities which provide for the sound environmental management of a project/ intervention so that adverse  environmental  impacts  are  minimized  and  mitigated;  beneficial  environmental effects are maximized; and sustainable development is ensured.

Environmental Management: Managing the productive use of natural resources without reducing their productivity and quality.

Fauna: A collective term denoting the animals occurring in a particular region or period.

Field Reconnaissance: A field activity that confirms the information gathered through secondary sources. This field study is essentially a rapid appraisal.

Flora: All of the plants found in a given area.

Habitat: The natural home or environment for a plant or animal.

Household: A household is identified as a dwelling unit where one or more persons live and eat together with common cooking arrangement. Persons living in the same dwelling unit having separate cooking arrangements constitute separate household.

Important Environmental Component (IEC): These are environmental components of biophysical or socio-economic importance to one or more interested parties. The use of important environmental components helps to focus the environmental assessment.

Khal: Small Channel, Canal

River: A large natural stream of water flowing in a channel to the sea, a lake, or another such stream.

Land use: Types include agriculture, horticulture, settlement, pisci-culture and industries.

Mouza: A Bangla word for the smallest government administrative area corresponding to village revenue unit.

Mitigation:   An action, which may prevent or minimize adverse impacts and enhance beneficial impacts.

Public involvement / Focus Group Discussion/ Public Consultation: A range of techniques that can be used to inform, consult or interact with stakeholders‟ affected / to be affected by a proposal.

Stakeholders: Those who may be potentially affected by a proposal, e.g. Local people, the proponent, government agencies, NGOs, donors and others, all parties who may be affected by the project or to take an interest in it.

Terrestrial: Living on land.

Union: Smallest unit of local self-government comprising several villages.

City Corporation: A city corporation is the legal term for a local governing body, including (but not necessarily limited to) cities, counties, towns, townships, charter townships, villages, and boroughs.

Executive Summary

A.  Introduction

The proposed development of Restoration of Baburail Khalreshaping, Landscaping, Beautification, along with Lighting of Shitalakhya-Dhaleswari River via Baburail in NCC Connecting Khal will be a visionary of unique urban and waterways project. Narayanganj, acquiring the status of City Corporation in 2011, is facing the demand to address various issues for City dwellers, such as recreation, leisure and urban breathing facilities. The project is carrying a very important intention to restore the existing Khals of the City with the appropriate restoration of the environment as well as ensuring the recreation and amusement for all age group of City dwellers. Identifying an appropriate design concept and pragmatic visualization will, no doubt is the pre-requisites for the development intervention for undertaking of such a sizeable project.

This   Environmental Assessment   Report   (EA)   presents   the   environmental assessment of the proposed Baburail Khal. A Social Impact Assessment (SIA) and Resettlement Action Plan (RAP) will be prepared for the Restoration of Baburail Khal and are presented in separate covers.

The above-mentioned subproject activities will impact environment. The Project authority intended to develop and implement the subproject with sustainable manner as per DoE and WB guidelines.

B.  Policy, Legal Administrative and Regulatory Framework

The Environmental Conservation Act (ECA, 1995) is the main legislative framework related to environmental protection in Bangladesh. This umbrella Act includes laws for conservation of the environment, improvement of environmental standards, and control and mitigation of environmental pollution. In accordance with this Act, the proposed Project will need to be cleared by DoE before commencing the project following procedures given in the Environment Conservation Rules (ECR) 1997 amended on 2010. ECR classify the projects in to various categories (Green, Orange A, Orange B and Red) for the purpose of environmental clearances.  Restoration of Khal is not included in the classification of different industrial units or projects list in ECR. However, based on the component of the subproject activities mainly on restoration, landscaping, beautification and lighting, it falls under Red category.

C.  Subproject Description

The proposed Khal is locally termed as ‘Baburail & Jhelepara Bangla Bazaar Khal’, which is 2.8 km long and 15-20m wide in different sections connecting Shitalakhya River at the East and Dhaleshwari River at the West. At present, the Khal is disconnected with earth fill and unauthorized inhabitant occupying the Khal area. The Khal is situated under ward no 15 and 16 of NCC. While connected with the rivers, the Khal would flow East to West at monsoon and West to East at the lean period. Jimkhana Lake is also connected perpendicularly to the Khal and approximately 405 m long and 75 m wide surrounded by Deobogh Pucca Road and Bangabandhu Road. The Khal is adjacent to RK Mitra Road at South and Mubarak Shah Road at North; crossed the Bangabandhu Road at Mondal Para Intersection, the SM Maleh Road at Hangsha Cinema Hall Bridge, Deobogh Pucca Road at Zallerpar Bridge and Dhaka-Munshiganj Highway at Jhelepara Bridge (Kashipur).

D.  Category of the Subproject

According to the Environmental Conservation Rule (ECR, 1997), Restoration/Rehabilitation of Baburail Khal with landscaping, beautification and lighting subproject is fall under Red Category. Since most of the impacts are site specific and significantly manageable through effective mitigation measures; hence, this subproject can be classified as Category B as per WB guidelines.

E.  Initial Screening and Scoping of Environmental Impacts

Restoration of the Baburail Khal will follow original dimension and navigation capacity.  A summary of the screening of potential impacts associated to the proposed intervention of the Khal development is provided along with the potential mitigation measures.

F.  Environmental Assessment

Environmental Assessment of the subproject has been carried out using Environmental Management Framework (EMF) of MGSP and guidelines provided by DoE. The studies ensured all relevant environmental issues are mainstreamed into the design and implementation of the proposed subproject; ensure compliance of the subproject with national requirements, and conducting EA for the Baburail Khal Restoration subproject.

The following environmental issues were considered baseline survey during EA study:

- Quality of the soil/sediments/sludge to be excavated;

- Methods of excavation and dredging methods;

- Excavated soil disposal and excavated materials management;

- Basic OHS and other requirements for workers;

- Hydrology of the subproject area;

- Biological species study (Flora and fauna, endangered species);

- Climatic condition (Temperature, rainfall, humidity);

- Environmental quality (Air, water, noise);

- Socio economic condition (Population, demography, archeology, economy and culture, indigenous people, water supply and sanitation and affected person);

Mitigation measures developed as per impact identified based on the intervention in different stages of the subproject.

G.  Alternative Analysis

The alternate analysis found that the restoration of Baburail Khal is the only better option since it exists with unacceptable condition. The cost of restoration, time, will be less than any other option.

H. Stakeholder and Public Consultation

The stakeholder and public consultation program is an essential part of the environmental assessment process and has been undertaken both formally and informally throughout the study to ensure that the knowledge, experience and views of stakeholders and the general public are taken into account during the study. The information shared and recorded where relevant, has been applied to justify design, construction methodology and timing changes, in order to reduce predicted negative effects. This approach satisfies statutory consultation requirements of the DoE.

The primary methods followed in the consultation process are:

- Individual level consultation/discussion;

- Key Informant Interview;

- Focus group discussion.

A public consultation meeting on draft environmental and social assessment study held on 11th   April 17 at NCC Seminar Room at Narayanganj.  Photographs of this consultation meeting have been provided at the end of report. During these consultations, leaflets on key environmental and social issues were distributed to the participants (these were prepared in local language, Bangla) and posters were also displayed focal places and also at the venue. Power point presentations were made by environmental expert and participants were encouraged to ask questions on the environmental issues.

Before the commencement of the EMP meetings the following materials were disseminated and invite all stakeholder and affected person, pestering in important place one day before the consultation meeting, with the aim of developing positive and constructive relationships with stakeholders and improving their knowledge about the project and therefore enhance their ability to ask informed questions and to provide useful input and advice.

These materials were:

- Summary of the mitigations proposed during Project Disclosure meetings;

- Written and visual information, including leaflet/brochure in Bangla, maps, drawings  and diagrams, detailing the Project activities; and

- Identification of environmental impact of excavated material from existing Khal in order to beauty the Khal;

- The draft EMP;

- Grievance Redress Mechanism (GRM).

General findings of the public consultation:

Some issues, as described by those who attended in the consultation are summarized below: excavated materials management and disposal, affected structures, shops, compensation for structure and loss of income, socio-economic benefit, job facility and communication, drainage, solid waste management, water supply and sanitation, accident, noise pollution, air pollution, traffic congestion, contribution of improvement of traffic communication system also discussed.

I.   Environmental Management and Monitoring Plan

The basic objective of the EMP is to manage adverse impacts of proposed project interventions in a way that minimizes the adverse impact on the environment and people at the subproject sties. The specific objectives of the EMP are to:

- Facilitate the implementation of the mitigation measures discussed earlier in the document;

- Maximize potential project benefits and control negative impacts;

- Draw responsibilities for NCC, contractors, consultants, and other members of the project team for the environmental and social management of the Project;

Define a monitoring mechanism and identify monitoring parameters in order to:

- Ensure the complete implementation of all mitigation measures;

- Ensure the effectiveness of the mitigation measures;

- Maintain essential ecological process, preserving biodiversity and where possible restoring degraded natural resources; and

- Assess environmental training requirements for different stakeholders at various levels;

- Ensure Contractor Code of conduct.

The EMP will be managed through a number of tasks and activities and site-specific management plans. One purpose of the EMP is to record the procedure and methodology for management of mitigation identified for each negative impacts of the subproject. The management will clearly delineate the responsibility of various participants and stakeholders involved in planning, implementation and operation of the subproject.

J.  Institutional Arrangements

The Project implementation will be led by the Project Implementation Unit (PIU) that will be established within NCC. The PIU will be responsible for procurement of consultants for carrying out the EIA and engineering designs for the proposed sub components and overall implementation of the subproject. The PIU will be headed by Head of the Engineering Department of Narayanganj City Corporation. The focal person of the Environment &Social Safeguard of PIU will responsible for monitoring of environmental and social compliances in both construction and O&M phases of the project. In addition, if necessary NCC will recruit a permanent Environmental, Health and Safety Specialist, who will be responsible for overseeing the environmental mitigation measures during construction, operation and maintenance period.

The overall responsibility of environmental performance including EMP implementation of the subproject will rest with the project management of MGSP.

# CHAPTER -1: INTRODUCTION

# CHAPTER 1: INTRODUCTION

1.1 Subproject Background

The proposed development as Restoration and Shitalakhya-Dhaleshwari River Connecting Khal will be a visionary and unique urban and waterways project in the context of Bangladesh. Narayanganj, acquiring the status of City Corporation in 2011, is facing the demand to address various issues for city dwellers, such as recreation, leisure and urban breathing facilities. The project is carrying an important intention to restore the existing Khal of the City with the appropriate restoration of the environment as well as ensuring the recreation and amusement for all age group of city dwellers. Identifying an appropriate design concept and pragmatic visualization will, no doubt is the pre-requisites for the development intervention for undertaking of such a sizeable project.

Due to neglect for long time of sewage openings in the Khal it had become a dumping garbage ditch & an eyesore to the people of city because of emitting foul odors. The Khal is now disconnected from the river Shitalakhya at east by filling it with earth. Once upon a time it was a navigated Khal. Various types of country boats with jute, jute products and essential goods come from different places to Narayanganj through this Khal for different trade & commerce as it is the commercial & industrial old town & famous for business center. So, the authority of Narayanganj City Corporation intends to take up the task to restore & beautify the Khal and provide the public with recreational space by constructing Landscape around the belt of it in order to relieve the people. This project will include the cleaning of the Khal by removing the dumped garbage & excavating the slushy earth.

The overall vision for the Baburail Khal Restoration Project as expressed by the Mayor of NCC aims in 2011 is to restore the Khals to full navigation in the interests of conservation, biodiversity and local quality of life, and to use the restoration as a catalyst for wider social, economic and environmental regeneration in areas neighboring the Khal. A fundamental aim of the Restoration Project is to balance the need for restoration with the need to conserve the historic environment and protect biodiversity. The NCC is determined to carry out the restoration of the Khals in an exemplary manner, according to recognized principles of sustainability. The project will thus demonstrate good practice in waterway regeneration, protecting and enhancing both the built heritage and the natural environment, and this conservation-led approach will underpin all aspects of the work.

In addition to the conservation of the waterway heritage and ecology, the restoration of the Khals is intended to deliver significant social and economic regeneration. The intention is that it will make a substantial contribution to local community development and quality of life by increasing opportunities for recreational and amenity use of the Khal and their immediate environs. A vitally important aspect of this will be improved access for all, including people with disabilities. The project authority is intend to conserve and improve the quality of Environment and implements the project with environmentally sustainable manner to comply the national environmental law.

1.2 Problem Analysis and Rationale of the Subproject

The existing Khal with most of its part filled up with earth, dumping garbage and sewage pit which cause nuisance and foul odors. Due to years of negligence and sewage dumping in the Khal it had become a dumping ditch & an eyesore to the people of city. The Khal is now disconnected from the river Shitalakhya and Dhaleshwari. The environment of the surrounding area is heavily polluted. Hence economic activities become slow, lifestyle become poor and an aesthetic value reduces significantly.

Restoration of Baburail Khal with navigate facilities will ensure easy, pleasant and safe time, money and movement of traffics in the city; reduce traffic jam, save the fuel cost as well as working hour against existing communication network, and will make an easier way of communication within city area.

So, the restoration of the 3.5 Km Baburail Khal is very important and justified at the existing Baburail Khal location in order to increase the economic and social development of the City in a wider scope and benefit.

1.3 Objectives of this Study

- The major objective of Environmental Assessment of Baburail Khal as follows. The objectives of the study are to identify potential environmental risks and minimize adverse environmental impacts of the proposed restoration and strengthening of the Baburail Khal works in their area of influence and to ensure that impacts are minimized;

- To reshaping of Khal, landscaping, beautification, along with lighting of Shitalakhya- Dhaleswari River via Baburail connecting Khal;

- To restore the Baburail Khal with proper Navigation of boating through the Khal;

- To   improve   the social, economic   and   environmental regeneration   in   areas neighbouring the Khal;

- Local community development and quality of life by increasing opportunities for recreational and amenity use of the Khal and their immediate environs;

- To restore the Khal, slope protection and amusement facilities save the valuable land from land grabbers and improve this encroached area as an open space/ breathing place for retention area of water for avoiding artificial water logging within the City Corporation.

1.4 Approach and Methodology of this Study

This EA study has been conducted by a team of experts assigned by NCC and submitted to the DoE for the subproject for environmental clearance.

The methodology followed in preparing the EA consists of the following steps:

- Review of available details of the Baburail Khal and meeting/discussions with various stakeholders including local communities;

- Review of the policy and regulatory requirements; and EMF;

- Reconnaissance  field  visit  and  initial  scoping  and  screening  of  the  identified proposed investment sites to determine the key environmental parameters and aspects that are likely to be impacted by the project activities.  The purpose of such screening is to get a preliminary idea about the degree and extent of potential environmental impacts of a particular sub-project, which would subsequently be used to assess the need for and the scope of further detailed environmental assessment;

- Field investigations to collect baseline data using structured questionnaires, and sampling and analysis for air, water and noise;

- A detailed assessment of potential impacts of the Project activities and prepare detailed mitigation measures;

- Consultations at both local and national level with various stakeholders including affected communities.

1.5 Scope of Work

- Detailed field reconnaissance of the proposed alignment, with strip maps presenting all the environmental features and sensitive receptors (trees and structures in the Right of Way (ROW), Ponds, Religious Structures, Archaeological monuments, Natural Habitats, Schools, Utility Lines, other sensitive structures) along the corridor of the Khal;

- Conduct a base line Environmental Monitoring of various Environmental Attributes such as ambient air quality, noise levels, water quality (surface water and groundwater), ecological profile, etc;

- Carry out an assessment of environmental impacts of the subproject, including analysis of alternatives for both “with the subproject” and “without the subproject” scenarios;

- Draw Environmental Management and post Project Monitoring Plan with associated detailed cost estimates;

- The EMP will also provide key criteria for environmental quality monitoring in the project

- Implementation area and suggest an institutional framework for the implementation and monitoring of the recommended measures;

  - Structure of the Report

- Chapter 1 of the report presents the background information of the subproject. This chapter also presents the objectives of the Study, scope of work and the methodology adopted for the Study;

- Chapter 2 presents a critical discussion on the policy, legal and administrative framework applicable for this Project;

- Chapter 3 presents description of the subproject and other salient information relevant for environmental assessment;

- Chapter 4 describes location of the subproject, important environmental features and subproject setting;

- Chapter 5  describes envisaged key subproject activities for environmental assessment;

- Chapter 6 presents the assessment of the baseline environmental status of the Study Area. It describes in detail the surveys / field studies carried out as part of the subproject. The outcome of the surveys / field studies is presented in this Chapter;

- Chapter 7 Identification and Analysis of key environmental issues;

- Chapter 8 presents analysis of alternative;

- Chapter 9 identify and Assessment of potential environmental Impacts issues as well as the appropriate mitigation measures to address these negative impacts have been discussed;

- Chapter 10 presents the proposed EMP. This includes the proposed measures needed to prevent,   minimize   and   mitigate   the   adverse   impacts   and   improve   environmental performance, along with the proposed Implementation Mechanism for the EMP and financial estimates for the implementation of environmental measures proposed in the EMP;

- Chapter 11 institutional capacity described in this Chapter;

- Chapter 12 describes the consultations that have been carried out with the stakeholders and details of disclosure;

- Chapter 13 describes indicative emergency response plan and disaster impact assessment;

- Chapter 14 describes the conclusion and recommendation.

# CHAPTER-2: LEGAL, POLICY AND REGULATORY FRAMEWORK

# CHAPTER 2:  LEGAL, POLICY AND REGULATORY FRAMEWORK

## 2.1	Introduction

To address the environmental and social risks of any proposed project and its associated components; any protect and conserve the environment from any adverse impacts, the GOB has specified regulations, policy and guidelines. The activities of proposed restoration of Baburail Canal project of Bangladesh Government fall under the Orange B category according to the Bangladesh Environment Conservation Rules (ECR) 1997 and therefore, need to conduct IEE with EMP studies to obtain environmental clearance from the DoE.

## 2.2 Applicable Environmental Legislation and Policies in Bangladesh

Bangladesh Environmental Conservation Act, 1995 and amended in 2010: The Environmental Conservation Act (ECA) of 1995 is the main legislative framework related to environmental protection in Bangladesh. This umbrella Act includes laws for conservation of the environment, improvement of environmental standards, and control and mitigation of environmental pollution. This Act has established the Department of Environment (DoE), and empowers its Director General to take measures that he considers necessary which includes conducting inquiries, preventing probable accidents, advising the Government, coordinating with other authorities or agencies, and collecting and publishing information about environmental pollution. According to this act (Section 12), no industrial unit or project shall be established or undertaken without obtaining, in a manner prescribed by the accompanying Rules, an Environmental Clearance Certificate (ECC) from the Director General of DoE. In accordance with this Act, the proposed Project will need to be cleared by DoE before commencing the project following procedures given in the Environment Conservation Rules (ECR) 1997 (discussed below).

Other Relevant Acts, Laws and Rules in Bangladesh: Other legislation relevant to the proposed subproject is listed below.

Bangladesh Environment Conservation Rules (ECR), 1997 empowers the GoB to declare ecologically critical areas, classification of industries and projects into various categories, procedures for issuing the environmental clearance certificate, and determination of environmental standards. According to the Rule 7 (1) of the Environmental Conservation Rules 1997; for the purpose of issuance of Environmental Clearance Certificate (ECC), every industrial units or projects, in consideration of their site and impact on the environment, will be classified into the four categories and they are: Category I (green), Category II (Orange-A), Category III (Orange B) and Category IV (Red).  Development or restoration or up gradation of Canal are not included in any of these categories.

Bangladesh Wildlife (Protection and Safety) Act 2012 protects 1,307 species of plants and animals; and mandates imprisonment and fines for wildlife poaching, capturing, trapping, and trading. There is a risk that construction workers will kill the wildlife. Mitigation measures to address these risks are covered in EMF.

Bangladesh Wildlife (Preservation) Order (1973) and Act (1974) regulates the hunting, killing, capture, trade and export of wild life and wild life products. It designates a list of protected species and game animals. It empowers the Government to declare areas as game reserves, wildlife sanctuaries, and national parks to protect the country’s wildlife. Mitigation measures to address impacts on wildlife are covered in EMF.

The Bangladesh Labor Act, 2006 provides the guidance of employer’s extent of responsibility and workmen’s extent of right to get compensation in case of injury by accident while working. Mitigation measures to address workers’ health and safety are included in the EMF.

    - Implication of GoB Legal and Regulations on the Proposed Subproject

The legislations relevant for Environmental Impact Assessment for development of Canal are the Environmental Conservation Act 1995 (ECA'95) and the Environmental Conservation Rules 1997 (ECR'97). Department of Environment (DoE), under the Ministry of Environment and Forest (MoEF), is the regulatory body responsible for enforcing the ECA'95 and ECR'97.

It is the responsibility of the NCC as a proponent to conduct an Environmental Impact Assessment of development proposal. DoE is responsible to review this assessment for the purpose of issuing Environmental Clearance Certificate. The environmental clearance procedure for Red Category projects can be summarized in the Figure 2.2.1.1.

Figure 2.2.1.1: Process of obtaining Clearance certificate from DoE

Conducting EIA study for the proposed project

Obtaining Environmental Clearance

Renewal of the clearance after each one-year period

Obtaining Site Clearance and approved ToR for EIA

Application for Environmental Clearance

Application should enclose:

- Prescribed application form

- EIA report of the proposed project including EMP

- Outline of relocation, rehabilitation plan, if applicable

- Feasibility Study Report of the proposed project, if available

Application for site clearance

Application should enclose:

- Prescribed application form

- Application fee

- IEE report of the proposed project (including ToR for EIA)

- Location map/ layout plan, etc.

- No Objection Certificate (NOC) from local government authority

- Preliminary Feasibility Study Report, if available

Presentation on the EIA and EMP by the applicant agency to DOE

Red Category

Data Source: ECR-97

  - International Treaties signed by Bangladesh

Bangladesh is a signatory to a number of international environment-related treaties, conventions, declarations and protocols. The following are the relevant international treaties and conventions to which Bangladesh is a party:

Convention of Biological Diversity, 1992 (Biodiversity convention – Rio de Janeiro): The Convention has three objectives: the conservation of biological diversity, the sustainable use of its components, and the fair and equitable sharing of the benefits arising out of the utilization of generic resources. All parties are required to cooperate for the conservation of biodiversity, in respect of areas beyond national jurisdiction and other matters of regional interests, and must develop national strategies for the conservation and sustainable use of biodiversity and integrate this into sectional or cross-sectional guidelines;

1974 Convention on Wetlands of International Importance especially as Waterfowl Habitat (RAMSAR): The Convention requires states to designate at least one wetland site on the basis of its ecology, biology, zoology, limnology or hydrology and requires the conservation of wetlands by establishing nature reserves. There is also a requirement that any loss of wetland should be compensated for by creating new habitat;

United Nations Framework Convention on Climate Change, Rio de Janeiro (1992): The convention is broadly applicable due to project construction and operation activities. Mitigation measures to address greenhouse gases emissions are covered in the EMF;

Vienna Convention for the Protection of the Ozone Layer, Montreal (1987): Mitigation measures to address greenhouse gases emissions are covered in the EMF;

Convention on Conservation of Migratory Species of Wild Animals (1979): Migratory birds visit the project areas and mitigation measures to address impacts on migratory birds are included in the EMF;

Convention on International Trade in Endangered Species of Wild Fauna and Flora (CITES), Washington (1973): This is not directly relevant to the project since the project does not involve in any international trade of endangered species of wild fauna and flora.  General restrictions have however been included in the Environmental Code of Practice;

Convention concerning the Protection of World Culture and Natural Heritage (World Heritage Convention) (1972): Though directly not applicable to the project since there are no such known sites are located in the project area – measures to address chance finds are included in the EMF;

Kyoto Protocol (1997) and Copenhagen Accord (2009) on climate change: Mitigation measures to address greenhouse gases emissions from the project activities are included in the EMF;

The Minamata Convention on Mercury (2013) to protect human health and the environment from anthropogenic emissions and releases of mercury and mercury compounds. This Convention was a result of three years of meeting and negotiating, after which the text of the Convention was signed by delegates from 140 countries on 19 January 2013.  According to this convention, the trade related to mercury containing products will not be allowed through the canal;

The Paris Agreement (2015) is an agreement on climate change dealing with greenhouse gases emissions mitigation, adaptation for holding the increase in the global average temperature to well below 2 °C above pre-industrial levels and to pursue efforts to limit the temperature increase to 1.5 °C above pre-industrial levels, recognizing that this would significantly reduce the risks and impacts of climate change. This agreement may be applicable to the project because use of emissions related to the construction and operation of canal.

  - World Bank Safeguard Policies

The World Bank has developed a number of Safeguard Policies to ensure that all possible impacts are considered and mitigation measures are spelled out prior to the implementation of any proposed project. These policies ensure that the quality of operations is uniform across different settings worldwide. If the decision is taken that a Safeguard Policy should be applied, mitigation measures and plans must be developed and should be in place before the implementation of a proposed project.

The Bank requires environmental screening and classification for all investment projects proposed for Bank financing, to help ensure that they are environmentally and socially sound and sustainable. Screening and classification take into account the natural environment (air, water, and land); human health and safety; social aspects (including especially involuntary resettlement and presence of Indigenous Peoples); cultural property; and trans-boundary and global environmental aspects.

The objectives of environmental screening and classification are: to evaluate the environmental risks associated with a proposed operation; to determine the depth and breadth of Environmental Assessment (EA); and to recommend an appropriate choice of EA instrument(s) suitable for a given project. The Bank recognizes that environmental screening and classification is not absolute and involves professional Judgment on a case by case basis. When screening, careful consideration needs to be given to potential environmental impacts and risks associated with the proposed project. Judgment is exercised with reference to the policy expectations and guidance; real impacts on the ground; and established regional and Bank-wide precedence and good practice. The environmental screening is shown in Annex 1.

The applicable WB safeguard policies are described below.  In the following section, a table is provided indicating how each policy applies to the proposed investments.

    - Environmental Assessment (OP/BP 4.01)

EA requirement: The World Bank requires environmental assessment (EA) of projects proposed for Bank support to ensure that they are environmentally sound and sustainable, and thus to improve decision making. The Bank Policy OP/BP 4.01 considers that EA is a process whose breadth, depth, and type of analysis depend on the nature, scale, and potential environmental impact of the proposed project. EA evaluates a project's potential environmental risks and impacts in its area of influence; examines project alternatives; identifies ways of improving project selection, sitting, planning, design, and implementation by preventing, minimizing, mitigating, or compensating for adverse environmental impacts and enhancing positive impacts; and including the process of mitigating and managing adverse environmental impacts throughout project implementation. EA takes into account the natural environment (air, water and land); human health and safety; social aspects (involuntary resettlement, indigenous peoples and physical cultural resources); and trans-boundary and global environmental aspects. The Bank Policy also envisages that the borrower Government is responsible for carrying out the EA and the Bank advises the borrower on the Bank's EA requirements.

Classification of the Project: The World Bank classifies the proposed project into one of the four categories, depending on the type, location, sensitivity, and scale of the project and the nature and magnitude of its potential environmental impacts.  These categories are defined below.

- Category A: A proposed project is classified as Category A if it is likely to have significant adverse environmental impacts that are sensitive, diverse, or unprecedented. These impacts may affect an area broader than the sites or facilities subject to physical works;

- Category B: A proposed project is classified as Category B if its potential adverse environmental impacts on human populations or environmentally important areas--including wetlands, forests, grasslands, and other natural habitats are less adverse than those of Category A projects;

- Category C: A proposed project is classified as Category C if it is likely to have minimal or no adverse environmental impacts. Beyond screening, no further EA action is required for a Category C project;

- Category FI: A proposed project is classified as Category FI if it involves investment of Bank funds through a financial intermediary (FI), in subprojects that may result in adverse environmental impacts.

    - Involuntary Resettlement (OP/BP 4.12)

The WB’s experience indicates that involuntary resettlement under development projects, if unmitigated, often gives rise to severe economic, social, and environmental risks: production systems are dismantled; people face impoverishment when their productive assets or income sources are lost; people are relocated to environments where their productive skills may be less applicable and the competition for resources greater; community institutions and social networks are weakened; kin groups are dispersed; and cultural identity, traditional authority, and the potential for mutual help are diminished or lost. This policy includes safeguards to address and mitigate these impoverishment risks.

The overall objectives of the Policy are given below.

- Involuntary resettlement should be avoided where feasible, or minimized by exploring all viable alternative project designs;

- Where it is not feasible to avoid resettlement, resettlement activities should be conceived and executed as sustainable development programs, providing sufficient investment resources to enable the persons displaced by the project to share in project benefits.  Displaced persons should be meaningfully consulted and should have opportunities to participate in planning and implementing resettlement programs.

- Displaced persons should be assisted in their efforts to improve their livelihoods and standards of living or at least to restore them, in real terms, to pre-displacement levels or to levels prevailing prior to the beginning of project implementation, whichever is higher.

    - Environment, Health and Safety Guidelines

The Environment, Health, and Safety (EHS) Guidelines contain the performance levels and measures that are generally considered to be achievable in new facilities or project by existing technology at reasonable costs. In addition, there are also industry specific EHS guidelines.

    - Applicable World Bank Policies to the Subproject

The applicable World Bank policies for the development of Baburail Canal are given in Table 2.4.4.1.

Table 2.4.4.1: Triggering the World Bank Policies for Subproject

| Directive | Policy | Applicability for the Subproject | Explanation |
| --- | --- | --- | --- |
| Environmental Assessment | OP/BP 4.01 | Triggered. | Restoration and operation of Baburail canal expected to cause impact on natural environment (air, water and noise quality) and health and safety of local community and workforce. This project falls into Category B since most of these impacts are site specific and can be mitigated with standard mitigation measures. |
| Natural Habitats | OP/BP 4.04 | Not Triggered. | No natural habitats are located in near the subproject |
| Physical Cultural Resources (PCR) | OP 4.11 | Not triggered. | No PCRs located in the proposed subproject |
| Indigenous Peoples | OP/BP 4.10 | Not triggered | There are no indigenous people near the subproject |
| Involuntary Resettlement | OP/BP 4.37 | Triggered | 19.5acres of Land is required for project infrastructure facilities. A Resettlement Action Plan (RAP) has been prepared under separate cover, detailing the relevant requirements to ensure compliance with this policy. |
| Forests | OP/BP 4.36 | Not triggered. | No forests are located in the proposed port area |
| Child labor |  | Not Triggered. | National laws on child labor will be strictly followed. No child labor will be hired by the contractors or subcontractors in any of the project activities. |
| Access to Information |  | Applicable to the project. | EA will be disclosed in country (on NCC website) and will be sent to WB Info Shop. Public consultations with local community held on at NCC Poura Auditorium (Old) on 11th April 2017. The executive summary of the EA will be translated to Bangla and which will be available in hard copy in locally accessible locations in the project area, including NCC offices. |

  - Compliance Status with Bangladesh and World Bank Requirements

The present compliance status of the project with Bangladesh legislation and World Bank safeguard policies is indicated in Table 2.5.1.

Table 2.5.1: Compliance of the Project with GOB Legislation and World Bank Safeguard Policies

| Policy | Legislation/Policy | Actions Taken to Comply |
| --- | --- | --- |
| GoB requirements | Environmental Conservation Rules | NCC will submit EIA with EMP to DoE for environmental clearance certificate |
|  | International treaties | Verification of protected sites, Red List and protection of vulnerable habitats in environmental screenings and assessments of the Baburail Canal. No such protected or vulnerable sites are noticed in the project area. |
|  | Public information and disclosure | The EIA report will be disclosed on NCC website. Public consultations meetings held on 11th April 2017 at NCC Poura Auditorium (Old) (500 m from the Baburail Canal) and to solicit stakeholder feedback. |
| World Bank requirements | Early Screening and Scoping | Screening using structured questionnaires was carried out during the assessment study of the Project. (Annex-1) |
|  | Participatory approach | Key informant interviews, consultation meetings and focus group discussions were held between March and April 2017. |
|  | Integrate environmental and social assessment | Natural environment, public health, and social aspects are incorporated into EIA. |
|  | Natural Habitats | Verification of protected sites and ecosystems, Red List and endangered flora and fauna has been done for Baburail Canal. No protected ecosystems are located in the project area. |
|  | Risk assessment | Health and safety risks for population and workers are identified in the EIA and management measures will be included in tender documents. NCC capacity will also be strengthened on health and safety risk management. |
|  | Climate Change and Floods | Impact of floods and climate change effects are considered for design of the Baburail Canal . |
|  | Alternatives | Alternatives have been considered for location of proposed restoration of Baburail facilities in the selected area. |
|  | Pollution | Baseline survey of air, noise and water quality has been carried out. Environmental Code of Practices (ECoPs) are included in contractors‟ bidding documents |
|  | Physical Cultural Resources | No physical, cultural resources which warrant special treatment under the World Bank OP 4.11 were identified in the proposed restoration of area. One mosque and no graveyard are located in the proposed canal area. |
|  | Social impacts | For negative social impacts on land/assets/livelihood/access to resources etc. mitigation plans will be prepared in keeping with the Bank’s Operational policies triggered. |
|  | Gender | Women participated in the consultation meetings. In the project design, female waiting rooms and toilets are included. |
|  | Public Health | Public health aspects were studied and public health impacts are covered in EIA |
|  | Consultation and access to information | The EIA will be disclosed on NCC website and will also be sent to WB InfoShop. The executive summary of the EIA has been translated to Bangla and was circulated to local community. Public consultations held on 11th April 2017 at NCC Poura Auditorium (Old). |

# CHAPTER -3: SUBPROJECT DESCRIPTION

# CHAPTER 3: SUBPROJECT DESCRIPTION

3.1    Introduction

Narayanganj City Corporation is growing to become one of the urban giant in Bangladesh. It has 73.42 sq.km areas with a population projection of 1.5 million. Considering the recent national policy on equal development as well as the economic growth of the country and due to benefit of proposed Padma bridge and Jatrabari flyover, it is expected that Narayanganj will become important in generating its own economic and demographic pull in the south-east district and will be the dominant city adjacent to Dhaka, the capital city of Bangladesh. Considering good communication system, peaceful atmosphere and availability of trade & commerce, Industries are being grown up along with the rapid urbanization.

Due to rapid urbanization, industrialization and population growth, Narayanganj is facing pressure to address the various issues i.e. severely aggravate the management of essential urban services and impede the existing facilities providing for the citizen.

3.2    Subproject Objectives

The objectives of the subproject are as follow:

- To restore the Baburail Canal with proper navigation of boating through the Khal;

- To provide recreation facilities along the both side of the Khal;

- Save the valuable land from land grabbers and improve this encroached area as an open space/ breathing place for retention area of water for avoiding artificial water logging within the City Corporation.

3.3    Subproject Options

The environmental and social impacts considerations play an important role in the subproject planning, which means the environmentally friendly and socially acceptable options are chosen keeping the cost factor into consideration. This leads to carrying out an analysis of preferable alternatives for selection of technology and sites in line with the regulatory/legal compliance. The analysis has taken into consideration the above and described below.

The alternative option analyses found that there are no other such Khal passing east to west of the City. So there is no scope of alternative site selection. Basic information of the subproject is given in the following Table 3.3.1.

Table 3.3.1:  Basic Information of the Subproject

| Name of Information | Description of Information |
| --- | --- |
| Name of Project | Baburail Khal Restoration from Shitalakhya to Dhaleswari River. (It includes reshaping of Baburail Khal, landscaping, beautification, and lighting of Shitalakhya to Dhaleshwari River via Baburail in Narayanganj City Corporation |
| Implementation agency | NCC |
| Finance by | World Bank |
| Nature of traffic pass through | Light boat |
| Length of Khal | 2.8 km |
| Width of Khal | 15-20 m |
| Number of Bridge | 7 no foot bridge and 9 nos. of Road bridge, Width 3-7 m |

Source: Project data sheet

3.4      Subproject Plan, Design, Standard, Specification, Quantification

3.4.1   Subproject Plan

The Shitalakhya-Dhaleswari River Connecting Canal is surrounded by residential and commercial neighborhoods. The aesthetic appeal of such as water feature works as a setting for residential and commercial areas in developed countries. This kind of canals may also lend themselves as recreational hub for the neighboring areas [according to Greater London Council, GLC Standards as in Roberts, 1974: 340].  Similar sort of canal project is observed in European cities (i.e. Regents Canal in London) which acts as a breathing hub of the city, water ways and connection between different community parks and recreational facilities.

Subproject Plan (Implementation Schedule): The whole work has been subdivided by several packages. From Ch.0 to 394.57 is under package-1. The work for the package-1 has already been started which is not included in this study. However, designing of the remaining packages i.e. package-2 to package 11 are ongoing now. It is important to note that this study excludes package-1, and includes all other remaining 10 packages i.e. from Ch. 394.57 to 2803.50m. The package wise subproject detail is given in the following Table 3.4.1.1.

Table 3.4.1.1: Package wise Subproject Detail

| Package number | Chainage | Type of Work | Status |
| --- | --- | --- | --- |
| 1 | 0 to 394.57 m | Soil/sediments/sludge removal, slope protection, RCC pipe drain, road, bridges, landscaping, walk way | On going |
| 2 | 394.57 to 732.34 m | Soil/sediments/sludge removal, slope protection, RCC pipe drain, road, bridges, landscaping, walk way, electrical works, Ghat and seating | Design is ongoing |
| 3 | 732.34 to 980.58 m | Soil/sediments/sludge removal, slope protection, RCC pipe drain, road, bridges, landscaping, walk way, electrical works, Ghat and seating | Design is ongoing |
| 4 | 980.58 to 1299.68 m | Soil/sediments/sludge removal, slope protection, RCC pipe drain, road, bridges, landscaping, walk way, electrical works, Ghat, seating and public toilet | Design is ongoing |
| 5 | 1299.68 to 1535.20 m | Soil/sediments/sludge removal, slope protection, RCC pipe drain, road, bridges, landscaping, walk way, electrical works, Ghat and seating | Design is ongoing |
| 6 | 1535.20 to 1800.38 m | Soil/sediments/sludge removal, slope protection, RCC pipe drain, road, bridges, landscaping, walk way, electrical works, Ghat and seating | Design is ongoing |
| 7 | 1800.38 to 2000.00 m | Soil/sediments/sludge removal, slope protection, RCC pipe drain, road, bridges, landscaping, walk way, electrical works, Ghat and seating | Design is ongoing |
| 8 | 2000.00 to 2336.27 m | Soil/sediments/sludge removal, slope protection, RCC pipe drain, bridges, landscaping, walk way, electrical works, Ghat and seating | Design is ongoing |
| 9 | 2336.27 to 2803.50 m | Soil/sediments/sludge removal, slope protection, RCC pipe drain, road, bridges, landscaping, walk way, electrical works, Ghat and seating & spill basin | Design is ongoing |
| 10 | 2803 m | Safety and Security | Design is ongoing |
| 11 | 2 nos. | Sluice gate | Design is ongoing |

Figure 3.4.1.1: subproject Implementation Schedule for Baburail Khal, Narayanganj

3.4.2   Design Principles

The main design principal for Baburail Canal is the restoration of the Baburail Khal and facilitation of the socially inclusive public space. The main element of the subproject preserve low line water retention area to prevent flash flood, tackle illegal encroachment and development connectivity.

Revival and restoration of Baburail Canal is a step forward initiative toward a sustainable development of new urban agenda. The recent water clogging of Dhaka City has signified the importance of restoring and preserving low lying areas as water retention and catchment area.

3.4.3   Major Component of the Subproject

The following are the major component of the subproject:

- Approx. 3 km long both side drain

- 07 Nos Foot Bridges

- 09 Nos Road Bridges

- Recreational facility

- Footpath/ Walkway

- Landscaping

- Water Control Devices at both end of the river side

- Canal slope protection

- Ghat

- Viewing Deck

- Floating Folded Deck

- Lighting

- Public Toilet & Drinking water

3.4.4   Construction Materials

Construction materials for restoration of Baburail Canal are following. These will be procured from different markets.

- Soil

- Bitumen

- Asphalt

- Cement

- Sand

- Stone chips

- MS rod

- Water

- PVC pipe

- G.I Pipe

- Wood

- Bricks

- Hollow block

- Gunny Bag

- Stone

- Geo Textile

- Clay soil

3.4.5 Resource and Utilities Require

- Construction material;

- Utilities (water, electricity, sewerage, waste disposal and others);

- Other infrastructure road, drain to support the subproject.

3.4.6 Design of Slope Protection and Bridge

Sectional Design of Slope protection of Baburail Khal is given in Figure 3.4.6.1.

Typical plan and long section of the Bridge is given in the Figure 3.4.6.2.

3.4.7 Specification

Structural materials will be mainly reinforced concrete and brick masonry.

Reinforcing steel will be structural grade plain round bars and high strength deformed bars.

Concrete will generally be made of Ordinary Portland Cement, local and sand and brick jhama chips or crushed stone.

Brick masonry work will be done with first class burnt clay bricks and cement-sand mortar

All these are locally available materials with proven strength and performance. Local craftsmen are familiar with their use and application. Their use will ensure economy as well as performance, strength and durability.

# CHAPTER -4: SUBPROJECT SETTING

# CHAPTER 4: SUBPROJECT SETTING

4.1 Subproject Area and Current Situation

The proposed Khal is locally termed as ‘Baburail & Jhelepara Bangla Bazaar Khal’, which is 2.8 km long and 15-20m wide in different sections connecting Shitalakhya River at the East and Dhaleshwari River at the West. At present the Khal is disconnected with earth fill and unauthorized inhabitant occupying the Khal area. The Khal is situated under word no 15 and 16 of NCC. While connected with the rivers, the Khal would flow East to West at monsoon and West to East at the lean period. The Khal is adjacent to RK Mitra Road at South and Mubarak Shah Road at North; crossed the Bangabandhu Road at Mondal Para Intersection, the SM Maleh Road at Hangsha Cinema Hall Bridge, Deobogh Pucca Road at Zallerpar Bridge and Dhaka-Munshiganj Highway at Jhelepara Bridge (Kashipur). The topographic features and location of the 3.5 km Baburail Khal Restoration Subproject is shown in Figure 4.1.1 and Figure 4.1.2. The location of Baburail Khal with Catchment area is shown in Figure 4.1.3.

Figure 4.1.1: Topographic View of the 2.8 km Baburail Khal Restoration Subproject

Figure 4.1.2: Location of the 2.8 km Baburail Khal Restoration Subproject

Figure 4.1.3: Location of Baburail Khal with Catchment Area

4.2 Major Environmental Features

During site visit the environmental and infrastructural features within the subproject area were collected. Conditional survey has also been conducted for designing the subproject. The survey data is also used for preparing the report. The environmental and infrastructural features listed both sides of the Khal considering 100 m longitudinal interval.

Table 4.2.1: Major Environmental and Infrastructural Features

| Chainage (m) | Left | Right | Major Environmental and Infrastructural Features (adjacent to the khal and within 30 m from the center of the khal) |
| --- | --- | --- | --- |
| 396-500 | √ |  | National Heart Foundation, national heart foundation tree garden(Banyan, Jackfruit, Koroi, Arjun, Nim, Mango ,Bel, Dewa, Guava, Debdaru, Mahogany), residential houses, connecting road towards Jalla Para with bridge |
|  |  | √ | Mubarak Shah Road, electric poles, various shops with rice, furniture and stationary, hotel, restora and Fast Food, Zim Khana Lake, Baburail Mosque |
| 500-600 | √ |  | Common planted trees( Kadom, Sajina, Papaya, Banana, Dumur, Coconut, Guava, Betel nut, Neem, Gab, Chambal, Dewa, Hijol, Khaifol, Mahogany), and naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, aquatic weeds and grasses), domestic wastes, residential area with multistoried building |
|  |  | √ | Mubarak Shah Road, road side multistoried residential houses, 18 no. and 19 no. Baburail Government Primary School, common planted trees( Koroi, banana, Bannay), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, aquatic weeds and grasses), domestic wastes, electric poles |
| 600-700 | √ |  | Residential house, naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, Kolmi Shak, water hyacinth, aquatic weeds and grasses), domestic wastes |
|  |  | √ | Mubarak Shah Road, residential area, common planted trees( Koroi, Banana, Banyon), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, Kolmi Shak, aquatic weeds and grasses), domestic wastes, electric poles |
| 700-800 | √ |  | Residential area with multistoried building, connecting road, Glamour’s World Beauty Parlor, common planted trees( Koroi, banana, Bannya, Papaya, Khejur, Mango, Dumur,Jam, Cycas, Kadom, Baganbilash, Coconut, Badam, ), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes |
|  |  | √ | Common planted trees (Bannay, Boroi), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes, Mubarak Shah Road with homestead area and various shops, boundary wall, electric poles |
| 800-900 | √ |  | Common planted trees (Mango, Swarupa, Mahogany, Krisnachura, Dumur, Boroi, Neem, Banyon, Coconut, Kadom, Bannay, Dumur), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes, residential houses, boundary wall, Mosque |
|  |  | √ | Mubarak Shah Road, electric poles, Mobarak Shah Road Side Residential area with multistoried building and various shops, common planted trees (Koroi, Banna), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes |
| 900-1000 | √ |  | Connecting road, homestead area, common planted trees (Coconut, Jackfruit, Koroi, Bannay, Kadom, Mahogany, Guava, Banana, Mango), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes |
|  |  | √ | Mubarak Shah Road, road side tin-shed shops and homestead area, roadside various shops, floating shops, common planted trees (Kadom, Banana, Mango, Dumur), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes, electric and TNT poles |
| 1000-1100 | √ |  | Homestead area with different structures, common planted trees (Coconut, Mango, Kadom, Banya, Dumur), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes, connecting road with bridge, bushes, trees, shrubs |
|  |  | √ | Mubarak Shah Road, road side residential buildings, common planted trees ( Bannay), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes, electric poles |
| 1100-1200 | √ |  | Common planted trees (Kadom, Coconut, Banana, Bannay, Neem, Boroi, Guava, Mehedy, Dumur, Mahogany), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes, Sree Sree Rokha Kali Mandir, Baytul Wachit Jame Mosque, connecting road with foot over bridge, homestead area with different structures |
|  |  | √ | Mubarak Shah Road, Mobarak Shah Road Side Residential area with multistoried building, , common planted trees (Mango, Banana), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes, electric and TNT poles |
| 1200-1300 | √ |  | Residential area with various structures, , common planted trees (Coconut, Banana, Dumur, Mahogany, Bannay), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes, |
|  |  | √ | Jaggroto Sangsad Club, Bisramagar, Khankah Sharip with Madrasa and Dafon Kamiti Office, Mubarak Shah Road with homestead area and various shops, , common planted trees (Kadom, Banna, Banyon), naturally grown vegetation (shrubs and bushes), khal is fully covered by natural vegetation (Kalkasia, water hyacinth, aquatic weeds and grasses), domestic wastes, electric and TNT poles |
| 1300-1400 | √ |  | RCC and bamboo made access bridges, tin shed and semi-pucca structures, electric poles, Khal is fully covered by natural vegetation (Kalkasia, Pakoir-types of Banyan tree, Jhir trees, aquatic weeds and grasses), domestic wastes and kitchen garbage, common planted trees (Coconut, Mango, Rain tree, Jackfruit, Betel nut, Pulm, Badam, Papaya, Kadam) and naturally grown vegetation (shrubs and bushes) |
|  |  | √ | 1 no. Baburail khal last end by NCC, khal illegally grabbed by hanging tin shed structure, varieties (grocery shops, medicine shops, Barbara shop, computer and electronic shop, tea stall), electric and TNT poles, pucca structures, Khanka Sharif, Madrasa and Chistia Dafon Committee, RCC culvert, common planted trees (Pakoir trees, Neem, Sajna, Coconut, Kadam, Banyan tree), access BC road (4m) |
| 1400-1500 | √ |  | Khal is fully covered by natural vegetation (Kalkasia, Pakoir-types of Banyan tree, Jhir trees, aquatic weeds and grasses), domestic wastes and kitchen garbage, seasonal wet land, tin shed, pucca, semi pucca and multi storied structures, RCC, wooden and bamboo made access bridges, common planted trees (Banana, Jackfruit, Mehendi) and naturally grown vegetation (shrubs and bushes) |
|  |  | √ | Khal illegally grabbed by hanging tin shed structure, varieties shops (grocery shops, medicine shops, Barbara shop, tea stall), electric and TNT poles, transformers, |
|  |  |  | Munshi Bari Jame mosque, Modinatul Ulm Madrasha, pucca and semi-pucca structures, common planted trees (Coconut, Kadam, Pulm, Kodbell, Rain tree, Mango, Banyan tree), access BC road (4m) |
| 1500-1600 | √ |  | Hakimbag R/A, RCC, wooden and bamboo made access bridges, Khal is fully covered by naturally grown vegetation of aquatic herbs, shrubs and trees (Kalkasia, Kolmi shak, water hyacinth, Pakoir -types of Banyan tree, Jhir trees, aquatic weeds and grasses), domestic wastes and kitchen garbage, tin shed, pucca, semi pucca and multi storied structures, common planted trees (Banana, Ata, Papaya, Mahogany, Rain tree, Coconut, Pulm, Mehendi), naturally grown vegetation (shrubs and bushes), electric and TNT poles |
|  |  | √ | Khal illegally grabbed by hanging tin shed structure, house hold sanitary connection on khal by PVC pipe, varieties shops, electric and TNT poles, transformers, pucca and semi-pucca structures, Holly mission tutorial home coaching center, common planted trees (Coconut, Rain tree, Mahogany, Kadam, Mango), access BC road (3.5m) |
| 1600-1700 | √ |  | Pond, RCC and wooden made access bridges, Khal is fully covered by naturally grown vegetation of aquatic herbs and shrubs (Kalkasia, Kolmi shak, water hyacinth, Jhir trees, aquatic weeds and grasses), domestic wastes and kitchen garbage, house hold illegal sanitary connection, transformer, tin shed, pucca, semi pucca and multi storied (Sahara Mahal) structures, common planted trees (Ata, Mahogany, Sajna, Jhir tree), naturally grown vegetation (shrubs and bushes), electric and TNT poles |
|  |  | √ | Khal illegally grabbed by hanging tin shed structure, varieties shops, electric and TNT poles, transformers, pucca and semi-pucca structures, common planted trees (Banyan, Pakoir, Pulm, Palm tree, Maha Neem, Bohera), Vasha Soinik Nagina Joha link road, access BC road (3m) |
| 1700-1800 | √ |  | RCC and wooden made access bridges, Khal is fully covered by naturally grown vegetation of aquatic herbs and shrubs (Kalkasia, Kolmi shak, water hyacinth, Pakoir trees, Kadam, aquatic weeds and grasses), domestic wastes and kitchen garbage, hanging latrine, house hold illegal sanitary connection, common planted trees (Rain tree, Ata, Mahogany, Tentul, Kodbell, Kadam, Banana, Mango) and naturally grown vegetation (shrubs and bushes) |
|  |  | √ | East Aambagan Panchayet Committee (Khal illegally grabbed and hanging on khal-Pucca structure), RCC bridge (linked khal of Baburail khal- fully vegetation and big trees coverage along the link khal by Rain tree, Coconut, Chalta, Kodbell, Jhir and naturally grown vegetation), Usanul Hasna Mohila Madrasa, Rainbow International school, common planted trees (Rain tree, Ata, Mahogany, Tentul, Kodbell, Kadam), access BC road (2.5m) |
| 1800-1900 | √ |  | Pucca, semi-pucca and tin-shed residential house, electric poles, RCC and wooden made access bridges, varieties shops, Khal is fully covered by naturally grown vegetation of aquatic herbs and shrubs (Kolmi shak, water hyacinth, aquatic weeds and grasses), domestic wastes and kitchen garbage, bamboo stockpile for sell on Baburail khal, Darus Sunnah Kamil Madrasa, Bangla Bazar Somaj Union Sangshad, planted trees (Debdaru, Hasna Hena, Betel nut, Mango, Kadam, Jhir, Rain tree, papaya) |
|  |  | √ | Electric and TNT poles, Khal illegally grabbed by hanging tin shed structure, varieties shops of Bangla Bazar market area, Pucca, semi-pucca and tin-shed residential structures, transformer, damaged BC access road (3.5m), Gangreho coaching center, mosque, Rupali bank limited, common planted trees and naturally grown vegetation (Guava, Coconut, Mango, Jackfruit, Ata, Mehendi, Pulm, Man-Kachu, Pakoir, Bokul) |
| 1900-2000 | √ |  | Baitul Aksa Jame mosque, pucca, semi-pucca and tin shed structures, RCC and wooden access bridges, low wet land, common planted trees and naturally grown vegetation (Kadam, Banana, Jhir, Pakoir, Mahogany, Coconut, Tentul, Chambal, Mango) |
|  |  | √ | Bangla bazaar market area, varieties shop, Khal illegally grabbed by hanging tin shed structure, pucca and semi-pucca structures, RCC stair on khal, Ansar club, access BC road (3m), political party office, Deovhog Haji Ujir Ali High school, common planted trees (Rain tree, Mahogany, Banyan) |
| 2000-2100 | √ |  | RCC and bamboo made access bridges, pucca, semi-pucca, tin shed and katcha structures, Khal illegally grabbed by hanging katcha structure, common planted tress (Mango, Kodbell, Dumur, Coconut, Gub, Neem, Guava) |
|  |  | √ | Deovhog Haji Ujir Ali High School, varieties shop, pucca and semi-pucca structures, Khal illegally grabbed by hanging pucca structure, RCC bridges (linked khal of Baburail khal- fully vegetation and big trees coverage along the link khal), common planted trees (Rain tree, Pakoir, Banyan, Dumur, Coconut, Kadam), access BC road (3m) |
| 2100-2200 |  |  | Boundary wall, semi-pucca, pucca and tin shed structures, Khal illegally grabbed by hanging katcha structures, common planted trees (Bamboo bunches, Coconut, Kadam, Gub, Rain tree), natural grown vegetation along the khal side, Bats on an old Rain tree |
|  |  |  | Pond, mosque, pucca and semi-pucca structures, common planted trees (Kadam, Coconut, Neem, Mango, Chalta), natural grown vegetation (herbs, shrubs - Kaffola, Jhir trees), electric poles |
| 2200-2300 |  |  | Semi-pucca, pucca and tin shed structures, common planted trees (Bamboo bunches, Coconut, Kadam, Gub, Rain tree), natural grown vegetation along the khal side, Bats on an old Rain tree |
|  |  |  | Common planted trees (Kadam, Coconut, Neem, Mango, Chalta), natural grown vegetation (herbs, shrubs - Kaffola, Jhir trees) |
| 2300-2400 |  |  | Common planted trees (Bamboo bunches, Coconut, Betel nut, Kadam, Gub, Rain tree), natural grown vegetation along the khal side |
|  |  |  | Common planted trees (Kadam, Coconut, Neem, Mango, Chalta), natural grown vegetation (herbs, shrubs - Kaffola, Jhir trees) |
| 2400-2500 |  |  | Common planted trees (Bamboo bunches, Coconut, Betel nut, Kadam, Gub, Rain tree), natural grown vegetation along the khal side |
|  |  |  | Common planted trees (Kadam, Coconut, Neem, Mango, Chalta), natural grown vegetation (herbs, shrubs - Kaffola, Jhir trees) |
| 2500-2600 |  |  | Semi-pucca and pucca and tin shed structures, common planted trees (Rain tree, Kadam, Guava, Pulm, Mango, Coconut, Tentul, Bamboo bunches), electric poles |
|  |  |  | Electric poles, pucca, semi-pucca and tin shed structures, common planted trees (Ata, Kadam, Rain tree, Pakoir, Banana) and naturally grown vegetation (Bamboo bunches, Pakoir and Jhir trees) |
| 2600-2700 |  |  | Semi-pucca and pucca and tin shed structures, electric poles, common planted trees (Rain tree, Kadam, Mango, Coconut, Tentul) |
|  |  |  | Temple, Baillie bridge, electric poles, pucca, semi-pucca and tin shed structures, common planted trees (Ata, Kadam, Rain tree, Pakoir, Banana) and naturally grown vegetation (Bamboo bunches, Jhir trees) |
| 2700-2803 |  |  | Semi-pucca and pucca and tin shed structures, common planted trees (Rain tree, Kadam, Guava, Pulm, Mango, Coconut, Tentul) |
|  |  |  | Temple, Baillie bridge, electric poles, pucca, semi-pucca and tin shed structures, common planted trees (Ata, Kadam, Rain tree, Pakoir, Banana) and naturally grown vegetation (Benth/cane, Bamboo bunches, Jhir trees) |

The current situation of the Baburail Khal is further elaborated in the following Photographs 4.2.1.

Photograph 4.2.1: Existing Condition of the Baburail Khal

4.3 Current Surface Water and Soil/Sediment/Sludge Quality

Evaluation of the surface water and soil/sediment/sludge quality in order to recognize the chemical composition of the dredged materials is the pre-requirement to design the subproject. Chemical composition and quality of the waste water and dredged materials has direct influence on the dredging activities especially on temporal and permanent storage of the dredged materials and health & safety. Furthermore, the sampling has been taken in order to determine requirements for temporal and permanent storage of the dredged material and re-usability of the excavated materials.

To evaluate the surface water quality, three samples of surface water have been taken from the Baburail Khal, Kashipur Khal and Shitalakhya River.  An overview of the locations of the sampling points is given in Figure 4.3.1.

Figure 4.3.1: Surface water sampling

Table 4.3.1: Surface Water (SW) Quality Analysis

| SN | Parameter | Unit | Concentration of SW at Baburail Khal | Concentration of SW at Kashipur Khal | Concentration of SW at Shitalakhya River | Bangladesh (DoE) Standard for Surface Water (Schedule- 3-A) |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | pH |  | 7.3 | 8.1 | 7.8 | 6.5 – 8.5 |
| 02 | DO | mg/l | 0.6 | 0.9 | 1.7 | ≥5 |
| 03 | BOD5 | mg/l | 28.2 | 24.6 | 21.6 | ≤10 |
| 04 | COD | mg/l | 80 | 75 | 56 | NYS |
| 05 | TDS | mg/l | 696 | 553 | 696 | NYS |
| 06 | EC | µS/cm | 1478 | 1099 | 1478 | 2250 |
| 07 | TSS | mg/l | 368 | 274 | 234 | NYS |

Source: Enviro Quality Lab under Enviro Consultants Ltd.

Note: NYS- Not Yet Set

Analysis of the surface water carried out in this study showed that the measured parameters satisfy the Bangladesh surface water standard. BOD5 of all samples exceed the standard value; thus, do not satisfy DOE standard.

A hand auger was used to collect the soil from Baburail Khal. Pre-cleaned zipper bags were used to store the Khal bed sediment samples and the samples were kept in a cooler box which was sent to Soil Resources Development Institute (SRDI) laboratory. Hand gloves were used during sampling of soil materials collection. The test results of Baburail Khal bed sediment sample are provided in Table 4.3.2.

Table 4.3.2: Khal Bed Sediment Material of Baburail Khal

| SI No. | Parameter | Unit | Concentration of Baburail Khal | Bangladesh (DoE) Standard for Soil | EU Directive 86/278/EEC for land Application |
| --- | --- | --- | --- | --- | --- |
| 1 | pH |  | 6.1 | NYS | NYS |
| 2 | Lead (Pb) | PPM | 2.45 | NYS | 1200 |
| 3 | Cadmium (Cd) | PPM | 0.03 | NYS | 40 |
| 4 | Chromium (Cr) | PPM | 18.20 | NYS | NYS |
| 5 | Zinc (Zn) | PPM | 4.50 | NYS | NYS |

The test results of Khal bed sediment/sludge were compared with EU Directive 86/278/EEC for land application. The test result of Pb, and Cd of sediment samples was found less than EU Directive and hence it is suitable for land application. However, the other parameters Cr and Zn are still unknown. Hence, measures have to be taken for a safety working condition and disposal of the dredged materials to avoid any further degradation of the environment. Furthermore, because of the limited information and changing circumstances, adaptation to technical, environmental or health and safety issues will be verified by further evaluation of the sludge/sediment and waste water quality.

It should be noted that the sampling results are largely determined by the flow conditions at the time of sampling —analyses of water samples taken during the rainy season will differ from those taken in the dry season. Generally, during the rainy season because of the rainfall and dilution the concentration is generally low. However, during the dry season generally the concentration is high. Results may also differ depending on whether and how much wastewater has been discharge in the Khal in preceding days.

# CHAPTER-5: THE ENVISAGED KEY SUBPROJECT ACTIVITIES

CHAPTER 5: THE ENVISAGED KEY SUBPROJECT ACTIVITIES

The key activity of the subproject is dredging/excavating the sediment/sludge from the channel, thus obtain it s original dimension and navigation capacity. Dredging activities will include dredging of the sediment/sludge, transport to the disposal site and disposal of the excavated materials.

5.1 Dredging/Excavating by Long boom Hydraulic Excavator

Long boom hydraulic excavator is a suitable dredging method with wider working space and limited water depth. It is suitable equipment for dredging in slopes as well. Hence, long boom hydraulic excavator is the preferable method excavating the soil/sediment/sludge for Baburail Khal. Dredging should be executed in the direction of the water flow starting upstream, to avoid spoilage on the parts that are already cleared.

Figure 5.1.1: Long Boom Hydraulic Excavator to be used for Baburail Dredging/Excavation Works

5.2 Temporary Disposal of the Dredged/Excavated Materials

In the wider part of the Baburail Khal, dredged materials can be directly loaded to the dump truck for transportation to the disposal site. Most of the section of the Baburail Khal has adequate access and parallel road for the transportation of the dump truck. Hence, temporary disposal is mostly not needed. However, last portion of the Baburail Khal has no access road parallel to the Khal. Hence, temporary disposal of the dredged materials may be needed. PIU of NCC will examine the site condition for any necessity of the temporary disposal prior to the dredging activities. However, it is highly recommended to avoid temporary disposal of the dredged materials.

At last section of the khal, water level is adequate for the movement of the small engine boat and or small barge operated by engine. To avoid temporary disposal, the excavated materials can be placed in to a barge or small engine boats which transports to the location where barges/boats can be unloaded by the hydraulic grabber to the dump truck. Then the excavated material can be transported to the disposal site by dump truck.

5.3 Transportation of the Dredged/Excavated Materials

After excavation, the excavated materials will be directly loaded into dump trucks and transported to the disposal site. The dump trucks for transportation of the excavated materials must be watertight and must be properly covered to prevent spoilage. It is assumed that it will take approximately 1 hour for one trip from the Baburail Khal to the disposal site which indicates a minimum amount of 10 to 12 trucks during full operation of the dredging works. Registration forms will be used during transportation of the excavated materials to register and supervise the transportation of the excavated materials.

Figure 5.3.1: Dump truck to be used for disposal of the excavated materials

The whole route is going through a very busy part (residential and commercial mixed zone) of Narayanganj City with conditions varying from crowded traffic. Along the route, no big obstacles were encountered, but the traffic condition was not suitable at some locations. Especially, the possibility of traffic hazards near Chashara and at rail crossing at Izdair can be reported.

5.4 Final Disposal and/or Separation and Re-use of the Dredged/Excavated Materials

For practical reasons, it can be proposed that the dredged/excavated materials during the first six months of the dredging will be transferred to a designated disposal site. Further studies on alternatives such as separation of the waste fractions as well as re-use of the selection fractions can be investigated and possibly applied in the last phase of the dredging/excavation, once the subproject is well underway and the remedial and maintenance dredging/excavation has proven itself. The City Corporation Authority proposed three locations for the excavated material disposal. As a part of the detailed field investigation, the consultant visited the proposed disposal sites.  Jhalkury disposal site is located within 5 km from the Baburail Khal. The disposal site at Izdair is within 2 km from Baburail Khal. The disposal location near Jimkhana is within 1 km from Baburail Khal.

The disposal locations near Izdair and at Jhalkury do not meet the likely criteria for using as disposal site. Hence, they are requirements to be fulfilled before disposal of the excavated materials over there.

- A dyke/specific high earthen boundary all round the sites (construction of a dyke is needed considering the highest flood level ) for ensuring that it will not flooded during rainy season and monsoon because it can enhance changing of the physical characteristics of the surface water;

- Using of impermeable materials such as clay layer/liner at the bottom capable to prevents infiltration to the ground because it can accelerate changing of the physical character of the ground water.

The disposal site at Jimkhana mostly meets the likely criteria for using as a disposal site. Hence, excavated materials can dispose here without any specific requirements before disposal of the excavated materials.

Figure 5.4.1: Location Map of Proposed Disposal Site at Jhalkury

Figure 5.4.2: Location Map of Proposed Dumping Yard at Izdair

Figure 5.4.3: Location Map of Proposed Dumping Yard at Ward no-16

# CHAPTER-6: ENVIRONMENTAL AND SOCIAL BASELINE

# CHAPTER 6: ENVIRONMENTAL AND SOCIAL BASELINE

  - Physical Environment

### 6.1.1 Geology and Soils

Geologically NCC lies on the edge of the Madhupur Tract and the Holocene floodplain deposits from the aquifers. Geologically it is a terrace from one to ten meters above the adjacent floodplains. Two characteristic geological units cover NCC, namely, Madhupur Clay of the Pleistocene age and alluvial deposits of recent age. The Madhupur Clay is the oldest sediment exposed in the area having characteristic topography and drainage. The major geographic units of the City are: the high land or terrace, the low land or floodplain, depressions, and abandoned channels. Low lying swamps and marshes located in and around the area are other major topographic features.

The channels and depressions within the city are floored by recent alluvial floodplain deposits and are subdivided into Lowland Alluvium and Highland Alluvium. The alluvial deposits are composed of fine sand, silt and clay in different combinations.

Baburail Khal connects with Shitalakhya River at the East and Dhaleshwari River at the West. These rivers have significant impact on the geology and geotechnical properties of the soils because they cover the whole investigation area with alluvial deposits related to the floodplains.

The alluvial soils of these floodplains mainly consist of ridges of loamy material like silty clays and silty sands with large areas of shallow clays in the basins. The soil pattern can become more irregular close to river channels due to more recent deposits. With regard to the youngest activities (natural as well as anthropogenic) organic soils of swamps may be found locally as well as areas where the ground level has been raised using loose sands (hydraulic sand filling) dredged and pumped from nearby rivers. Figure 6.1.1.1 shows the geological formation of Bangladesh as well as the project area.

Figure 6.1.1.1: Geological Map of Bangladesh

(Source: Geological Survey of Bangladesh)

### 6.1.2 Topology

Narayanganj is located mostly on the river deposits at the southern fringe of the Madhupur Tract, which is elevated Pleistocene inlier. Large parts of the City are located on this inlier, which is surrounded by very young riverine sediments occupying the surrounding valleys. The elevation of the inlier tract varies from 2 to 14 m above mean sea level, and the drainage patterns within can be either dendrites or trellis. The terraces are surrounded by the Ganges-Meghna floodplain in the south, the old Brahmaputra floodplain in the east, and the Jamuna floodplain in the west.

The topographic elevation in the subproject area is reflected in specific landforms as “high” lands, lowlands, depressions, and abandoned channels. Around the outskirts of Narayanganj, the rivers Shitalakhya and Dhaleswari consists of low-lying alluvial plains. The average elevation here is less than 2 m above mean sea level. Broad streams cut through the central high area and fall into this unit. The broad streams are locally known as khals, and the broad depressions are called beels.

The subproject area is spread over the Madhupur tract and old Brahmaputra Flood plain. Topographic view of Bangladesh and the subproject area is shown in Figure 6.1.2.1.

Figure 6.1.2.1: Topographic view of Bangladesh and the Project area

### 6.1.3 Climate and Meteorology

As there is no meteorological station available in Narayanganj, the climatic variables monitored at the Dhaka Station (approx. 20 km from the site) have been assumed to represent the climatic condition of the subproject area. Different meteorological data like rainfall, temperature, relative humidity and wind speeds monitored at the meteorological station in Agargaon, Dhaka are used.

The climate of the subproject area can be described as Tropical Monsoon. It is characterized by the warm, humid summers and cool and dry winters. However, generally the weather is sub-tropical, with a warm climate all the year round. The annual average temperature varies maximum 36°C to minimum 12.7°C and the average annual rainfall is 2376 mm. Figure 6.1.3.1 shows the annual distribution of the temperature of NCC.

Figure 6.1.3.1: Annual Distribution of the Temperature (Source: BMD)

Monthly precipitation records clearly show a distinct dry and rainy season in Figure 6.1.3.2.

Figure 6.1.3.2: Monthly Average Rainfall (Source: BMD)

The average annual relative humidity is 65.8% and average monthly relative humidity ranges from 45% in March to 79% in June.

Figure 6.1.3.3: Average Annual Relative Humidity (Source: BMD)

6.1.3.4: The mean monthly wind speed in Dhaka (meters/second) over the year (Source: BMD)

According to the statistics of the wind data from the Bangladesh Meteorological Department Climate Division, wind direction changes by month. Nevertheless, the northwest, south, and northeast winds are predominant.

The dredging works also can be influenced by the climatic condition and meteorological components like humidity, temperature, rainfall and wind speed. During high temperature and excess humid condition make the requirements for labor safety measures. It is very risky to work under rain and with high wind speed because possibility of getting injury by any means of accident. Therefore, it also makes the requirements for occupational health and safety measures. During high wind speed, there might be possibility of quick spreading of the bad odor from the excavated materials.

### 6.1.4 Hydrology

Narayanganj City Corporation belongs to the hydro-geological unit II Holocene Deltaic and Flood Plains. Ground water is available here in plenty and water table does not go beyond suction limit throughout the year. Groundwater is the main source of potable water in the subproject area. Deep groundwater is not saline and normally arsenic and iron free. Local people typically supply water by DWASA and use individual deep tube-well water for drinking and other domestic purposes. Rain water harvesting system is not common in around the subproject area.

River Sitalakhya and Dholeswary are flowing along the two different sides of the Narayanganj City Corporation. Though it is polluted, however; River Sitalakhya and Dholeswary are main surface water sources in the City Corporation area. The Baburail Khal is connected River Sitalakhya and Dholeswary. The River Shitalakhya bisects the City into two parts and it is flowing through the elongated direction of it. The River Dhaleshwari is flowing at the Western part of the City Corporation. The Buriganga River and the Balu River are contributing the Dhaleshwari and the Shitalakhya respectively from the up.

According to Hydrological study, in Balu River maximum and minimum discharge at Demra station was observed 744.10 cumec in 1998 and 159.58 cumec in 2011 respectively.  In Shitalakhya River maximum and minimum discharge at Demra station was observed 2742.2 cumec in 1998 and 755.57 cumec in 2006 respectively. Combined maximum and minimum discharge at Demra Station was observed 3486.3 cumec in 1998 and 877.18 cumec in 2012 respectively.

Water level data of five stations of Dhaleshwari, Shitalakhya, and Buriganga Rivers were observed. Table 6.1.4.1 shows the Standard high water level (SHWL) and standard low water level of the five stations.

Table 6.1.4.1: SHWL and SLWL of Dhaleshwari, Shitalakhya and Buriganga River

| River Name | Station | SHWL | SLWL |
| --- | --- | --- | --- |
| Buriganga | Dhaka (Mill Barrack) | 7.06 mPWD | 0.37mPWD |
| Dhaleswari | Rekabi Bazar | 6.62 mpWD | 0.47 mPWD |
| Dhaleswari | Kalagachia | 6.14 mPWD | 0.36 mPWD |
| Shitalakhya | Demra | 6.88 mPWD | 0.60 mPWD |
| Shitalakhya | Narayanganj | 6.75 mPWD | 0.43 mPWD |

Source: Hydrological study by the consultant

### 6.1.5 Drainage System

According to previous data, this area is not affected in severe flood events in the last decade. Due to continuous heavy rain, temporarily this area is subjected to water logging problems. Structured and functional drainage system in this area is absent. The existing drainage system is not functional. The drain is being filled up by the disposal of the wastes. Thus, the land floods when it rains heavily.

There are existing 229.44 km of surface drain in the City Corporation area. Out of 229.44 km of drain 112.2 km of brick, 49.85 km of RCC, 2.89 km of pipe, and 45.50 km of Katcha drain. Both sides RCC pipe drain will be provided at Baburail Khal in order to facilitate the drainage facilities.

### 6.1.6 Flood in the Subproject Area

Floods are more or less a recurring phenomenon in Bangladesh and often have been within tolerable limits. But occasionally they become devastating. From the hydrological study following (Table 6.1.6.1) flood scenario can be observed.

Table 6.1.6.1: Flood Levels under different scenario

| Flood Level (in mPWD) At Different Scenario |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location | Q_100yr freq | Q_50yr freq | HWL | WL_100yr freq | SHWL | NFL/ Avg. FL | SLWL | LWL |
| Baburail Canal_ Shitalakhya end | 7.27 | 6.95 | 6.76 | 6.72 | 6.36 | 5.44 | 0.39 | 0.30 |
| Baburail Canal_ Dhaleshwari end | - | - | 6.92 | 7.46 | 6.92 | 5.59 | 0.45 | 0.45 |
| Flood Level(in mMSL) At Different Scenario |  |  |  |  |  |  |  |  |
| Location | Q_100yr freq | Q_50yr freq | HWL | WL_100yr freq | SHWL | NFL/Avg. FL | SLWL | LWL |
| Baburail Canal_ Shitalakhya end | 6.81 | 6.49 | 6.30 | 6.26 | 5.90 | 4.98 | -0.07 | -0.16 |
| Baburail Canal_ Dhaleshwari end | - | - | 6.46 | 7.00 | 6.46 | 5.13 | -0.01 | 0.00 |
| Flood Level(in mMSL) At Different Scenario with 1 m freeboard |  |  |  |  |  |  |  |  |
| Location | Q_100yr freq | Q_50yr freq | HWL | WL_100yr freq | SHWL | NFL/Avg. FL | SLWL | LWL |
| Baburail Canal_ Shitalakhya end | 7.81 | 7.49 | 7.30 | 7.26 | 6.90 | 5.98 | -0.07 | -0.16 |
| Baburail Canal_ Dhaleshwari end | - | - | 7.46 | 8.00 | 7.46 | 6.13 | -0.01 | 0.00 |

Source: Base data from WDB and Prepared by the consultant

6.1.7 Seismic Effects

According to BNBC (GSB), Bangladesh has three seismic zones. Narayanganj City Corporation area falls in Zone II, i.e. medium intensity seismic zone of the country.

6.1.7.1: Seismic Zoning Map of Bangladesh

6.2 Biotic Environment

### 6.2.1 Flora

There are lots of trees at both sides of the Khal. A detailed inventory has been performed in the field for the identification of the tree to be felled down due to this subproject intervention that is shown in Table 6.2.1.1.

Table 6.2.1.1: List of tree species to be felled down due to subproject intervention

| Name of Tree (Local/English) | Size of Tree |  |  | Number of Trees | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Big | Medium | Small |  |  |
| Mango | 11.00 | 3.00 | 4.00 | 24.00 |  |
| Banyan | 3.00 | 3.00 | 14.00 | 20.00 |  |
| Jackfruit | 5.00 | 15.00 | 9.00 | 29.00 |  |
| Koroi | 27.00 | 17.00 | 15.00 | 60.00 |  |
| Arjun | 0.00 | 15.00 | 0.00 | 15.00 |  |
| Neem | 0.00 | 26.00 | 8.00 | 34.00 |  |
| Bel | 0.00 | 0.00 | 2.00 | 2.00 |  |
| Dewa | 1.00 | 0.00 | 1.00 | 2.00 |  |
| Guava | 0.00 | 0.00 | 8.00 | 8.00 |  |
| Mahogany | 19.00 | 30.00 | 68.00 | 117.00 |  |
| Kodom | 24.00 | 27.00 | 20.00 | 71.00 |  |
| Sajina | 0.00 | 1.00 | 1.00 | 2.00 |  |
| Papaya | 0.00 | 10.00 | 22.00 | 32.00 |  |
| Banana | 5.00 | 31.00 | 60.00 | 96.00 |  |
| Coconut | 22.00 | 9.00 | 6.00 | 37.00 |  |
| Dumur | 0.00 | 5.00 | 9.00 | 14.00 |  |
| Betel nut | 0.00 | 2.00 | 0.00 | 2.00 |  |
| Gab | 0.00 | 0.00 | 3.00 | 3.00 |  |
| Chambal | 1.00 | 0.00 | 0.00 | 1.00 |  |
| Hijol | 0.00 | 1.00 | 0.00 | 1.00 |  |
| Khaifol | 0.00 | 1.00 | 0.00 | 1.00 |  |
| Khejur | 1.00 | 0.00 | 0.00 | 1.00 |  |
| Jam | 0.00 | 0.00 | 1.00 | 1.00 |  |
| Cycas | 6.00 | 0.00 | 0.00 | 6.00 |  |
| Baganbilash | 0.00 | 0.00 | 2.00 | 2.00 |  |
| Kathbadam | 0.00 | 0.00 | 1.00 | 1.00 |  |
| Boroi | 0.00 | 1.00 | 3.00 | 4.00 |  |
| Swarupa | 0.00 | 1.00 | 0.00 | 1.00 |  |
| Krisnachura | 1.00 | 0.00 | 0.00 | 1.00 |  |
| Bonne | 1.00 | 1.00 | 2.00 | 4.00 |  |
| Mehedy | 0.00 | 0.00 | 1.00 | 1.00 |  |
| Pakoir | 6.00 | 12.00 | 22.00 | 40.00 |  |
| Kodbell | 4.00 | 8.00 | 10.00 | 22.00 |  |
| Palm | 1.00 | 3.00 | 7.00 | 11.00 |  |
| Jhir | 5.00 | 7.00 | 4.00 | 16.00 |  |
| Debdaru | 0.00 | 3.00 | 4.00 | 7.00 |  |
| Hasnahena | 0.00 | 5.00 | 6.00 | 11.00 |  |
| Chalta | 1.00 | 1.00 | 2.00 | 4.00 |  |
| Tetul | 1.00 | 1.00 | 2.00 | 4.00 |  |
| Bokul | 0.00 | 1.00 | 0.00 | 1.00 |  |
| Bamboo bushes | 0.00 | 5.00 | 0.00 | 5.00 |  |
| Ata | 2.00 | 4.00 | 8.00 | 14.00 |  |
| Badam | 4.00 | 6.00 | 8.00 | 18.00 |  |
|  |  |  | Total | 746.00 |  |

Figure 6.2.1.1: Aquatic flora at the proposed subproject site

Figure 6.2.1.2: Terrestrial flora (tree) close to the subproject site

### 6.2.2 Fauna

The common local birds such as Crow, Sparrow, Bulbuli, Tuntuni, Finge, Kingfisher, Shalik, Bat etc. were found during the site visit. Mongoose, Rat, Fox etc. were also found during site visit.

Fish (Cat fish) is available in the Baburail Khal especially in the last sections where water is available.  Fish is still reasonably available in the nearby Shitalakhya side and Dhaleshwari River. The fishes include catfishes (Magur and Shing), major carps (Katla, Rui and Mrigal), and minor carps (Puti), Telapia, other (Tengra, Boal, Mola, Taki, and Shol). Also prawn, particularly the popular small prawns, locally known as Ichha. The Fish Species in the Study is shown in Table 6.2.2.1.

Table 6.2.2.1: Fish Species in the Study Area

| Fish Group | Scientific Name | Local Name |
| --- | --- | --- |
| Cat Fish Major Carps Minor Carps Snakehead Eel Others | Macro brachiummalcolmsoni Mystusvittatus Mystusvittatus Wallago attu Labeorohita Catlacatla Cirrhinusmrigala Puntius sophore Channa punctatus Mastacembelusarmatus Amblypharyngodonmola Pscudeutropicusatberinoides | Icha Tengra GolishaTengra Boal, Pangash, Telapia Rui Catla Mrigel Puti Taki Bain Mola Batasi |

Figure 6.2.2.1: Fish trader with native aquatic fauna (fish) in the study area

### 6.3 Environment Quality

Sampling and analysis is carried out for air, noise and water quality. The locations of sampling sites are shown in Figure 6.3.1. The standard of environmental quality is shown in Annexure.

Figure 6.3.1: Air, Water and Noise sampling locations

### a. Air Quality

Ambient air quality in the subproject area was monitored in two locations whose GPS reading area is tabulated (Table 6.3.1).

Figure 6.3.2: Ambient Air Quality Monitoring

Table 6.3.1: Air Quality Monitoring Locations

| Sample Type | Place of GPS | GPS Coordinate |
| --- | --- | --- |
| Air Quality Monitoring | Nimtoli Bazar | 23°36’22.31”N, 90º30’17.60”E |
|  | Baburail Road | 23°36’35.38”N, 90º29’45.35”E |

Table 6.3.2: Ambient Air Quality Data

| SN | Location | Ambient Air Polluants Concentration in µg/m3 |  |  |  |  | CO ppm |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | SPM | PM10 | PM2.5 | SO2 | NOX |  |
| 01 | Baburail Road | 436.66 | 81.11 | 35.98 | 36.41 | 246.74 | Nil |
| 02 | Nimtola Bazar | 530.55 | 211.66 | 78.76 | 72.83 | 373.75 | 0.9 |
| Duration (hrs) |  | 8 | 8 | 8 | 8 | 8 | 1 |
| DoE (Bangladesh) Standard |  | 200 | 150 | 65 | 365 | 100 | 35 |
| Method of Analysis |  | Gravimetric | Gravimetric | Luminous Flux Scatter sensor | West-Geake | Jacob & Hochheiser | CO Meter |

Source: Enviro Quality Lab under Enviro Consultants Ltd.

In Baburail road ambient air quality parameter PM10 , PM2.5, SO2, and CO are within the DOE standards but concentration of SPM, and NOx exceed DOE standard. In Nimtola Bazar ambient air quality parameter SPM, PM10 , PM2.5, and NOx  exceed DOE standard but SO2, and CO are within the DOE standards.

### b. Noise

As a part of study, baseline noise level measurements were conducted at different locations within the subproject area during day and night times. Noise level was also measured continuously at the Baburail road and Nimtola bazar located near the proposed site. GPS reading of the measurement location area is tabulated (Table 6.3.3)

| Sample Type | Place of GPS | GPS Coordinate |
| --- | --- | --- |
| Noise | Nimtola Bazar | 23°36’22.23”N, 90º30’18.17”E |
|  | Baburail Road | 23°36’35.41”N, 90º29’46.04”E |

Table 6.3.3: Noise Monitoring Locations

Figure 6.3.3: Ambient Noise Quality Monitoring

Table 6.3.4: Ambient Noise Quality Data

| SN | Location | Results in dB – A Weighted |  |
| --- | --- | --- | --- |
|  |  | Time |  |
|  |  | 11:00 AM – 3:00 PM 1.03.2017 | 9:30 PM – 11:30 PM 1.03.2017 |
| 01 | Baburail Road | 69.0 | 60.0 |
| 02 | Nimtola Bazar | 74.1 | 66.5 |
| DoE (Bangladesh) Noise Standard for Commercial Area (Schedule-4) |  | 70 Day Time (6 am-9 pm) | 60 Night Time (9 pm-6 am) |
| Methods/Instruments |  | Sound Level Meter (DT-8850) Calibration at 94dB |  |

Source: Enviro Quality Lab under Enviro Consultants Ltd.

At Nimtola Bazar both day and night readings exceeds DOE standard. But in Baburail road noise readings are within DOE standards.

### c. Water Quality

As a part of the study, surface water sampling has been performed in Baburail Khal, Kashipur Khal and Shitalakhya River.

The Surface Water sampling location of Baburail Canal, Kashipur Khal and Shitalakhya River is shown in Figure 6.3.4. The surface water quality data is shown in Table 6.3.5.

Figure 6.3.4: Surface water sampling

Table 6.3.5: Surface Water (SW) Quality Data

| SN | Parameter | Unit | Concentration of SW Baburail Canal | Concentration of Kashipur Khal | Concentration of Shitalakhya River | Bangladesh (DoE) Standard for Surface Water (Schedule- 3-A) |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | pH |  | 7.3 | 8.1 | 7.8 | 6.5 – 8.5 |
| 02 | DO | mg/l | 0.6 | 0.9 | 1.7 | ≥5 |
| 03 | BOD5 | mg/l | 28.2 | 24.6 | 21.6 | ≤10 |
| 04 | COD | mg/l | 80 | 75 | 56 | NYS |
| 05 | TDS | mg/l | 696 | 553 | 696 | NYS |
| 06 | EC | µS/cm | 1478 | 1099 | 1478 | 2250 |
| 07 | TSS | mg/l | 368 | 274 | 234 | NYS |

Source: Enviro Quality Lab under Enviro Consultants Ltd.

| Note: |  |
| --- | --- |
| NYS | - Not Yet Set |

Analysis of surface water carried out in this study show that most of the measured parameters satisfy the Bangladesh drinking water standard. Surface water collected from three locations and BOD5 of all sample do not satisfy DOE standard.

As a part of the study, ground water sampling has been performed in three locations. The Ground Water sampling location of Mosque, Deobogh Area and Nimtola Bazar is shown in Figure 6.3.5. The ground water quality data is shown in Table 6.3.6.

Figure 6.3.5: Ground water sampling

Table 6.3.6: Ground Water Quality Data of Baburail Mosque, Deobogh and Nimtola Bazar

| SN | Parameter | Unit | Concentration of Baburail Mosque | Concentration of Deobogh | Concentration of Nimtola | Bangladesh (DoE) Standard for Ground Water (Schedule-3-B) |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | pH |  | 7.5 | 7.6 | 7.6 | 6.5 – 8.5 |
| 02 | DO | mg/l | 6.8 | 6.6 | 6.5 | 6 |
| 03 | COD | mg/l | 3.0 | 3.4 | 2.9 | 4 |
| 04 | TDS | mg/l | 146 | 144 | 160 | 1000 |
| 05 | EC | µS/cm | 370 | 306 | 387 | NYS |
| 06 | Fe | mg/l | 0.17 | 0.16 | 0.19 | 0.3-1 |
| 07 | As | mg/l | < LOD | < LOD | < LOD | 0.05 |

Source: Enviro Quality Lab under Enviro Consultants Ltd.

Note:

NYS -Not Yet Set

LOD - 0.01 mg/L for Iron

LOD - 0.001 mg/L for Arsenic

From the analysis, it can be observed that except DO all other ground water parameters are within allowable limit.

d. Solid Waste

The major solid waste is municipal waste, construction waste, metal chips, waste plastic, wood shavings, waste glass and waste oil, can bottle, paper, cartoon, rubbish, kitchen waste, food waste which impact the environment. Such waste is inadequately handled; underground water and River water are contaminated, and causes environmental pollution.

Measures should be taken for effective waste management facilities. To reduce the amount of solid waste discarded by the workers during the construction work, efforts will be made to employ the local workers wherever possible, so that the amount of household solid waste will be minimized.

About 350 Tons of solid waste generates every day from the city. Most of them are inorganic 80% (280 ton) and organic 20% (70 ton).  At present, there is no specific dumping station for disposal of solid waste. Most of the solid wastes are dumping at Charukala low land and other temporary dumping site. NCC authority has been proposed a dumping station for inorganic waste an at Jhalkury area which is now under approval process. Recently there is a project completed in June 2016, implemented by Department of Environment (DoE) named CDM program using organic waste under climate change trust fund. Under this project organic fertilizer are producing through composting of organic waste.  In this project about 22 ton of organic waste mainly from kitchen market are collected after separation and segregation and send to the Panchabati composting site. House hold solid wastes collection till not started. 3000 waste bins with green and red color received from DoE for collection of wastes from the household. Organic waste collection will start soon in the green bin and inorganic waste will collect in red bin.

  - Socio Economic Environment

### a. Population

Narayanganj Municipality was established on 8 September 1876 to control an area of 4.5 square miles with a population of 27,876.  Now, it is densely populated area near Dhaka. The total area of Narayanganj City Corporation is 72.43 sq.km. The total population of Narayanganj City Corporation is 7, 09,381. (Source: www.ncc.org.bd). No ethnic people are affected by the proposed project intervention. A detail of social study was performed for this subproject and separate report prepared.

### b. Demography

Demographical data analysis of any area is a crucial part of any plan preparation process of any area. Any planning decisions have been taken based on the population and economy of any area. Population is also necessary to calculate the demand and future need of the city. This section is attempts to analyze the population to calculate future population on the basis of socio-economic data. At a glance demographic information for NCC area is given below in Table 6.4.1.

Table 6.4.1: Demographic Information at a Glance

Criteria Description

| Census Population | -Total population in 2011 is 709380 with 51.49% male -Population in the Narayanganj Zone is 37.48% with population density of 137 persons per acre -Population in the Siddhirganj Zone is 39.08% with population density of 43 persons per acre -Population in the Kadam Rasul Zone is 23.44% with population density of 50 persons per acre |
| --- | --- |
| Age Structure | -38.15% people are within 25 – 49 age range -21.02% people are within 15 – 29 age range -11.13% people are within 50 – 65+ age range -20.52% people are within 5 – 14 age range |
| Household Size | 4.28 |
| Marital Status | 49.75% people are married |
| Educational Status | -Literacy rate is about 57.52% |
| Religious Status | -91.19% Muslim -8.71% Hindu |

Source: Bangladesh Bureau of Statistics (BBS), 2011

### c. Settlement and Housing

Total affected land is 2.8 km long and 15-30 m wide in different sections connecting Shitalakhya River at the East and Dhaleswari River at the West. A resettlement action plan has been developed and total resettlement budget is Tk. 290056795.

### d. Traffic and Transport

Bangabandhu Road is the major artery of Narayanganj which connected the important localities with each another. At Mondol para point, there is another important connector- Mobarak Shah road which connected the city with Dhaka-Munshiganj Highway. The canal is parallel to this road and situated at the south side of this road. At Mondolpara Point, the canal crossed Bangabandhu Road. So, this project will have an impact on the most important transport corridors of Narayanganj. Beside these, R. K. Mitra Road, S. M. Maleh Road, B. Dash Road, Majar Road, Jimkhana Road, Deovogue Pucca Road, Jollarpar Road, Bhuianpara (Boubazar) Road and Beparipara Road are the roads within this transport network which would be affected by this development. For traffic impact analysis, the roads of this area has been segmented to have a better understanding about the present scenario as different segments of this transport network have different characteristics. The segments and intersections are shown on the following figure in green and red.

### e. Public Utilities

- Water Supply

The main source of water supply in NCC area for civic people is Dhaka WASA. It is found that tube-well is the major source of drinking water in the Zila, urban and rural areas. Tube-well as a source of drinking water of the general household has decreased from 83.98% to 78.86%, from 76.66% to 58.72% and from 94.00% to 89.38% in the Zila, urban and rural areas respectively during the decade.

- Sanitation

It is observed that general household availing sanitary facilities have 100% in the subproject area (78.10% in the Zila and, 85.31% in urban area and 74.33% in rural area). Household in the non-sanitary group have 20.20% in the Zila, 14.00% in urban and 23.45% in rural area. The ‘none’ group is 1.70% in the Zila, 0.69% in urban area and 2.22% in rural area.

- Education

In the City Corporation area, average literacy 57.10%, male 59.48%, female 54.56%. Educational institutions: college 16, technical college 2, marine technology centre 1, vocational school 2, secondary school 127, primary school 458, kindergarten 76, collegiate school 1, madrasa 56.

- Electricity

According to population and housing census 2011, general household reported to have electricity connection in the Zila are 95.25% in 2011 compared to 82.78% in 2001 which shows an increase of 12.47 percentage point during the decade 2001-2011.

- Economy and Employment

Main sources of income Agriculture 14.38%, non-agricultural laborer 3.91%, industry 7.33%, commerce 23.87%, transport and communication 6.34%, service 23.13%, construction 2.52%, religious service 0.19%, rent and remittance 3.77% and others 14.56%.

- Fisheries

In the river, canal, beels, and ponds there are various kinds of fish, but because of water pollution, it is very hard to see fish in the river.

- Transportation

The major transportation mode of the City is Rickshaw, CNG, Tempo, Private car. Now-a-days, all the Upazila are connected to the Zila headquarters by paved roads. Bus, minibus and three wheelers ply over the Zila. The City is connected with Dhaka by Railway and Road.  Bus, Minibus, country boat ply, and other Upazila is ply by Bus, Minibus, country boat etc. The road network is shown in Figure 6.4.1.The existing road network surrounding the Baburail Canal is shown in Figure 6.4.2. The detail of transport study is performed in separate transport study report.

Figure 6.4.1: Existing Road network

Source: Developed by the consultant

Figure 6.4.2: Existing road network surrounding the Baburail Canal

Source: Developed by the consultant

f. Indigenous people

There is no indigenous people settlement in the subproject area.

# CHAPTER-7: IDENTIFICATION AND ANALYSIS OF KEY ENVIRONMENTAL ISSUES

CHAPTER 7: IDENTIFICATION AND ANALYSIS OF KEY ENVIRONMENTAL ISSUES

7.1 Environmental Sensitivity Investigation

The purpose of this study is to determine the environmental sensitivity and awareness level of the inhabitants in Baburail khal area. In today’s world, the environment is rapidly being polluted and pollution rate is being increased by human activities. In this regard, awareness of NCC‟s people on the environment and environmental elements are increased. For this purpose, a discussion meeting was carried out in the subproject area. The discussion meeting serves to raise an awareness of environment and environmental sensitivity. The findings showed that the people in NCC have a high level of environmental sensitivity. Females tended to reflect a higher level of sensitivity to the environment than males. The participants opted for air, water and noise pollution as being the most important physicochemical environmental parameters.

Quality analysis of the waste water and sediments are pre-requirement for finalizing the design of the subproject. Hence, as a part of the base line study and to identify the environmental sensitivity air, noise, water (ground water and surface water) and soil/sediments/sludge condition has been performed for:

- Identification of the contaminants that are potentially exist in the waste water and soil;

- Determine the key physico-chemical environmental parameters such as air quality, noise level, SW & GW water quality;

- Characterization of the environmental, type of water, soil, climate, hydro- geological topographical etc. conditions including environmental sensitivity and buffering capacity.

- Identification of present and future land uses.

7.2 Environmental Hot Spots

There are five environmental hot spots in the project area.

- Entry of Shitalakhya River water to Baburail Khal;

- Exit point from Baburail Khal to Dhaleswari River;

- Bangabandhu Sarak;

- Nimtali Bazar;

- Baburail Road (road parallel to Khal).

7.3 Likely Beneficial Impacts

Beneficial Impacts of the Proposed Project Interventions are as follows.

- Positive impacts on terrestrial ecology are expected post subproject completion due to the increase in vegetation, tree plantation and landscaping (Annex). The NCC should coordinate with the local communities to maintain and enhance the trees planted along the roads;

- The proposed subproject will regenerate old lost heritage of the City;

- Transportation facilities will improve which reduces uses of fuel, black smoke, dust emission, time of travel and cost due to three over pass will be constructed;

- Increase recreational facilities with environmental aesthetics;

- Improved infrastructure and transportation may increase the quality of life of the City dwellers;

- Economic activity and business will increase;

- Improved public safety;

- Improve drainage and solid waste management;

- Improved land use protection;

- Create social benefits by providing temporary jobs for unskilled workers/laborers during the construction phase.

Thus, it can be concluded that the proposed project is beneficial both for the society as well as environmentally acceptable and will bring economic, social and environmental benefits to the land users and local community in the area.

7.4 Community Recommendations

The Khal water should be free from domestic wastewater, sewage or storm runoff pollution. The storm water and sewage connection to the Khal is suggested to be stopped. However, both side RCC pipe drain has been proposed with sufficient capacity so that these can take care of the storm runoff cum domestic waste water generated from the household. The 3-other existing Khals which carry household wastewater and storm water enter directly to the Baburail Khal is a major problem and spoil the aim of the subproject.

The community has discussed and suggested the following issues during the public consultation meeting and focus group discussion meeting:

- The tributary khal should be connected with the proposed RCC pipe drains;

- It is suggested that in the next 2 years all the other 3 Khals should be cleaned and restored;

- For the sustainable solution a sewage treatment plant (STP) is suggested in order to keep the Baburail Khal clean and pollution free;

- Screening for removing leaves, tree buckle, cloth, other rubbish and floating material, sedimentation of grit removal through grit chamber can be performed temporarily.

- Divert the wastewater directly to the Shitalakhya and Dhaleshwari River;

- Restoration work should be followed the original dimension of the Khal;

- Excavating time should be kept minimum as much as possible;

- Plantation of tees is must and at least three new trees would be planted for each cut-down tree;

- Minor negative impacts like clearing of vegetation and cutting of trees at the pre-construction and construction phases should be taken care of by taking proper mitigation measures;

- Local people should be employed as much as possible during the pre-construction and construction phases;

- The contractor should be specifically instructed to employ local labourers as much as possible;

- The health and safety issues of workers should be taken care of under the specific order of the contractor and client;

- The construction labor camps should be provided with water supply and sanitation facilities. The workers should be apprised of hygienic practices.

# CHAPTER -8: ANALYSIS OF ALTERNATIVE

CHAPTER 8: ANALYSIS OF ALTERNATIVE

  - The ‘No Subproject’ Scenario

Without subproject implementation, the local people will not get any benefit. Most importantly, the existing worst condition cannot be improved. Hence, it is concluded that the ‘No Project Scenario’ alternative is unacceptable. The potential socio-economic benefits of implementation of such subproject far outweigh the adverse impacts, all of which can be controlled and minimized to an allowable level.

  - Site Alternatives

Analysis of alternative was performed based on the following four factors: i) required land for restoration- that is available, ii) non-functionality of the existing khal-the existing khal is almost lost its navigation capacity, iii) possibility of River connection-river connection is possible at both sides of the Khal; and iv) availability of the infrastructure facility- Road, Rail, River transport, telecommunication are available.  All the above mentioned four major facilities are fulfilled and available for Baburail Khal restoration subproject.

Based on the above factors, restoration of the Baburail Khal with beautification activities has been proposed. Baburail Khal is located in an area, which has every scope for all types of recreation facilities. DoE approved the ToR for EIA study and the site is environmentally acceptable. In fact, the alternate analysis found that the restoration of Baburail Khal is the only better option since it exists with unacceptable condition. The cost and time require for restoration will be less than other option. So, there is no logical need to look into alternative sites.

# CHAPTER -9: ANTICIPATED IMPACTS AND MITIGATION MEASURES

CHAPTER- 9: ANTICIPATED IMPACTS AND MITIGATION MEASURES

  - Impact Identification

An environmental impact is defined as any change to an existing condition of the environment. Findings of the assessment are presented according to site preparation, construction and operation phases.

The EA study, based on the review of similar Environmental Assessment reports, baseline monitoring and stakeholder consultations, has identified some major environmental and social concerns that are expected from the subproject.

The impacts are broadly classified into following 4 rating during construction and operation stage:

    - Ecological Impact;

    - Physical Impact;

    - Impact on Human Interest;

    - Quality of Life Values/Positive Social Impacts

This chapter describes the rating and environmental impacts caused by the subproject both tentatively during construction and permanently during operation.

This subproject includes dredging/excavation of the sediments/sludge, handling, transportation, temporary/final disposal of the excavated materials, BC Road, RCC pipe drain, sluice gate, electrical and beautification and bank protection work, bridge construction work, walk way, gha, sluice gate etc.  The possible impacts are mainly caused by the key activities to be performed for the implementation of the subproject, raw materials and equipment to be needed for execution of the subproject activities. This section describes some specific impacts due to the subproject activities and their mitigation measures.

9.2 Pre-construction Phase

9.2.1 Technical Design

There are consequences adverse impacts in operational phase due to the missing elements that required in the design.

Mitigation Measures

All the feasible options for environmental and social safeguards will be incorporated in the technical design for environmentally viable subproject.

    - Public Consultation

Public consultation regarding the subproject intervention has both positive and negative impacts on community perception. Positive perceptions will arise from the expectations of the benefit that will derive in the operational phase of the subproject. On the other hand, negative perception will arise due to the adverse impacts such as traffic, urban infrastructure disruption, disruptions to community activities, environmental degradation, noise and other impacts.

Mitigation Measures

This subproject will be executed in such a way that there will be limited environmental and social impacts during subproject activities to increase positive public perceptions about this subproject.

9.2.3 Ecological Impacts

During site clearing and preparation, some naturally grown floral species (herb and shrub) would have to be cleared.  There are 746 numbers of trees need to be cut down due to the site clearing and preparation. Due to cutting of trees and removal of vegetation will cause significant ecological impact and soil erosion.

Mitigation Measures

Tree plantation and re-vegetation program should be taken during implementation of the subproject. A total of 1500 trees shall be planted to compensate the felled down trees. At the end of the implementation of the subproject trees will be planted. Detail of the tree plantation is presented in Annexure. Tree plantation will compensate the ecological imbalance to be caused due to the felled down of the trees and clearing of the vegetation. Tree plantation will increase aesthetic view and increase scenic beauty of the area.

9.2.4 Resettlement & Land Acquisition

There is no land acquisition will be required. No loss of land will occur. Restoration of Baburail Canal will require removing of the 349 structures (temporary houses, shops and other forms of structures).

Mitigation Measures

Among the affected persons 101 are NCC tenants. Hence, NCC intends to allocate shops in other places as a compensation for those affected persons who are tenants of NCC. The City Corporation will remove other structures with amicable understanding between NCC and affected persons without any compensation. In this regards, an agreement has been signed by NCC and the affected persons. During meeting, the City Mayor verbally informed that the poor people who have been affected but are not tenants of NCC also will be relocated or compensated by NCC so that they can start new shops or ensure any other sorts of earning source.

9.3 Construction Phase

9.3.1 Impact due to Dredging/Excavation Work (Handling, Transport and Disposal of the Excavated Materials)

Dredging is the main activity of the Baburail Khal restoration subproject. The sludge, sediments or semi-liquid clay and substances will be removed by dredging. Though, it is not contaminated, however; improper handling, transportation and disposal of the dredged materials may cause environmental degradation especially on the physico-chemical components.

Mitigation Measures

The excavated materials will be disposed in one of the designated City Corporation dump site preferably near Zim Khana, Izdair dumping site and Jhalkury. For excavation, transportation and disposal works need specific measures to minimize the negative impacts.

- Ensure proper collection of the excavated materials by handling the excavator properly to put those in to the dump truck properly for avoiding discharging of withdrawn materials on the road;

- Do not fill at the top level of the drum truck for avoiding spill and cover it immediately after filling;

- Load excavated materials directly to the dump truck to avoid temporary stockpile on the road and avoid any temporary disposal of the excavated sludge;

- Check for ensuring waterproof dump truck covered with trap before departure from the site;

- The horn of the dump trucks should use only during emergency;

- Install bulletin/announcement boards regarding information on subproject activities at activity location;

- A dyke/specific high earthen boundary all round the sites for Jhalkury and Izdair dumping site are needed (construction of a dyke is needed with considering the highest flood level ) for ensuring that it will not flooded during rainy season and monsoon because it can enhance changing of the physical characteristics of the surface water;

- Using of impermeable materials such as clay layer/liner/thick polyethylene at the bottom capable to prevents infiltration to the ground because it can accelerate changing of the physical character of the ground water.

  - 9.3.2 Dismantle Work, Site Clearing, Excavation and Filling Work

The road improvement work includes dismantle of the existing bituminous pavement. The existing bridges also need to be dismantled. The subproject components like bank protection, landscaping, walkway etc. need earth and sand filling work. The dismantle work generate solid wastes, construction debris that need proper re-use and disposal. These works also lead dust blowing, improper disposal of the wastes, noise and vibration which may degrade the environmental condition.

Mitigation Measures

- Proper care will be taken by the contractor during dismantle work, excavation work, earth work and disposal work to avoid any undue disturbances to the nearby people;

- Cover exposed earth works with fabric;

- Re-sue of the construction debris where applicable;

- Disposal of soil and construction wastes at the City Corporation recommended dump site.

  - 9.3.3 Pollution from the Construction Materials

Dumping of the construction spoils, including accidental leakage of the oil, grease, and fuel in equipment yards is a significant hazard. Surface water and soil quality might be polluted from these contaminants. Air pollution and dust may affect the nearby settlement which is generated from fine aggregate such as sand and vehicles.

Mitigation Measures

- Safe transport, storage, and disposal of the construction materials, and the equipment have to be carried out in order to avoid the accidental spillage and loss;

- Maintain adequate moisture content of soil and sand during transportation, compaction and handling;

- Carry the materials especially loose soil and sand with adequate cover;

- Fuels, lubricants, and other hazardous materials should store over raised platforms and  not directly on the ground;

- Disposal of soil and construction wastes at the City Corporation recommended dump site;

- Stack yard or work campsite should be located at vacant places and not adjacent to the educational and religious institute.

  - 9.3.4 Air Quality and Dust

During the construction phase, air pollutants will be emitted from the equipment and construction vehicles and transportation of the excavated materials are expected to remain low. Local residents in the vicinity of the work sites will be temporarily disturbed by the limited dust pollution that may generate from the construction activities. The overall impacts, however, are expected to remain low.

Mitigation Measures

- When dust is visible water should be sprayed to control the dust;

- Maintain adequate moisture content of soil and sand for transportation, compaction, bed preparation, backfilling and  handling;

- Avoid use of dust generating equipment which produce significant amount of particulate matter far from the local residents;

- Ensure that all subproject vehicles are in good operating condition.

  - 9.3.5 Noise and Vibration

Noise and vibration caused by the equipment and movement of the construction vehicles and transportation of the excavated materials may temporarily disturb nearby people. In this subproject, sensitive areas like roadside houses, mosques, Madrasha, schools and shops are likely to be affected from the generated noise, though the impacts are anticipated to be limited and within the limit.

Mitigation Measures

- Transportation of the construction materials, construction vehicles and transportation of the sediments/sludge have to be carried-out during the scheduled times, and mainly during the day;

- RCC work for bridge, sluice gate and other works should be performed during the scheduled times;

- Avoid use of steel cutter, concrete mixer machine and vibrator machine at night;

- If applicable and needed, all powered mechanical equipment and machineries will be fitted with noise abating gear such as mufflers for effective sound reduction.

  - 9.3.6 Water Quality

Except Shitalakhya and Dhaleswari River which are already polluted, there are no remarkable sources of the surface have been found at the subproject area. If the construction materials, sand, construction wastes, effluent from the work camps, and food wastes are dumped in the road side area. It may washed-out during rain and may contribute for further degradation. During excavation of canal bed specially at the last portion of the khal where water is available, soil become loose, mud and soil which may increase turbidity of the existing water bodies.

Mitigation Measures

- Proper construction management including waste management as well as training of the operators and other workers should provide to avoid pollution of the water bodies;

- Construction wastes will dispose properly not in road side area, for which contractor will be responsible;

- Construction wastes will dispose properly by the contractor at City Corporation designated dump site.

  - 9.3.7 Impacts on Regional Hydrology, Flooding and Drainage

It has been estimated that during implementation of the subproject will not cause rise in flood level. It has been also estimated that during operation the subproject will not cause rise in flood level. In fact, after excavation the water retention capacity of the Baburail Khal will be increased. Sluice get will control the water level of the khal.

As the proposed subproject will connect the two rivers as well as being fully operated the Khal will play very important role in the drainage network of the subproject area. RCC pipe drain will be provided at both sides of the khal which will drain-out the waste water in the river.

Mitigation Measures

Waste water and rain water of the surrounding area will not directly fall into the Canal. Rather waste and rain water will be controlled and transported to the rivers. A central surface water treatment and sewage treatment plant should be constructed for long term and sustainable solution.

    - Erosion and Siltation

It was identified that unstable slopes will have soil erosion during rain and consequently increase sedimentation. Careful monitoring will be required to estimate both soil erosion and siltation impacts.

Mitigation Measures

Properly designed slope protection works will be adopted for erosion and siltation protection.

    - Occupational Health and Safety

The most important risks associated with the construction activities are listed below:

- Exposure to the sunlight- workers are being exposed to the sun for long hours;

- Exposure to the high temperature, and humidity for a long time resulting in dehydration;

- Contact with the hazardous substances and wastes pose risks of  the infections and diseases;

- Risk of the poor air quality due to dust;

- Risk of the collision (traffic);

- Risks from the head loads for carrying materials;

- Risks of using of the machinery in motion such as steel cutter;

- Risk associated to the sudden bad weather working conditions;

- Risk associated due to haphazard work by the workers.

## General Requirements for the Workers’ Health and Safety

The key salient features of the general requirements for the workers’ health and safety stated is presented in Table 9.3.9.1.

Table 9.3.9.1:  General Requirements for the Workers Health and Safety

| Issues | Requirements |
| --- | --- |
| Health and Hygiene | - Cleanliness at the site premises and workers living places and at the Labor Shed; - Arrangement of the proper ventilation and temperature at the Labor Shed; - Protection against dust and furnace by using of the nose masks and covering of the head and body; - Proper disposal of the wastes and effluents; - Provision of the adequate latrines and separate toilets for the women; - Sufficient dustbins for the solid waste management system. |
| Safety and First Aid Box | - Using of the personal protective equipment (helmet, gloves, goggles, nose mask, safety boots); - Precautions during work on or near machineries in motion; - Head loads are prohibited; - First aid facilities should be provided and maintained; - Ensure first aid box with the necessary medicine at the labor shed; - The first aid kit should include adhesive bandages, regular strength pain medication, gauze, and low grade disinfectant. |
| Compensation for Accidents at Work | - Contractors will bear medical treatment costs. If any severe accidents such as loss of hands, legs or loss of working ability or any case of death needs compensation- (the amount of the compensation should be fixed considering the type of accidents). |
| Dust and Fumes | - For any dust, fumes, or other impurities likely to be injurious to the workers, effective measures shall be taken to prevent their accumulation and its inhalation by the workers. |
| Overcrowding | - No labor room should be overcrowded. |
| Latrines and Urinals | - Sufficient latrines shall be provided; - Latrines shall be maintained in clean and sanitary condition; - Latrines shall be adequately lighted and ventilated. |
| Disposal of Wastes and Effluents | - Proper disposal system for the solid waste and effluent is required; - Waste bins must be provided by the contractor at labor shed. |

    - Impacts on Social Environment and Common Property Resources

Through comprehensive study, it is revealed that impacts are expected not to be severe and to be largely manageable. The following Table 9.3.10.1 presents impacts on socio-economic environment and common property resources.

Table 9.3.10.1: Impacts on Social Environment and Common Property Resources

| ## Social Components | ## Impacts on IECs | ## Impact Significance |
| --- | --- | --- |
| ## Community Perception | ## The local community people welcome this subproject and there is no visible objection from them. | ## Significant (+ve) |
| ## Employment and Business Opportunity | ## Community feels happy because generally the local contractor will be engaged for the construction works which will create work opportunity for the skilled and non-skilled labor. The subproject will create business opportunity for the equipment and materials suppliers’. | ## Significant (+ve) |
| ## Community Order and Security | ## This subproject activity does not create any severe security problems to the local community and community people. | ## Minor ## (-ve) |
| ## Possible damage to existing infrastructure and facilities | ## Degradation of the existing road infrastructure by the construction equipment/vehicles used in this subproject. | ## Minor ## (-ve) |
| ## New infrastructure and facilities | ## Construction of new road and drain will enhance municipality infrastructure facilities. | ## Significant (+ve) |
| ## Labor Habitat | ## Most of the labors will stay at the Labor shed which will have impacts on the environment relates to the generation of the solid wastes, effluent, and water consumption. | ## Moderate ## (-ve) |
| ## Health Care | ## Workers may suffer from the dehydration problems, and other health hazards. | ## Minor ## (-ve) |
| ## Accident | ## In case of road accidents by the vehicles to be used for the transportation may have serious negative impact. | ## Significant ## (-ve) |

Mitigation Measures

- Conduct dissemination with the local community about the subproject details;

- Continue liaison with the community leaders in order to maintain the community support;

- Engage local contractor and local people as much as possible for positive perception of the local community;

- Follow traffic rules to avoid any accidents;

- Transportation and mobilization of the equipments and construction materials avoiding peak hours and scheduled time;

- Ensure first aid facilities and effective use of personal protective equipments where applicable.

    - Labor Influx and Anticipated Impacts

The labor force and associated goods and services required for the construction of infrastructure civil works under this subproject cannot be fully supplied locally. The migration to and temporary settlement of laborers in the subproject, referred to as labor influx, carries an array of potentially positive and negative impacts in terms of demands on public infrastructure, utilities, housing and sustainable resource management and the strain on social dynamics.

Labor influx effects on host communities include positive impacts such as:

- The subproject activities will generate work opportunities for the local people and supplying of the construction materials, equipments, food and other necessary stuffs to the campsite;

- Improved infrastructure and public service access and availability whereby subproject investment catalyzes larger allocation of resources to a region, stimulating the development or expansion of infrastructure and public services.

Critical negative social risks include:

- Increase in criminal activity and alcohol and drug abuse, domestic violence, political attachment and violence, smuggling and robbery etc;

- Increase in gender-based violence, including eve teasing, sexual harassment etc;

- Increases in communicable diseases, including respiratory problems, diarrheal diseases, vector-borne diseases (e.g., malaria), and sexually transmitted infections (e.g., HIV/AIDS, syphilis, gonorrhoea, hepatitis B);

- Conflicts arising from increased demand on existing infrastructure, services, and utilities, including transportation, health, education, water and sanitation, waste management, public utilities and community, religious, and recreational facilities and loss of land for access routes.

The general environmental impacts of labor influx include pressure on the natural resources such as using of the water, electricity, other fuel for cooking, loss of land for the labor establishment, depletion of the water supply, sewage and waste water generation, degradation of the air quality, waste generation,  increased demands on the local energy and resources and noise pollution effects. The number of local and migrated people involved in the subproject activities can be only identified in the construction phase. Hence, these specific impacts will be quantified during construction work and environmental assessment report will be modified accordingly. However, the following safeguard measures are recommended to avoid any risk of labor influx:

- Inform local people about the subproject activities;

- Liaison with the community leaders in order to get community support;

- Engage local people as much as possible to minimize workers from outsiders;

- Monitor workers attitude and behavioural matter;

- Monitor the workers movement for avoiding any unexpected social activities (robbery, crime, political attachment and conflicts, drugs abuse);

- Inform and use local administration to get support if needed;

- Inform local utilities service providers (such as new electricity connection, water supply connection etc.);

- Ensure effective use of natural resources such as water, electricity, fuel, wood etc.

    - Impacts on Traffic Movement

The subproject area is situated in the densely populated area where traffic congestion is a common scenario. Though, it is limited but transportation of the excavated materials may have impact on the local traffic system.

During construction phase, interruption of the local traffic system due to the subproject activities will be monitored closely. Then separate traffic management plan will be provided if required. However, the following safeguard measures are recommended to minimize the impacts associated to the traffic movement:

- Inform local people about the subproject activities;

- Inspire local people to use connecting and alternative roads;

- Ensure schedule deliveries of material/ equipment during off-peak hours;

- Place traffic sign/cautionary sign to avoid undue traffic congestion and associated traffic control measures to limit possible disruption;

- The place of construction works should be fenced off with fences if required and should be isolated from general public access and marked with signs to ensure safe movement.

    - Quality of Life Values/Positive Social Impacts

The subproject activities will generate some employment opportunity. So, it will be helpful for the unemployed people of the subproject area. Besides the direct employment, the opportunities will also be generated for indirect employment and this will provide an impetus to the economy of the local area. The locals will avail these opportunities arising from the subproject and increase their income levels. The proposed subproject will increase the recreational facilities of the City Corporation.

CHAPTER-10: ENVIRONMENTAL MANAGEMENT PLAN

CHAPTER-10: ENVIRONMENTAL MANAGEMENT PLAN

  - Objectives of Environmental Management Plan

The purpose of the Environmental Management Plan (EMP) is to ensure that the activities are undertaken in a responsible and non-detrimental manner. The basic objective of the EMP is to manage adverse impacts of proposed subproject interventions in a way that minimizes the adverse impact on the environment and people at the subproject sties. The EMP will guide the environmentally sound construction of the subproject and ensure efficient lines of communication between the PMU (LGED), PIU (NCC), DSM (MGSP) and the contractors.

The specific objectives of the EMP are to:

Facilitate the implementation of the mitigation measures discussed in the EMP table;

Maximize potential subproject benefits and minimize negative impacts;

Define a monitoring mechanism and identify monitoring parameters;

Ensure the effectiveness of the mitigation measures;

Allocate environmental management budget;

Discuss about the grievance resolution process.

  - Inclusion of EMP in the Contract Documents

EMP with estimated cost is the integral part of EPC contract/ bidding documents as mandatory contractual obligations. Contractual payment is linked to satisfactory compliance to implementation of the EMP provisions. The provision should also be made in the contract documents for penalties for non-compliance by the contractors. The various contractors must be made accountable to implement the plans and mitigation measures which pertain to them through contract documents and/or other agreements of the obligations and importance of the environmental and social components of the subproject.

  - Grievance Redress Mechanism

The project-specific Grievance Redress Mechanism (GRM) has been established at Narayanganj City Corporation to receive, evaluate, and facilitate the solution of APs concerns, complaints, and grievances concerning the social and environmental performance of the subproject. The GRM aimed to provide a time-bound and transparent mechanism to voice and resolve social and environmental concerns linked to the subproject.

The grievance mechanism is related to resolve the risks and adverse impacts of the subproject. It addresses APs’ concerns and complaints promptly, using an understandable and transparent process that is also gender responsive, and culturally appropriate. It is readily accessible to all the segments of the affected people at no costs and without retribution. The mechanism should not impede access to the country’s judicial or administrative remedies. The affected people will be appropriately informed about the mechanism.

MGSP has its own Grievance Redress Procedure (GRP), which it operates to address any dissatisfaction and complaints by the local people regarding its activities. This procedure is being applied to address any complaints or grievances through negotiations with the community leaders and representatives of APs during implementation of the MGSP.

    - 10.3.1 Grievance Redress Committee (GRC)

The discussions and negotiations will be conducted by the Project Implementation Unit (PIU) of Narayanganj City Corporation, and will be involved the APs and Grievance Redress Committee (GRC) headed by the City Mayor. With the facilitation of DSM, the City Mayor nominated the GRC members and included representative from Government Agencies, local NGO and Civil Society. The GRC has been formed and established at Narayanganj City Corporation. A complaints box has already been provided in the City Corporation Office. The grievance response focal point is available at Narayanganj City Corporation for instant response to an aggrieved person. The Focal Point will collect the written complaints or suggestions from the box, and produce them to the GRC for hearing and resolution. The GRC members are as follows:

Table 10.3.1.1: List of GRC Committee Members

| No | GRC Members Name | GRC Designation | Position |
| --- | --- | --- | --- |
| 1 | Dr.Selina Hayat Aivi | Chairman | Mayor, Narayanganj City Corporation |
| 2 | Md. Asgor Hossain | Member Secretary | Executive Engineer, Narayanganj City Corporation |
| 3 | Ms. Nahida Sultana | Member | Asst. Commissioner, ICT Section, DC Office, Narayanganj. |
| 4 | Mr. Zibon Krishna Modok | Member | Asst. Prof. Dept. of Philosophy, Govt. Tolaram University College, Narayanganj. |
| 5 | Quashem Zaman | Member | Civil Society Representative |
| 6 | Relevant Ward councilor Female | Member | Women Councilor, Narayanganj City Corporation |
| 7 | Relevant Ward Councilor | Member | Elected Ward Councilor, Narayanganj City Corporation |
| 8 | Sarkar Hasan Waise | Member | BRAC ,Narayanganj |
| 9 | Md. Abul Bashar | Focal point | Asst. Secretary, Narayanganj City Corporation. |

    - 10.3.2 Grievance Resolution Process

All complaints and suggestions will be received formally in the City Corporation Office by the GRC Member Secretary. A sample Grievance Redress Form has been prepared and sent to Narayanganj City Corporation prior to the implementation of the subproject.

An intake register will be maintained at the Office of the Member Secretary. Member Secretary will record the details of the grievances in the intake register for documentation and ensure impartiality, fairness, and transparency. The intake register will have data and information columns including (i) Case no., (ii) date of receipt, (iii) name, type of complaint, grievance, (iv) father’s name, husband’s name, (v) sex, (vi) complete address of the person raising the complaint, grievance, (vii) main objection (loss of land, property, or entitlement), (viii) detailed complaint story, (ix) expectation with documentary evidence and previous records of similar grievances, etc.

No GRC members are allowed to contact the aggrieved persons in advance. Rather, the concerned persons are informed to attend the formal hearings at an appointed date. The GRC committee will sit for hearing the complaints of the aggrieved persons. The GRC will record salient points presented by the aggrieved person and will examine documentary evidence submitted during informal hearings. A resolution register will be maintained by the Member Secretary at the Narayanganj City Corporation Office. The resolution register will contain (i) serial no., (ii) case no., (iii) name of complaint, (iv) complaint story and expectation, (v) date of hearing, (vi) date of field investigation (if any), (vii) results of hearing and field investigation, (viii) decision of GRC, (ix) progress (pending, solved) and (x) agreement or commitments. Closing register will keep records such as, (i) serial no., (ii) case no., (iii) name of complaint, (iv) decision and response to complaints, (v) mode and medium of communication, (vi) date of closing, (vi) confirmation of complaintant’s satisfaction, and (vii) management actions to avoid recurrence.

The GRC will decide within 30 days of receiving a complaint. There will also be an appeals procedure where, if a person is dissatisfied with the ruling of the GRC, he or she or a representative may attend their next meeting to present the case again. The committee will then reconsider the case in private, after which their decision is final. If the appellant is still not satisfied, he or she has the right to take the case to the public courts. Narayanganj City Corporation should also publish the outcome of the cases on the public notice boards. All costs involved in resolving the complaints (meetings, consultations, communication, and information dissemination) will be borne by the Narayanganj City Corporation.

Based on consensus, this procedure will help to resolve issues or conflicts amicably and quickly, saving the aggrieved persons from having to resort to expensive, time consuming legal action. The procedure will however, not pre-empt a person’s right to go to the courts of the law.

  - Environmental Management Action Plan

The environmental management action plan has been outlined in Table 10.4.1. The mitigation measures as well as responsible parties to implement the EMP are also incorporated in action plan.

Table 10.4.1: Anticipated Environmental Impacts during Construction Phase and Corresponding Mitigation and Enhancement Measures (EMP Table)

| Activity / Issues | Potentials Impacts | Proposed Mitigation and Enhancement Measures |  | Responsible Parties |
| --- | --- | --- | --- | --- |
| Construction and operation of labor shed for the workers (Workforce and labor shed management) | Generation of sewage and solid waste may cause surrounding environmental pollution | - Construction of sanitary latrine (considering 15 person for one toilet) at the labor shed and separate toilet for women; - Introduce separate waste bins for organic and inorganic waste materials at labor shed (at least one bin for organic and one for inorganic for each labor shed); - Ensure re-use of the solid wastes and other forms of the wastes materials that are suitable for re-use; - Ensure wastes (solid wastes and other forms of the waste) disposal at City Corporation designated dump site. |  | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
|  | Health of workers | - Conduct formal and unofficial discussion to increase awareness about hygiene practices among the workers; - Ensure availability and access to PPEs, first-aid equipment (at least one first aid box for one labor shed) and medical supplies for the workers. |  |  |
|  | Possible development of labor camp into permanent settlement | - Contractor to remove labor camp at the completion of contract. |  |  |
|  | Outside labor force causing negative impact on health and social well-being of local people | - Ensure that contractor employ local work force to provide work opportunity to the local people and conduct formal and unofficial awareness program for the health and social well-being of the local people. |  |  |
| General construction works | Air pollution | - Check regularly and ensure that all the subproject vehicles and equipment are in good operating condition; - Ensure contractor spray water on dry surfaces/ unpaved to reduce dust generation; - Maintain adequate moisture content of the sand to be used; - Ensure contractor sprinkle water and cover stockpiles of loose materials (e.g., fine aggregates); - Inform local people about the subproject activities and potential impact; - Ensure contractor avoid use of equipment such as brick breaking machine at subproject site, which produce significant amount of particulate matter and noise; |  |  |
|  | Removing of houses, shops, and structure will cause loss of income and house | - Compensate proper compensation for loss of house/shops/structure and loss of income |  |  |
|  | Traffic congestion, effect on traffic and pedestrian safety | - Ensure schedule deliveries of materials/ equipment during off-peak hours; - Place traffic sign/cautionary sign at the particular section of the road and at road intersection to avoid undue traffic congestion; - Inform local people about subproject activities and inspire them to use connecting and alternative road during construction. |  | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
|  | Noise pollution | - Check and maintenance the equipment properly; - Avoid using of construction equipment such as concrete mixer machine, vibrator machine that produce excessive noise at night; - Avoid prolonged exposure to noise (produced by equipment) by the workers; - Regulate use of horns and avoid un-due use of hydraulic horns by subproject vehicles; - Inform local people about the subproject activities and potential impact. - Site clearing work should be avoided during night time nearby the residents. |  |  |
|  | Water and soil pollution | - Prevent discharge of fuel, lubricants, chemicals, and wastes into the Khal and directly on the soil. |  |  |
|  | Felling of trees, clearing of vegetation and ecological disturbances | - Total 910 nos. of the trees will be planted to compensate the felled down trees and enhance the ecological condition in the subproject area. |  |  |
|  | Accidents | - Conduct formal and informal discussion for creating awareness about the accident; - Provide personal protective equipment’s (PPEs) as per provision made in the environmental management budget and ensure using of the PPEs by the workers where applicable. |  |  |
|  | Spills and leaks of oil, toxic chemicals | - Proper handling of lubricating oil and fuel so that it does not fall into the Khal and directly on the soil; - Collection and proper disposal of the spills. |  |  |
| All construction works | Beneficial impact on employment generation | - Employ local people in the subproject activities as much as possible; - Give priority to poor people living in the subproject area in subproject related works (e.g. excavation and other works, which do not require skilled manpower). |  |  |
|  | General degradation of the environment | - Ensure environmental enhancement measures by tree plantation and placing cautionary sign. |  |  |
| Anticipated Environmental Impacts due to the key construction activities and corresponding mitigation measures for the BC Road |  |  |  |  |
| Activity / Issues | Potentials Impacts |  | Proposed Mitigation and Enhancement Measures | Responsible Parties |
| Dismantle work for existing BC road/ Excavation/ Earth work | Generation of solid & construction wastes due to the dismantle works of the existing pavement; |  | - Cover exposed loose dry soil and wastes materials before disposal; - Ensure re-use of the solid wastes and other forms of the wastes materials that are suitable for re-use; - Disposal of un-used soil, unsuitable materials and construction wastes at the designated dump site. | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
|  | Generation of loose soil due to the earth excavation work. |  |  |  |
| Filling of land for road widening /ISG (Improved Sub grade) | Air and dust pollution affecting nearby settlements |  | - Maintain adequate moisture content of soil during transportation, compaction and handling; - Carry the materials especially loose soil and sand with adequate cover; - Avoid use of equipment which produce significant amount of particulate matter. |  |
| Setting up and operation of asphalt plant for BC Road | Possible degradation of the air quality by the suspended particles and increase of the noise level from asphalt plant affecting nearby settlements; |  | - Locate plant away from residential settlements; - Consider use of emulsified bitumen. |  |
|  | Possible water pollution by bitumen and solvents; |  | - Avoid spills and proper collection and disposal of the generated spills. |  |
|  | Possible preparation of the bitumen in open air and using of charcoal and wood as fuel |  | - Strictly prohibit bitumen preparation in the open air and use of charcoal and wood as fuel. |  |
| Anticipated Environmental Impacts due to the key construction activities and corresponding mitigation measures for the bridge, sluice gate, walkway and ghat |  |  |  |  |
| Activity / Issues | Potentials Impacts |  | Proposed Mitigation and Enhancement Measures | Responsible Parties |
| Dismantle work of existing foot over bridges and excavation/earth work for sluice gate, ghat and walkway | Generation of solid & construction wastes due to the dismantle works of the existing foot over bridges. |  | - Cover exposed loose dry soil and wastes materials before disposal; - Ensure re-use of the solid wastes and other forms of the wastes materials that are suitable for re-use; - Disposal of un-used soil, unsuitable materials and construction wastes at designated dump site. | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
|  | Generation of loose soil, waste materials |  |  |  |
|  | Accidents from careless work by the workers and careless use of hammer and excavator |  | - Operate the hydraulic excavator carefully; - Operate the hummer carefully for the dismantle work. |  |
|  | Air pollution due to black smoke emission from excavator |  | - Regular maintenance of the equipment. |  |
| Sand filling/Back filling work | Air and dust pollution affecting nearby settlements |  | - Maintain adequate moisture content of soil and sand during transportation, and handling; - Use cover for carrying sand and soil. |  |
| Cutting & welding of the reinforcement | Noise pollution due to steel cutter and welding machine if any |  | - Avoid using of rod cutter and wielding machine at night; - Avoid prolonged exposure to noise (produced by equipment) by workers. |  |
|  | Potential health and safety risks from steel cutter and welding machine if any |  | - Ensure use of the personal protective equipment’s (helmet, goggles, gloves, safety boot) during cutting and welding of the reinforcement; - Availability and access to first-aid equipment and medical supplies in case of any accidents. |  |
| RCC (reinforcement cement concrete) work | Air pollution due to black smoke emission from concrete mixer machine and vibrator machine |  | - Regular maintenance of the concrete mixer and vibrator machine to avoid any black smoke emission. |  |
|  | Noise nuisance from concrete mixer machine and vibrator machine |  | - Avoid operation of the concrete mixer and vibrator machine at night; - RCC work should be avoided at schooling time; - Inform local people about casting work and potential impacts. |  |

Anticipated Environmental Impacts due to the key construction activities and corresponding mitigation measures for RCC Pipe Drain

| Activity / Issues | Potentials Impacts | Proposed Mitigation and Enhancement Measures | Responsible Parties |
| --- | --- | --- | --- |
| Excavation and Dismantle work | Generation of debris & sediments/ clay due to the earth excavation. | - Disposal of soil and construction wastes at disposal at the designated dumping site at Mouja-Choudda Paika, Dag No. 5. - Cover exposed dry loose soil with fabric. | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
|  | Accidents | - Operate the hydraulic excavator carefully; |  |
|  | Air pollution | - Regular maintenance of the equipment to avoid black smoke emission. |  |
| Back filling/Sand filling | Air and dust pollution affecting nearby settlements | - Maintain adequate moisture content of soil during transportation, compaction and handling; - Carry the materials specially loose soil and sand with adequate cover; |  |
| Cutting & welding of the reinforcement for manufacturing RCC pipe | Noise Pollution | - Avoid using of steel cutter and welding machine at night; - Avoid prolonged exposure to noise (produced by equipment) by workers. |  |
|  | Health and Safety | - Ensure use of the PPEs (helmets, goggles, gloves, safety boots); - Availability and access to first-aid equipment and medical supplies. |  |
| RCC (reinforcement concrete) work for manufacturing RCC pipe | Air pollution due to black emission | - Regular maintenance of the concrete mixer and vibrator machine. |  |
|  | Noise pollution | - Avoid operation of the concrete mixer and vibrator machine at night; - RCC work should be avoided at schooling time; - Inform local people about casting work and potential impacts. |  |
| RCC pipe laying | Accident due to mechanical failure of the chain coppa if use | - Carefully laying of the heavy weight precast RCC pipe; - Ensure safety compliance for the labor; - Regularly monitoring and maintenance the chain coppa if use. |  |

| Activity / Issues | Potentials Impacts | Proposed Mitigation and Enhancement Measures | Responsible Parties |
| --- | --- | --- | --- |
| Setting up the pole and electrical connection | - Potential health and safety risk | - Inform the local authority to switch off power during connection; - Ensure use of the PPEs. | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
| Source of electricity and equipment | - Reduce of resource i.e., use of electricity | - Provision of renewable energy (solar panel electrification)and use of environmental friendly bulb ( LED bulb rather than CFL bulb) |  |

Anticipated Environmental Impacts due to the key construction activities and corresponding mitigation measures for the electrification work

Anticipated Environmental Impacts during dredging activities/excavation work and Corresponding Mitigation and Enhancement Measures

| Components Impacted Environment | Source of Impact | Proposed Mitigation and Enhancement Measures | Responsible Parties |
| --- | --- | --- | --- |
| Air pollution | -Emission from Engines/ equipments; -Dust if any. | -Maintenance equipments properly; -Spray water to suppress dust emissions. | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
| Odor Nuisance | -Odor from dredged/ excavated materials if any | -Wash equipments and dump trucks immediately after work; -Inform residents of temporary nature of odors; -Stop dredging/excavation activities for a while if there are more than 10 complaints about odors from the surrounding community. |  |
| Vibration & Noise Nuisance | -Operation, -start-up & shut-down, -Speed-up of the engines/ equipments/ vehicles | -Switched off engines/ equipment when not in use; -Proper operation of the engines/ equipments/ vehicles. |  |
| Water Quality | -Leakage of engines/ equipments; -Discharge of fuels/oils/waste in to the Khal. | -Ensure no wastes, fuels, or oils are discharged into the Khal; -Ensure equipments have no leakages; -Maintenance, fuelling and cleaning of vehicles and equipment to take place at workshops/sites with adequate leakage prevention. |  |
| Spills | Wastes discharged to the Khal | -Ensure proper collection of dredged/excavated materials; -Avoid discharging dredged spoil into the Khal; -Avoid temporary disposal of the excavated materials. |  |
| Waste generation | -Generation and throwing of the waste in to the Khal | -Seek out and handover worn-out (masks, hand gloves, safety boots, juice can, water bottles, cap, t-shirt, sun glass) to agencies or organizations that can reuse; -Ensure timely cleanup of waste generated and proper disposal of the wastes; -Install prohibition signs of throwing waste in to the Khal and conduct awareness program for community people. |  |

Anticipated Environmental Impacts during transportation of dredged/excavated materials from work site/temporary disposal site if any to the final disposal site and Corresponding Mitigation Measures

| Components Impacted Environment | Source of Impact | Proposed Mitigation and Enhancement Measures | Responsible Parties |
| --- | --- | --- | --- |
| Traffic and road damage | -Transportation of the dredged/excavated materials | -Do not exceed number of trucks and trips that exceed capacity of the road; -Follow the speed level specified by the concern authority; -Conduct transportation at regular working hour; -Restrict truckload of dredged/excavated material not to exceed the capacity of the road; -Place traffic control officer to avoid traffic congestion; -Install traffic signs and flash light at night. | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
| Air pollution | -Emission from dump truck -Dust generated during transportation of the excavated materials | -Spray water to suppress dust emissions; -Maintenance the vehicles properly; -Control the speed of the vehicles on dusty surfaces. |  |
| Odor Nuisance | -Odor may induced from the excavated materials after filling the dump truck | -If any bad odor close the top of truck immediately with a tarp to avoid the spread of odor; -Ensure waterproof dump truck covered with trap; -Wash dump trucks immediate after use. |  |
| Vibration & Noise Nuisance | -Start-up and shut-down of the vehicles -Undue use of horn -Gear-up the speed of the vehicles may induced excess noise and vibration | -Switched off engines of vehicles when not in use; -Avoid undue use of horn. |  |

Anticipated Environmental Impacts for temporary storage (if needed) of the dredged/excavated materials and Corresponding Mitigation Measures

| Components Impacted Environment | Source of Impact | Proposed Mitigation and Enhancement Measures | Responsible Parties |
| --- | --- | --- | --- |
| Air pollution | In case of foul odor/bad smell from the excavated materials, it may degrade the air quality in the surrounding area | -If any bad odor from the excavated materials, cover the excavated materials immediately to minimize spreading of the bad odor. | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
| Degradation of the aesthetic value | Temporary disposal of the excavated materials may reduce aesthetic value to the surrounding area | -Cover the excavated materials during temporary storage; -Ensure final disposal and or re-use of the excavated materials as early as possible; -If possible construct a buffer zone between the facility and the external environment. |  |

Anticipated Environmental Impacts for the final disposal of the dredged/excavated materials and Corresponding Mitigation Measures

| Components Impacted Environment | Source of Impact | Proposed Mitigation and Enhancement Measures | Responsible Parties |
| --- | --- | --- | --- |
| Air pollution | In case of foul odor/bad smell from the excavated materials, it may degrade the air quality in the surrounding area | -If any bad odor from the excavated materials, cover the excavated materials immediately to minimize spreading of the bad odor; -Cover top surface/ capping the excavated materials by clean sediment layer. | Contractor Monitoring Primarily by City Corporation Secondarily by PMU, LGED and DSM |
| Vibration & Noise | -Start-up and shut-down of the vehicles; -Undue use of horns; -Gear-up the speed of the transportation vehicles may induced excess noise and vibration. | -Switched off engines of the transport vehicles when not in use; -Avoid undue use of horn; -If possible construct a buffer zone between the facility and the external environment especially in case of Izdair and Jim Khana dumping site. |  |
| Possible degradation of the surrounding environment and water quality | -Released or remobilization of excavated materials to the surrounding area may degrade the environmental and water quality. | -Check barrier/dyke capable to prevent spreading of the materials; -Check impermeable materials/ liner capable to prevent runoff to permeable areas. |  |

Table 10.4.2: Anticipated environmental Impacts during operation phase and corresponding mitigation and enhancement measures (EMP Table)

| Activity / Issues | Potentials Impacts | Proposed Mitigation and Enhancement Measures | Responsible Parties |
| --- | --- | --- | --- |
| Operation of RCC bridge | -Possible impacts on the aquatic environment due to throwing of the waste materials in to the khal by the local people and visitor | - Installation of the waste bins at both sides of the bridge so that the people can put the soft drinks cane, empty water bottle, plastic wrap etc.; - Use awareness signs ‘’ do not throw wastes in to the khal and use the dustbins’ - Conduct awareness program for the efficient waste disposals with the community people especially with youth group. | Monitoring- Primarily by the City Corporation |
| Operation of the BC access road | -Increase in traffic speed and accidents; -Possible road damage due to movement of heavy vehicles; -Increased air and noise pollution affecting surrounding areas. | - Better traffic management; - Control heavy traffic movement that may exceed load carrying capacity of the road. |  |
| Operation and maintenance of electrification work | -Accident due to collapse of the arms, electric bulbs and poles | - Monthly checking and maintenance of the arms, switch box, electric bulbs; - Provision of automatic shut-down the switch, lamps during thunder storm and other natural disasters. |  |
| Operation of sluice gate | Possible consequences impacts due to improper operation and maintenance of the sluice gate | - City Corp. will ensure persons for the proper operation of the sluice gate; - Ensure regular maintenance of the sluice gate. |  |

### 10.5 Environmental Monitoring Plan

As one of the key elements of the EMP, a two-tier monitoring program has been proposed comprising compliance monitoring and effects monitoring. The main purpose of this monitoring program is to ensure that the various tasks detailed in the EMP particularly the mitigation measures are implemented in an effective manner, and also to evaluate program impacts on the key environment and social parameters.  Various types of EMP monitoring are discussed below.

    - Compliance Monitoring

The purpose of the compliance monitoring is to ensure that the contractor implements the mitigation measures given in the EMP effectively and timely.  This monitoring will generally be carried out by the safeguard concern of NCC with the help of checklists (given in Annexure) prepared on the basis of the mitigation measures.

    - Effects Monitoring

Effects monitoring is a very important aspect of environmental management to safeguard the protection of environment. The effects monitoring plan proposed for the subproject is presented in Table 10.5.2.1. The monitoring will comprise surveillance to check whether the contractor is meeting the provisions of the contract during construction and operation of the subproject including the responsible agencies for implementation and supervision. Compliance indicators or threshold limits for the monitoring are also given in Table 10.5.2.1.

Table 10.5.2.1: Effects Monitoring Plan

| Parameter/ Activity | Location | Means of Monitoring | Compliance indicator/ threshold limits | Frequency | Responsible Agency |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Implementation | Super-vision |
| During Construction |  |  |  |  |  |  |
| Traffic Safety | Access roads around the subproject site | Visual inspection to see whether proper traffic signs are placed and flag-men for traffic management are engaged | Smooth flowing of traffic; and placement of traffic signs and flag-men | Monthly | Contractor | PIU, PMU & DSM |
| Dust | Construction sites | Visual inspection to ensure good standard equipment is in use and dust suppression measures (e.g., spraying of waters) are in place. | No dust generation from the construction activities | Daily | Contractor | PIU, PMU & DSM |
|  | Material storage sites | Visual inspection to ensure dust suppression measures | No dust generation from the material storage sites | Monthly | Contractor | PIU, PMU & DSM |
| Air quality (SPM, PM2.5, PM10, CO2, SOx, NOx) (under package-3,7 &9) | At the subproject site | 24 hours continuous monitoring with the help of appropriate instruments and analyzers at three different locations under package number 3, 7 & 9. | Compliance with the DOE standards | Twice during the construction phase | Contractor | PIU, PMU & DSM |
| Water Pollution (under package-3,7 &9) | During Construction | Measurement of pH, EC, BOD5, NH4N. Three samples from Baburail Khal at three different locations under package number 3, 7 & 9. | Compliance with the DOE standards | Twice during the construction phase | Contractor | PIU, PMU & DSM |
| Noise (under package-3,7 &9) | Construction sites | Noise measurement using noise meter at three different locations under package number 3, 7 & 9. | Compliance with DOE standards | Three times during the construction phase | Contractor | PIU, PMU & DSM |
| Solid Waste Management | Construction camps and construction sites | Visual inspection that solid waste collection facilities are in place and waste is disposed at designated site | Facilities are clean and waste collection and disposal facilities are in place | Monthly | Contractor | PIU, PMU & DSM |
| Drinking water and sanitation | Camps, offices | Ensure the construction workers are provided with safe water and sanitation facilities in the site | Availability of safe drinking water and sanitation facilities | Monthly | Contractor | PIU, PMU & DSM |
| Restoration of Work Sites | All Work Sites | Visual Inspection | The facilities are clean with no waste at the works sties | After completion of all works | Contractor | PIU, PMU & DSM |
| Safety of workers Monitoring and reporting accidents | At work sites | Usage of Personal Protective equipment and implementation of contractor OHS plan | All workers should use necessary PPEs | Monthly | Contractor | PIU, PMU & DSM |
| Grievances | In the subproject area | Number of grievances registered and addressed | Minutes of grievance redress meetings | Monthly | PIU | PMU & DSM |
| Reporting on Environmental Monitoring | During Construction | All parameters | To meet the compliance requirement | Quarterly | PIU safeguard concern and JES, DSM | Head, PIU and PMU |
| During Operation and Maintenance |  |  |  |  |  |  |
| Dust | At all Canal facilities and access roads | Visual inspection | No visible dust | Weekly | PIU Safeguard concern | Head, PIU |
| Traffic safety | At all Canal facilities and access roads | Visual inspection | No traffic congestion | Weekly | PIU Safeguard concern | Head, PIU |
| Cleanliness | At all Canal facilities | Visual Inspection | Facilities are clean with no garbage | Weekly | PIU Safeguard concern | Head, PIU |
| Solid waste collection | At all Canal facilities | Visual inspection that waste collection facilities are in use | Waste collection and disposal facilities are in place | Weekly | PIU Safeguard concern | Head, PIU |
| Workers and community health and safety | At all Canal facilities | Visual inspection on health and safety issues | Use necessary PPEs by workers to be engaged for maintenance | Monthly | PIU Safeguard concern | Head, PIU |
| Accidents | At all Canal facilities | Visual assessment and Interviews with involved people | Accident reports | As and when happened | PIU Safeguard concern | Head, PIU |
| Drinking water and sanitation facilities | At all Canal facilities | Visual inspection and interviews | Availability of safe drinking water and sanitation facilities | Monthly | PIU Safeguard concern | Head, PIU |
| Water Pollution | During Operation | Measurement of pH, EC, DO, BOD5, NH4N, PO4. Two samples at Baburail Khal at two different locations and two samples at outfall (Dhaleswari and Shitalkya River) of RCC pipe drain | Compliance with the DOE standards. | Twice during pre-monsoon and post-monsoon | PIU Safeguard concern | Head, PIU |
| Waste Management | Operation of the Canal facilities | Visual inspection that solid waste collection facilities are in place and waste is disposed at designated site | Facilities are clean and waste collection and disposal facilities are in place | Monthly | PIU Safeguard concern | Head, PIU |

  - Environmental Management Budget

The whole works of the Baburail Khal restoration subproject has been divided by 11 Packages. Hence, cost estimate will be prepared for each section separately and for each package separate contractor will be engaged. The Package-10 and 11 includes safety & security and sluice gate. Hence, environmental management budget is not included in the cost estimation of Package-10 & 11.  For the effective implementation of the EMP, adequate environmental management budget has been included in the cost estimation of the packages 1 to package 9. The environmental items that will only be performed by the contractors are included in the cost estimate section.

Separate traffic management plan has already been prepared by the consultant assigned by NCC. For the overall subproject works, Occupational Health & Safety Plan and Emergency Response Plan are needed. For the cost effectiveness, Occupational Health & Safety Plan and Emergency Response Plan should be prepared by the consultant assigned by NCC prior to the commencement of the work. Hence, cost for the preparation of the Occupational Health & Safety Plan and Emergency Response Plan is not included in the environmental management budget. Environmental Monitoring Costs during O&M Phase of Restoration of Baburail Khal will be defined by PIU during operation phase. Hence, it is also not included in the cost estimation of the subproject. Items for the preparation of the disposal site are also not included in the environmental management budget.  It is realistic that as per guidelines PIU, NCC should assess the items required for the preparation of the disposal site and cost estimation should be performed accordingly.

Package wise detailed cost estimates for environmental management are given in Table 10.6.1. Environmental Monitoring Cost during O&M Phase of Baburail Canal is shown in Table 10.6.2. Total cost estimation of environmental management budget for 8 Packages under this study is 2,885,000.00 BDT (Twenty Eight Lac Eighty Five Thousands Taka Only).

| Table 10.6.1: Environmental Management Budget in BOQ for Package-2 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item No. |  | Description of Item |  | Unit | Quantity |  | Unit Rate (BDT) |  | Cost (BDT) |  |
|  |  | Overall environmental management in addition to compliance to the clauses 27 and 28 of GCC to the entire satisfaction of E-I-C |  |  |  |  |  |  |  |  |
| 1 |  | Dust suppression measures by water spraying throughout the construction period in and around the subproject site, uncovered aggregates and loose materials such as stockpiles of the sand, excavated earth, construction wastes etc. and overall construction works |  | LS | − |  | − |  | 20,000.00 |  |
| 2 |  | Prevention of spillage, and leakage of the polluting materials in to the Khal, soil and open places (detailed procedure will be given in the EMP) |  | LS | − |  | − |  | 10,000.00 |  |
| 3 |  | Campsite wastes disposal facility during the construction period (collection, transportation, and dumping of the wastes at City Corp. designated dumping site): 2 nos (1 no. for the organic wastes and 1 no. for the inorganic wastes disposal facility) |  | Nos. | 2 |  | 20,000.00 |  | 40,000.00 |  |
| 4 |  | Providing safety gear packages like hand gloves, spectacles for eye protection, helmets, masks, visible jacket, safety shoes for at least 15 workers and 5 visitors |  | Set | 20 |  | 3,000.00 |  | 60,000.00 |  |
| 5 |  | One first aid box with necessary accessories (contractor will provide necessary medicines, saline as per requirement during construction period) |  | Set | 1.00 |  | 2,500.00 |  | 2,500.00 |  |
|  |  | Providing and maintaining adequate potable water supply and sanitation facilities at camp site and work site to the entire satisfaction of E-I-C. |  |  |  |  |  |  |  |  |
| 1 |  | Campsite water supply facilities: Preferably 1 no. of tube well at the labor campsite (Depending on the site condition, PIU safeguard concern and DSM consultant will assist the contractor for selecting the option) |  | Nos. | 1.00 |  | 20,000.00 |  | 20,000.00 |  |
| 2 |  | Campsite sanitation facilities: 2 nos. of the toilets preferably sanitary toilets at the labor campsite (1 no. for women and 1 no. for men) |  | Nos. | 2.00 |  | 20,000.00 |  | 40,000.00 |  |
|  |  | Environmental measures to compensate the felled down trees and clearing of the vegetation and to enhance the ecological condition in the subproject area |  |  |  |  |  |  |  |  |
| 1 |  | Tree plantation to compensate the felled down trees and to enhance the ecological condition-preferably local fruits, flowers, medicinal & ornamental trees and timber trees: Mango, Jackfruit, Berry, Neem, Amloki, Horitoki, Krisnachura, Radhachura, Bokul, Sonalu, Jarul, Polash, Kathbadam, and Kadom along the walkway and any other suitable places within the influence area of the subproject |  | Nos. | 70.00 |  | 1,000.00 |  | 70,000.00 |  |
|  |  | Environmental enhancement measures |  |  |  |  |  |  |  |  |
| 1 |  | Cautionary signs-2 nos. (as per guidelines and specifications that will be given in the EMP) |  | Nos. | 2.00 |  | 2,500.00 |  | 5,000.00 |  |
|  |  | Total |  |  |  |  |  |  | 267,500.00 |  |
| Table 10.6.1: Environmental Management Budget in BOQ for Package-3 |  |  |  |  |  |  |  |  |  |  |
| Item No. | Description of Item |  | Unit |  |  | Quantity |  | Unit Rate (BDT) |  | Cost (BDT) |
|  | Overall environmental management in addition to compliance to the clauses 27 and 28 of GCC to the entire satisfaction of E-I-C |  |  |  |  |  |  |  |  |  |
| 1 | Dust suppression measures by water spraying throughout the construction period in and around the subproject site, uncovered aggregates and loose materials such as stockpiles of the sand, excavated earth, construction wastes etc. and overall construction works |  | LS |  |  | − |  | − |  | 20,000.00 |
| 2 | Prevention of spillage, and leakage of the polluting materials in to the Khal, soil and open places (detailed procedure will be given in the EMP ) |  | LS |  |  | − |  | − |  | 10,000.00 |
| 3 | Campsite wastes disposal facility during the construction period (collection, transportation, and dumping of the wastes at City Corp. designated dumping site): 2 nos (1 no. for the organic wastes and 1 no. for the inorganic wastes disposal facility) |  | Nos. |  |  | 2 |  | 20,000.00 |  | 40,000.00 |
| 4 | Providing safety gear packages like hand gloves, spectacles for eye protection, helmets, masks, visible jacket, safety shoes for at least 15 workers and 5 visitors |  | Set |  |  | 20 |  | 3,000.00 |  | 60,000.00 |
| 5 | One first aid box with necessary accessories (contractor will provide necessary medicines, saline as per requirement during construction period) |  | Set |  |  | 1.00 |  | 2,500.00 |  | 2,500.00 |
|  | Providing and maintaining adequate potable water supply and sanitation facilities at camp site and work site to the entire satisfaction of E-I-C. |  |  |  |  |  |  |  |  |  |
| 1 | Campsite water supply facilities: Preferably 1 no. of tube well at the labor campsite (Depending on the site condition, PIU safeguard concern and DSM consultant will assist the contractor for selecting the option) |  | Nos. |  |  | 1.00 |  | 20,000.00 |  | 20,000.00 |
| 2 | Campsite sanitation facilities: 2 nos. of the toilets preferably sanitary toilets at the labor campsite (1 no. for women and 1 no. for men) |  | Nos. |  |  | 2.00 |  | 20,000.00 |  | 40,000.00 |
|  | Environmental measures to compensate the felled down trees and clearing of the vegetation and to enhance the ecological condition in the subproject area |  |  |  |  |  |  |  |  |  |
| 1 | Tree plantation to compensate the felled down trees and to enhance the ecological condition-preferably local fruits, flowers, medicinal & ornamental trees and timber trees: Mango, Jackfruit, Berry, Neem, Amloki, Horitoki, Krisnachura, Radhachura, Bokul, Sonalu, Jarul, Polash, Kathbadam, and Kadom along the walkway and any other suitable places within the influence area of the subproject |  | Nos. |  |  | 50.00 |  | 1,000.00 |  | 50,000.00 |
|  | Environmental enhancement measures |  |  |  |  |  |  |  |  |  |
| 1 | Cautionary signs-2 nos. (as per guidelines and specifications that will be given in the EMP) |  | Nos. |  |  | 2.00 |  | 2,500.00 |  | 5,000.00 |
|  | Environmental monitoring-analytical |  |  |  |  |  |  |  |  |  |
| 1 | Air quality (SPM, PM2.5, PM10, CO2, SOx and NOx) measurement. It can be measured from the recognized environmental survey company/ public institute/ university twice during construction phase (24 hours continuous monitoring with the help of appropriate instruments and analyzers) (Sampling-2, 6 parameters & two times measurement is recommended) |  | Sampling, parameters and frequency |  |  | 2.00 |  | 60,000.00 |  | 120,000.00 |
| 2 | Water quality (pH, EC, BOD5 and NH4N) measurement. It can be measured from the recognized environmental survey company/ public institute/ university twice during construction phase (Sampling-3, 4 parameters & two times measurement is recommended) |  | Sampling, parameters and frequency |  |  | 2.00 |  | 40,000.00 |  | 80,000.00 |
| 3 | Noise level measurement. It can be measured from the recognized environmental survey company/ public institute/ university three times during construction phase for overall construction activities |  | Per measurement |  |  | 3.00 |  | 5,000.00 |  | 15,000.00 |
|  | Total |  |  |  |  |  |  |  |  | 462,500.00 |

| Table 10.6.1: Environmental Management Budget in BOQ for Package-4 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item No. | Description of Item | Unit | Quantity | Unit Rate (BDT) | Cost (BDT) |
|  | Overall environmental management in addition to compliance to the clauses 27 and 28 of GCC to the entire satisfaction of E-I-C |  |  |  |  |
| 1 | Dust suppression measures by water spraying throughout the construction period in and around the subproject site, uncovered aggregates and loose materials such as stockpiles of the sand, excavated earth, construction wastes etc. and overall construction works | LS | − | − | 20,000.00 |
| 2 | Prevention of spillage, and leakage of the polluting materials in to the Khal, soil and open places (detailed procedure ) | LS | − | − | 10,000.00 |
| 3 | Campsite wastes disposal facility during the construction period (collection, transportation, and dumping of the wastes at City Corp. designated dumping site): 2 nos (1 no. for the organic wastes and 1 no. for the inorganic wastes disposal facility) | Nos. | 2 | 20,000.00 | 40,000.00 |
| 4 | Providing safety gear packages like hand gloves, spectacles for eye protection, helmets, masks, visible jacket, safety shoes for at least 15 workers and 5 visitors | Set | 20 | 3,000.00 | 60,000.00 |
| 5 | One first aid box with necessary accessories (contractor will provide necessary medicines, saline as per requirement during construction period) | Set | 1.00 | 2,500.00 | 2,500.00 |
|  | Providing and maintaining adequate potable water supply and sanitation facilities at camp site and work site to the entire satisfaction of E-I-C. |  |  |  |  |
| 1 | Campsite water supply facilities: Preferably 1 no. of tube well at the labor campsite (Depending on the site condition, PIU safeguard concern and DSM consultant will assist the contractor for selecting the option) | Nos. | 1.00 | 20,000.00 | 20,000.00 |
| 2 | Campsite sanitation facilities: 2 nos. of the toilets preferably sanitary toilets at the labor campsite (1 no. for women and 1 no. for men) | Nos. | 2.00 | 20,000.00 | 40,000.00 |
|  | Environmental measures to compensate the felled down trees and clearing of the vegetation and to enhance the ecological condition in the subproject area |  |  |  |  |
| 1 | Tree plantation to compensate the felled down trees and to enhance the ecological condition-preferably local fruits, flowers, medicinal & ornamental trees and timber trees: Mango, Jackfruit, Berry, Neem, Amloki, Horitoki, Krisnachura, Radhachura, Bokul, Sonalu, Jarul, Polash, Kathbadam, and Kadom along the walkway and any other suitable places within the influence area of the subproject | Nos. | 65.00 | 1,000.00 | 65,000.00 |
|  | Environmental enhancement measures |  |  |  |  |
| 1 | Cautionary signs-2 nos. (as per guidelines and specifications that will be given in the EMP) | Nos. | 2.00 | 2,500.00 | 5,000.00 |
|  | Total |  |  |  | 262,500.00 |

| Table 10.6.1: Environmental Management Budget in BOQ for Package-5 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item No. | Description of Item | Unit | Quantity | Unit Rate (BDT) | Cost (BDT) |
|  | Overall environmental management in addition to compliance to the clauses 27 and 28 of GCC to the entire satisfaction of E-I-C |  |  |  |  |
| 1 | Dust suppression measures by water spraying throughout the construction period in and around the subproject site, uncovered aggregates and loose materials such as stockpiles of the sand, excavated earth, construction wastes etc. and overall construction works | LS | − | − | 20,000.00 |
| 2 | Prevention of spillage, and leakage of the polluting materials in to the Khal, soil and open places (detailed procedure ) | LS | − | − | 10,000.00 |
| 3 | Campsite wastes disposal facility during the construction period (collection, transportation, and dumping of the wastes at City Corp. designated dumping site): 2 nos (1 no. for the organic wastes and 1 no. for the inorganic wastes disposal facility) | Nos. | 2 | 20,000.00 | 40,000.00 |
| 4 | Providing safety gear packages like hand gloves, spectacles for eye protection, helmets, masks, visible jacket, safety shoes for at least 15 workers and 5 visitors | Set | 20 | 3,000.00 | 60,000.00 |
| 5 | One first aid box with necessary accessories (contractor will provide necessary medicines, saline as per requirement during construction period) | Set | 1.00 | 2,500.00 | 2,500.00 |
|  | Providing and maintaining adequate potable water supply and sanitation facilities at camp site and work site to the entire satisfaction of E-I-C. |  |  |  |  |
| 1 | Campsite water supply facilities: Preferably 1 no. of tube well at the labor campsite (Depending on the site condition, PIU safeguard concern and DSM consultant will assist the contractor for selecting the option) | Nos. | 1.00 | 20,000.00 | 20,000.00 |
| 2 | Campsite sanitation facilities: 2 nos. of the toilets preferably sanitary toilets at the labor campsite (1 no. for women and 1 no. for men) | Nos. | 2.00 | 20,000.00 | 40,000.00 |
|  | Environmental measures to compensate the felled down trees and clearing of the vegetation and to enhance the ecological condition in the subproject area |  |  |  |  |
| 1 | Tree plantation to compensate the felled down trees and to enhance the ecological condition-preferably local fruits, flowers, medicinal & ornamental trees and timber trees: Mango, Jackfruit, Berry, Neem, Amloki, Horitoki, Krisnachura, Radhachura, Bokul, Sonalu, Jarul, Polash, Kathbadam, and Kadom along the walkway and any other suitable places within the influence area of the subproject | Nos. | 50.00 | 1,000.00 | 50,000.00 |
|  | Environmental enhancement measures |  |  |  |  |
| 1 | Cautionary signs-2 nos. (as per guidelines and specifications that will be given in the EMP) | Nos. | 2.00 | 2,500.00 | 5,000.00 |
|  | Total |  |  |  | 247,500.00 |

| Table 10.6.1: Environmental Management Budget in BOQ for Package-6 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item No. | Description of Item | Unit | Quantity | Unit Rate (BDT) | Cost (BDT) |
|  | Overall environmental management in addition to compliance to the clauses 27 and 28 of GCC to the entire satisfaction of E-I-C |  |  |  |  |
| 1 | Dust suppression measures by water spraying throughout the construction period in and around the subproject site, uncovered aggregates and loose materials such as stockpiles of the sand, excavated earth, construction wastes etc. and overall construction works | LS | − | − | 20,000.00 |
| 2 | Prevention of spillage, and leakage of the polluting materials in to the Khal, soil and open places (detailed procedure ) | LS | − | − | 10,000.00 |
| 3 | Campsite wastes disposal facility during the construction period (collection, transportation, and dumping of the wastes at City Corp. designated dumping site): 2 nos (1 no. for the organic wastes and 1 no. for the inorganic wastes disposal facility) | Nos. | 2 | 20,000.00 | 40,000.00 |
| 4 | Providing safety gear packages like hand gloves, spectacles for eye protection, helmets, masks, visible jacket, safety shoes for at least 15 workers and 5 visitors | Set | 20 | 3,000.00 | 60,000.00 |
| 5 | One first aid box with necessary accessories (contractor will provide necessary medicines, saline as per requirement during construction period) | Set | 1.00 | 2,500.00 | 2,500.00 |
|  | Providing and maintaining adequate potable water supply and sanitation facilities at camp site and work site to the entire satisfaction of E-I-C. |  |  |  |  |
| 1 | Campsite water supply facilities: Preferably 1 no. of tube well at the labor campsite (Depending on the site condition, PIU safeguard concern and DSM consultant will assist the contractor for selecting the option) | Nos. | 1.00 | 20,000.00 | 20,000.00 |
| 2 | Campsite sanitation facilities: 2 nos. of the toilets preferably sanitary toilets at the labor campsite (1 no. for women and 1 no. for men) | Nos. | 2.00 | 20,000.00 | 40,000.00 |
|  | Environmental measures to compensate the felled down trees and clearing of the vegetation and to enhance the ecological condition in the subproject area |  |  |  |  |
| 1 | Tree plantation to compensate the felled down trees and to enhance the ecological condition-preferably local fruits, flowers, medicinal & ornamental trees and timber trees: Mango, Jackfruit, Berry, Neem, Amloki, Horitoki, Krisnachura, Radhachura, Bokul, Sonalu, Jarul, Polash, Kathbadam, and Kadom along the walkway and any other suitable places within the influence area of the subproject | Nos. | 55.00 | 1,000.00 | 55,000.00 |
|  | Environmental enhancement measures |  |  |  |  |
| 1 | Cautionary signs-2 nos. (as per guidelines and specifications that will be given in the EMP) | Nos. | 2.00 | 2,500.00 | 5,000.00 |
|  | Total |  |  |  | 252,500.00 |

| Table 10.6.1: Environmental Management Budget in BOQ for Package-7 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item No. | Description of Item | Unit | Quantity | Unit Rate (BDT) | Cost (BDT) |
|  | Overall environmental management in addition to compliance to the clauses 27 and 28 of GCC to the entire satisfaction of E-I-C |  |  |  |  |
| 1 | Dust suppression measures by water spraying throughout the construction period in and around the subproject site, uncovered aggregates and loose materials such as stockpiles of the sand, excavated earth, construction wastes etc. and overall construction works | LS | − | − | 20,000.00 |
| 2 | Prevention of spillage, and leakage of the polluting materials in to the Khal, soil and open places (detailed procedure ) | LS | − | − | 10,000.00 |
| 3 | Campsite wastes disposal facility during the construction period (collection, transportation, and dumping of the wastes at City Corp. designated dumping site): 2 nos (1 no. for the organic wastes and 1 no. for the inorganic wastes disposal facility) | Nos. | 2 | 20,000.00 | 40,000.00 |
| 4 | Providing safety gear packages like hand gloves, spectacles for eye protection, helmets, masks, visible jacket, safety shoes for at least 15 workers and 5 visitors | Set | 20 | 3,000.00 | 60,000.00 |
| 5 | One first aid box with necessary accessories (contractor will provide necessary medicines, saline as per requirement during construction period) | Set | 1.00 | 2,500.00 | 2,500.00 |
|  | Providing and maintaining adequate potable water supply and sanitation facilities at camp site and work site to the entire satisfaction of E-I-C. |  |  |  |  |
| 1 | Campsite water supply facilities: Preferably 1 no. of tube well at the labor campsite (Depending on the site condition, PIU safeguard concern and DSM consultant will assist the contractor for selecting the option) | Nos. | 1.00 | 20,000.00 | 20,000.00 |
| 2 | Campsite sanitation facilities: 2 nos. of the toilets preferably sanitary toilets at the labor campsite (1 no. for women and 1 no. for men) | Nos. | 2.00 | 20,000.00 | 40,000.00 |
|  | Environmental measures to compensate the felled down trees and clearing of the vegetation and to enhance the ecological condition in the subproject area |  |  |  |  |
| 1 | Tree plantation to compensate the felled down trees and to enhance the ecological condition-preferably local fruits, flowers, medicinal & ornamental trees and timber trees: Mango, Jackfruit, Berry, Neem, Amloki, Horitoki, Krisnachura, Radhachura, Bokul, Sonalu, Jarul, Polash, Kathbadam, and Kadom along the walkway and any other suitable places within the influence area of the subproject | Nos. | 40.00 | 1,000.00 | 40,000.00 |
|  | Environmental enhancement measures |  |  |  |  |
| 1 | Cautionary signs-2 nos. (as per guidelines and specifications that will be given in the EMP) | Nos. | 2.00 | 2,500.00 | 5,000.00 |
|  | Environmental monitoring-analytical |  |  |  |  |
| 1 | Air quality (SPM, PM2.5, PM10, CO2, SOx and NOx) measurement. It can be measured from the recognized environmental survey company/ public institute/ university twice during construction phase (24 hours continuous monitoring with the help of appropriate instruments and analyzers) (Sampling-2, 6 parameters & two times measurement is recommended) | Sampling, parameters and frequency | 2.00 | 60,000.00 | 120,000.00 |
| 2 | Water quality (pH, EC, BOD5 and NH4N) measurement. It can be measured from the recognized environmental survey company/ public institute/ university twice during construction phase (Sampling-3, 4 parameters & two times measurement is recommended) | Sampling, parameters and frequency | 2.00 | 40,000.00 | 80,000.00 |
| 3 | Noise level measurement. It can be measured from the recognized environmental survey company/ public institute/ university three times during construction phase for overall construction activities | Per measurement | 3.00 | 5,000.00 | 15,000.00 |
|  | Total |  |  |  | 452,500.00 |

| Table 10.6.1: Environmental Management Budget in BOQ for Package-8. Item No.; Description of Item; Unit; Quantity; Unit Rate (BDT); Cost (BDT). Overall environmental management in addition to compliance to the clauses 27 and 28 of GCC to the entire satisfaction of E-I-C. 1; Dust suppression measures by water spraying throughout the construction period in and around the subproject site, uncovered aggregates and loose materials such as stockpiles of the sand, excavated earth, construction wastes etc. and overall construction works; LS; −; −; 20,000.00. 2; Prevention of spillage, and leakage of the polluting materials in to the Khal, soil and open places (detailed procedure ); LS; −; −; 10,000.00. 3; Campsite wastes disposal facility during the construction period (collection, transportation, and dumping of the wastes at City Corp. designated dumping site): 2 nos (1 no. for the organic wastes and 1 no. for the inorganic wastes disposal facility); Nos.; 2; 20,000.00; 40,000.00. 4; Providing safety gear packages like hand gloves, spectacles for eye protection, helmets, masks, visible jacket, safety shoes for at least 15 workers and 5 visitors; Set; 20; 3,000.00; 60,000.00. 5; One first aid box with necessary accessories (contractor will provide necessary medicines, saline as per requirement during construction period); Set; 1.00; 2,500.00; 2,500.00. Providing and maintaining adequate potable water supply and sanitation facilities at camp site and work site to the entire satisfaction of E-I-C.. 1; Campsite water supply facilities: Preferably 1 no. of tube well at the labor campsite (Depending on the site condition, PIU safeguard concern and DSM consultant will assist the contractor for selecting the option); Nos.; 1.00; 20,000.00; 20,000.00. 2; Campsite sanitation facilities: 2 nos. of the toilets preferably sanitary toilets at the labor campsite (1 no. for women and 1 no. for men); Nos.; 2.00; 20,000.00; 40,000.00. Environmental measures to compensate the felled down trees and clearing of the vegetation and to enhance the ecological condition in the subproject area. 1; Tree plantation to compensate the felled down trees and to enhance the ecological condition-preferably local fruits, flowers, medicinal & ornamental trees and timber trees: Mango, Jackfruit, Berry, Neem, Amloki, Horitoki, Bohera, Arjun, Krisnachura, Radhachura, Bokul, Sonalu, Jarul, Polash, Kathbadam, Palm Tree, Mahogany, Rain Tree, Kadom, Koroi, Banyan Tree (2 nos), along the walkway (both sides) and any other suitable places within the influence area of the subproject; Nos.; 140.00; 1,000.00; 140,000.00. Environmental enhancement measures. 1; Cautionary signs-2 nos. (as per guidelines and specifications that will be given in the EMP); Nos.; 2.00; 2,500.00; 5,000.00. Total; 337,500.00. Table 10.6.1: Environmental Management Budget in BOQ for Package-9 |
| --- |
| Item No. | Description of Item | Unit | Quantity | Unit Rate (BDT) | Cost (BDT) |
|  | Overall environmental management in addition to compliance to the clauses 27 and 28 of GCC to the entire satisfaction of E-I-C |  |  |  |  |
| 1 | Dust suppression measures by water spraying throughout the construction period in and around the subproject site, uncovered aggregates and loose materials such as stockpiles of the sand, excavated earth, construction wastes etc. and overall construction works | LS | − | − | 20,000.00 |
| 2 | Prevention of spillage, and leakage of the polluting materials in to the Khal, soil and open places (detailed procedure ) | LS | − | − | 10,000.00 |
| 3 | Campsite wastes disposal facility during the construction period (collection, transportation, and dumping of the wastes at City Corp. designated dumping site): 2 nos (1 no. for the organic wastes and 1 no. for the inorganic wastes disposal facility) | Nos. | 2 | 20,000.00 | 40,000.00 |
| 4 | Providing safety gear packages like hand gloves, spectacles for eye protection, helmets, masks, visible jacket, safety shoes for at least 15 workers and 5 visitors | Set | 20 | 3,000.00 | 60,000.00 |
| 5 | One first aid box with necessary accessories (contractor will provide necessary medicines, saline as per requirement during construction period) | Set | 1.00 | 2,500.00 | 2,500.00 |
|  | Providing and maintaining adequate potable water supply and sanitation facilities at camp site and work site to the entire satisfaction of E-I-C. |  |  |  |  |
| 1 | Campsite water supply facilities: Preferably 1 no. of tube well at the labor campsite (Depending on the site condition, PIU safeguard concern and DSM consultant will assist the contractor for selecting the option) | Nos. | 1.00 | 20,000.00 | 20,000.00 |
| 2 | Campsite sanitation facilities: 2 nos. of the toilets preferably sanitary toilets at the labor campsite (1 no. for women and 1 no. for men) | Nos. | 2.00 | 20,000.00 | 40,000.00 |
|  | Environmental measures to compensate the felled down trees and clearing of the vegetation and to enhance the ecological condition in the subproject area |  |  |  |  |
| 1 | Tree plantation to compensate the felled down trees and to enhance the ecological condition-preferably local fruits, flowers, medicinal & ornamental trees and timber trees: Mango, Jackfruit, Berry, Neem, Amloki, Horitoki, Bohera, Arjun, Krisnachura, Radhachura, Bokul, Sonalu, Jarul, Polash, Kathbadam, Palm Tree, Mahogany, Rain Tree, Kadom, Koroi, Banyan Tree (2 nos), along the walkway (both sides) and any other suitable places within the influence area of the subproject | Nos. | 190.00 | 1,000.00 | 190,000.00 |
|  | Environmental enhancement measures |  |  |  |  |
| 1 | Cautionary signs-2 nos. (as per guidelines and specifications that will be given in the EMP) | Nos. | 2.00 | 2,500.00 | 5,000.00 |
|  | Environmental monitoring-analytical |  |  |  |  |
| 1 | Air quality (SPM, PM2.5, PM10, CO2, SOx and NOx) measurement. It can be measured from the recognized environmental survey company/ public institute/ university twice during construction phase (24 hours continuous monitoring with the help of appropriate instruments and analyzers) (Sampling-2, 6 parameters & two times measurement is recommended) | Sampling, parameters and frequency | 2.00 | 60,000.00 | 120,000.00 |
| 2 | Water quality (pH, EC, BOD5 and NH4N) measurement. It can be measured from the recognized environmental survey company/ public institute/ university twice during construction phase (Sampling-3, 4 parameters & two times measurement is recommended) | Sampling, parameters and frequency | 2.00 | 40,000.00 | 80,000.00 |
| 3 | Noise level measurement. It can be measured from the recognized environmental survey company/ public institute/ university three times during construction phase for overall construction activities | Per measurement | 3.00 | 5,000.00 | 15,000.00 |
|  | Total |  |  |  | 602,500.00 |

Table 10.6.2: Environmental Monitoring Costs during O&M Phase of Restoration of Baburail Khal

| Component | Stage | Item | Total Costs (BDT) |
| --- | --- | --- | --- |
| RCC pipe drain cleaning and maintenance | During operation | Avoid clogging of drain by regular cleaning of the pipe drain and outfall points | To be defined by PIU and source of fund is maintenance budget of NCC |
| Over all cleaning of the canal facilities | During operation | Keep cleaning of the canal facilities by regular | To be defined by PIU and source of fund is maintenance budget of NCC |
| Water Quality Monitoring | During operation | Measurement of pH, EC, DO, BOD5, NH4N, PO4. Two samples at Baburail Khal at two different locations and two samples at outfall (Dhaleswari and Shitalkya River) of RCC pipe drain. Twice during pre-monsoon and post-monsoon each year | To be defined by PIU and source of fund is maintenance budget of NCC |
| Dust suppression measures | During operation | To minimize generated dust from subproject facilities dust suppression measures i.e. water spray as per requirement should be taken by the City Corporation | To be defined by PIU and source of fund is maintenance budget of NCC |
| Waste Management | During operation | -Waste disposal facilities are clean and waste collection and disposal facilities are in place and in operation -PIU should replace the damaged waste bins as per requirements | To be defined by PIU and source of fund is maintenance budget of NCC |

  - Environmental Codes of Practice and Responsibility of the Contractor

This section identifies and specifies environmental management guidelines and practices to be followed by the contractors for sustainable management of all environmental issues. The Contractors shall carry out the subproject related activities as specified in contract agreement. NCC shall ensure that contractors take due responsibility to mitigate those negative impacts. Environmental awareness creation, particularly about the direct construction impacts and for the health, pollution and safety issues will be Contractor’s responsibility. Clauses that may be incorporated in the tender documents are:

- ECoP-1 (Overall Environmental Protection): The Contractor shall take all steps to protect environment and avoid causing damages of the water bodies, and public nuisances of all types during implementation;

- ECoP-2 (Ensuring Regularity Requirements): Contractors shall comply with the existing statutes and regulations concerning the execution of works as per requirements of DoE and donor’s environmental guidelines. Contractor shall be responsible for familiarizing with the legislation relating to environmental protection that is relevant to activities;

- ECoP-3 (Labor shed Management): Contractors shall maintain the camp and construction sites in clean and tidy conditions and shall ensure standard facilities in the labor shed;

- ECop-4 (Workforce Environment): Contractors shall engage local people as much as possible where applicable and ensure prohibition of the child labor (less than 18 years) and aged labor (more than 65 years) in heavy works. Contractor shall pay to the workers regularly and ensure no discrepancy in the wages between men and women for similar works;

- ECoP-5 (Waste Management): Contractor shall be responsible for the safe transportation and disposal of the wastes generated due to the subproject activities in such a way that no environmental pollution or hazard to health is caused to the workers and local people;

- ECoP- 6 (Workers Health and Safety): Contractors shall be responsible for providing personal protective equipments and first aid facilities as per requirements.

- ECoP-7 (Compensation for Accidents):  Contractors shall bear medical treatment costs for any accidents. If any severe accidents such as loss of hands, legs or loss of working ability or any case of death needs compensation- (the amount of the compensation should be fixed considering the type of accidents);

- ECoP-8 (Implementation of the Mitigation Measures): Contractors shall responsible for the implementation of the mitigation measures mentioned in the EMP and follow the guidelines in the daily activities of the subproject;

- ECoP-9 (Spill Prevention, Fuels and Hazardous Substances Management): Contractors shall take preventive measures for spill prevention and fuels and hazardous substances management. Contractor shall not allow waste oil, lubricant or other petroleum derivatives to be used as dust suppressants and shall take all reasonable precautions to prevent accidental spillage of the petroleum products, contact of such materials with soil or water course through discharge, run-off and seepage;

- ECoP-10 (Restoration of the Facilities): The contractors on completion of the contract shall remove the equipment, surplus materials, and rubbish and temporary structures of all types and shall leave sites in clean condition to the satisfaction of NCC and local people;

- ECoP-11 (Conducting Analytical Monitoring): Contractors shall responsible for conducting analytical monitoring as per EMP and submit the reports to the NCC.

# CHAPTER - 11: INSTITUTIONAL ARRANGEMENT AND CAPACITY BUILDING

CHAPTER 11: INSTITUTIONAL ARRANGEMENT AND CAPACITY BUILDING

11.1 Institutional Arrangements and Responsibilities

The subproject will be implemented under the direct supervision of the Project Implementation Unit (PIU) of Narayanganj City Corporation. The PIU has already been established in the Narayanganj City Corporation. The PIU will be led by the head of the engineering department of

Narayanganj City Corporation.

The PIU is responsible for assigning the consultant for carrying out the environmental and social assessment and engineering designs for the proposed. The PIU will be headed by Head of the Engineering Department of Narayanganj City Corporation. The focal person of the Environment &Social Safeguard of PIU will responsible for monitoring of environmental and social compliances in both construction and O&M phases of the project. In addition, if necessary NCC will recruit a permanent Environmental, Health and Safety Specialist, who will be responsible for overseeing the environmental mitigation measures during construction, operation and maintenance period.

PIU Head

PD-MGSP

TL/DTL-DSM

Environmental Safeguard Specialist-DSM

Social Management Specialist-DSM

Senior Municipal Engineer-DSM

Junior Environmental Specialist-DSM

Assistant Municipal Engineer-DSM

Social Management Officer-DSM

Safeguard Concerns-NCC

Contractor

Figure 11.1.1: Organogram of Environmental and Social Management Team

The overall responsibility of environmental performance including EMP implementation of the subproject will rest with the project management of MGSP. Organogram for Environmental and Social Management and monitoring cell of the subproject is shown in Figure 11.1.1 and Roles and Responsibilities of environmental management organization is shown in Table 11.1.1.

Table 11.1.1: Specific roles and responsibilities of environmental management organization

| Position | Responsibility |
| --- | --- |
| PD/ TL/DTL | - Analyze and evaluate the monthly monitoring reports coming from field; - Provide suggestions and inputs as per requirement; - Give feedback to WB. |
| PIU Head | - Provide technical aspects of the subproject related to environmental management; - Supervise and assign safeguard concerns of NCC to ensure effective implementation of the EMP; - Ensure that all subproject activities are well-managed; - Liaison with PMU, LGED and TL/DTL, DSM related to environmental management. |
| Senior Municipal Engineer | - Provide technical aspects of the subproject related to environmental management; - Supervise and assign assistant municipal engineer of NCC related to environmental management. |
| Environmental Safeguard Specialist-DSM | - Ensure that environment, health and safety regulatory requirements are met and EMP and monitoring plans are properly implemented; - Give adequate training to Jr. Environmental Specialist of DSM and Safeguard Concerns of NCC on EMP and monitoring plan. - Supervise and assign Jr. Environmental Specialist of DSM to ensure regular monitoring of the field activities. |
| Jr. Environmental Specialist and Safeguard Concerns | - Ensure regular field visit and ensure environmental management in the daily activities; - Motivate and impose the contractors in the field for the effective environmental management; - Preparation of the monthly monitoring report; - Regular feedback to the respective supervisor related to the field activities. |
| Social Management Specialist and Social Management Officer | - Liaison with the stakeholders including the local community related to environmental management. |
| Assistant Municipal Engineer- DSM | - Responsible for overall supervision and monitoring of the subproject activities in the construction period; - Updating the Sr. Environmental Engineer and Jr. Environmental of DSM about the field level environmental issues. |
| Contractors | - Responsible for implementation of mitigation and monitoring measures proposed in the EMP |

11.2 Capacity Building

Capacity building for effective implementation of the environmental and social safeguard requirements based on Environmental Management Framework (EMF) and Social Management Framework (SMF) of MGSP. Capacity building for environmental and social safeguard management needs to be carried out at all tiers of the subproject, including PMU, PIU, DSM field and contractors.  The various aspects that are covered under the capacity building should include general environmental and social awareness, key environmental and social sensitivities of the area, and key environmental and social impacts of the subproject, EMP requirements, OHS aspects, and excavated sediments/sludge & waste disposal.

Few training programs have already been conducted by the PMU and DSM to build the capability of the PMU, PIU and DSM field staffs. Similar capacity building workshop should be conducted in the Narayanganj City Corporation to develop the capability of the PMU concern, PIU of NCC and DSM field staffs. Under this training program PMU and the DSM will organize an introductory course on: (i) Environmental Screening, (ii) EMP Implementation, including environmental monitoring requirements related to mitigation measures; and (iii) taking immediate action to remedy unexpected adverse impacts or ineffective mitigation measures found during the course of the implementation. iv) Preparation of the monthly monitoring report etc. The contractor should be also included in the training program to enhance the Environmental awareness and orientation among the workers before deploying to the work sites in order to achieve the expected standards. A detailed training manual has already been developed by the Environmental Safeguard Specialist prior to the training programs that already been conducted. Hence, the existing manual will be reviewed and modification will be done as per requirement.

# CHAPTER -12: PUBLIC CONSULTATION AND DISCLOSURE

CHAPTER -12: PUBLIC CONSULTATION AND DISCLOSURE

## 12.1	Introduction

Participation is a process, through which stakeholder’s influence and share control over development initiatives, the decisions and the resources, which affects them. The effectiveness of environment and social management plan is directly related to the degree of continuing involvement of stakeholders in the subproject development process. Participation of stakeholders in the subproject is also a primary requirement in developing an appropriate EMP that addresses requirement. Stakeholder’s involvement is also vastly increases the probability of successful implementation of management plan.  In order to make  consultation  and disclosure  process effective  and fruitful, comprehensive planning is required to assure that local government, host population and project staff interacts regularly and purposefully, throughout all stages of the project and contribute toward a common goal.

## 12.2 Objectives of Public Consultation and Disclosure Meeting

The broader objective of public consultation is to inform local inhabitants/stakeholders to make them aware of the subproject and to gather their opinion/suggestions about the proposed development program as well as to incorporate their suggestions during subproject planning and implementation stage.

The specific objectives of public consultation are to:

- Create  awareness  of  stakeholders  (local  people  and  City  Corporation’s  elected representatives) and provide them general information of the subproject;

- Facilitate the local community (people) to participate in the subproject planning;

- Learn from the community (people) and share with them their perception of the subproject;

- Know  people’s  suggestions  from  the  local  community  (people)  for  solution  of problems/ constraints of the subproject;

- Assess project impacts both positive and negative in nature;

- Explore local community’s ideas on mitigation/minimization of negative impacts;

- Collect additional information and ideas of the project from the local community.

## 12.3	Approach and Methodology for Consultation

The approach undertaken for information disclosure and consultation involved the following key processes:

- Mapping and Identification of key stakeholders such as primary (direct project influence) and secondary (indirect project influence) stakeholders;

- Undertaking expert consultations, interviews and focus group discussions (FGD) with the respective stakeholders;

- Undertaking structured on field consultations, interviews and focus group discussions (FGD) with the respective stakeholders;

- Assessing the influence and impact of the project on these stakeholder groups;

- Summarizing of key findings and observations from the consultations; and

- Preparing a future stakeholder engagement strategy consultation plan for a more detailed assessment at a microscopic level taking into account the various project lifecycle phases and their implications on the stakeholder.

## 12.4	Stakeholder Assessment

A stakeholder is defined as “a person, group, or organization that has direct or indirect stake in a project/organization because it can affect or be affected by the Project or its Proponent’s actions, objectives, and policies”. Stakeholders vary in terms of degree of interest, influence and control they have over the Project or the proponent. In the present study, all the stakeholders have been primarily categorized into two categories that have been identified as:

- Primary Stakeholders: include people, groups, institutions that either have a direct influence on the project or are directly impacted (positively or adversely) by the project and its activities; and

- Secondary stakeholders: are those that have a bearing on the project and its activities by the virtue of their being closely linked or associated with the primary stakeholders and due to the influence they have on the primary stakeholder groups.

- Apart from categorization, the stakeholders have also been classified in accordance with the level of influence they have over the project as well as their priority to the project proponent in terms of importance.

The influence and priority have both been primarily rates as:

- High Influence/Priority: This implies a high degree of influence of the stakeholder on the project in terms of participation and decision making or high priority for project proponent to engage that stakeholder.

- Medium Influence/Priority: This implies a moderate level of influence and participation of the stakeholder in the project as well as a priority level for project proponent to engage the stakeholder who are neither highly critical nor are insignificant in terms of influence.

- Low Influence/Priority: This implies a low degree of influence of the stakeholder on the project in terms of participation and decision making or low priority for project proponent to engage that stakeholder.

Based on the above attributes, the following Table 12.4.1 delineates the detail of stakeholders relevant to Baburail canal identified for the proposed project and their analysis.

Table 12.4.1: Stakeholder Assessment for the Subproject

| Sl. No. | Stakeholders | Category of stakeholder |  | Brief profile | Overall influence on the project | Basis of Influence Rating |
| --- | --- | --- | --- | --- | --- | --- |

Project Management

| 1 | Narayanganj City Corporation (NCC) | Primary | - NCC is the primary project proponent own a controlling stake of 100% in the project | Highest | - Are the primary project proponents - Responsible for establishment and operation of this project - Primary financial beneficiaries - Responsible for all the project related risks and impact liabilities |
| --- | --- | --- | --- | --- | --- |

Community

| 2 | Vulnerable Groups (poor, old aged, and destitute) | Primary | - The marginal groups within the project area primarily comprises of landless households as a result of acquisition, households below poverty threshold, women headed households, old aged & destitute | Low | - Employment opportunity during construction. - Job prospect for their children - Compensation paid to male member of family - Little control over compensation amount - Employment opportunities |
| --- | --- | --- | --- | --- | --- |
| 3 | Local Community | Primary | - Primarily includes adjacent community to the project site | Medium | - Project will bring development to the area - Increase in employment opportunities and preference in job - Improvement in infrastructure in the area |

Regulatory/Administrative Authorities & Agencies

| 4 | Dept. of Environment, | Primary | - The Department of Environment is the primary | High | - Government Regulatory agency to provide Environmental Clearance (EC) to the |
| --- | --- | --- | --- | --- | --- |

|  | Stakeholders | Category of stakeholder | Brief profile | Overall influence on the project | Basis of Influence Rating |
| --- | --- | --- | --- | --- | --- |
|  | Bangladesh |  | government regulatory authority for Environmental protection in Bangladesh. |  | project based on evaluation and approval of Environmental Impact Assessment (EIA) study - Responsible for monitoring project’s Environmental compliance throughout the project lifecycle |
| 5 | Other Regulatory & Permitting Authorities | Primary |  | High | - Agencies required for obtaining permits and licenses for establishment and operation of the project - Primary involvement during pre- construction and operation phases |

Political Administration

| 6 | Ward leaders & local representatives | Secondary | - Elected representative at ward level i.e. village level for a fixed tenure | Medium | - Plays important role in providing public opinion and sentiment on the project - Empowered to provide consent and authorization for establishment of project on behalf of the community |
| --- | --- | --- | --- | --- | --- |

Other Institutional Stakeholders Groups

| 7 | Local NGOs and Community & Social Welfare Groups (CSWG) | Secondary | - Microfinance agencies, social welfare groups and charitable organizations working in the area | Low | - No major involvement in the project as per today - Possible inclusion during future stages of the project with respect to project related community welfare activities |
| --- | --- | --- | --- | --- | --- |

12.5      Public Consultation Meetings (PCMs)

Field surveys and consultations with different stake holders including affected communities were carried out to throughout EA study. Consultation meetings were held through focus group discussions, individual meetings and public consultations. A questionnaire survey was performed during individual discussion done.

Discussion was held with the local people at Baburail Khal. Date, location and the number of participants of each discussion is listed in Table 12.5.1. The local people attended the focused group discussion meeting include Shop owners, Businessman, Farmer etc. The summary of focused group meeting (FGD) is shown in Table 12.5.2.  Attendances of Focus Group Discussion meeting are provided in Annex. Photographs of focus group discussion are given in Figure 12.5.1 to Figure 12.5.8.

Table 12.5.1: Details of FGD Meetings

| Sl. | Date | Location of the meeting | Total Participants | Category of participants |
| --- | --- | --- | --- | --- |
| 1 | 01.04.17 03.04.17 and 09.04.17 | Nimtali Bazar, RK Mitra Road, SK Biswas road, Bangla Bazar, B Das Road, | 31 | Shop owners and Businessman |

Table 12.5.2: Summary of Focus Group Discussion (FGD) Meeting

| Sl. No | Issues discussed | Participant’s Opinion, comments and Suggestions | Response to Questions/Action Point |
| --- | --- | --- | --- |
| 1 | General perception about the subproject and the awareness about the proposed subproject. | Most of the participants are in favor of the subproject and have been made aware of the proposed subproject through the various surveys that have taken place | Acceptance of the subproject |

| Sl. No | Issues discussed | Participant’s Opinion, comments and Suggestions | Response to Questions/Action Point |
| --- | --- | --- | --- |
| 2 | Do you Support for the Proposed subproject? | Everybody said that they will support the project and advise the Consultants to take precautions in the environmental mitigation to avoid the various impacts anticipated during the preconstruction, construction and operation stages of the project and to ensure protection of the natural water bodies of the areas. | The Consultants informed that during the study, the design and layout of all infrastructures have been considered the anticipated adverse impacts. EMP covers specific measures to follow during the construction process in protecting natural water bodies |
| 3 | Does the proposed Project create any problem with ambient air, noise quality or water quality? | Waste water discharge, Noise, vibration and dust will be major issues during construction and operation | Impact of the project upon ambient air, noise quality, water quality has been assessed during EA study. EMP will be provided instructions limiting environmental qualities to comply with the standards and penalties for violations. |
| 4 | Does the proposed project going to provide better traffic system? | All the participants felt that the proposed road construction project will facilitate a better traffic system. Participants mentioned that safety measures are especially important for social institutions like schools, hospitals etc. | Some concerns over safety, supporting design measures such as increased number of sign board, road mark, bump etc. |
| 5 | Protected areas (national parks protected forest, religiously sensitive sites, historical or archaeological sites), if any | The proposed Baburail Khal restoration construction projects do not pass any protected or ecological critical area. | No concerns over the park, the nearest sites with terms of cultural or religious significance are far from the proposed Khal. |
| 6 | Employment Status: Percentage of employment/ unemployment/ underemployment | Unemployment is expected in the project area | Job chance and employment will be enhanced and promoted once the construction has been stared. |
| 7 | Impact of the project on the aquatic environment | The livelihood of the fishermen community should be taken into consideration | As a conclusion of impact prediction, fishery is not affected and aquatic diversity remains same since water quality or hydrological condition is not affected (or worsen) by the project. |

| Sl. No | Issues discussed | Participant’s Opinion, comments and Suggestions | Response to Questions/Action Point |
| --- | --- | --- | --- |
| 8 | If this Khal is restore, there may be large groups of workers living temporarily in the area, and construction operations that generate noise and dust. Are there any other issues about construction, including noise and dust that might worry you? | The respondents strongly welcome the link road construction activities. Many observed that the measures are temporary and besides there will be more chances for local communities to be employed during construction, providing both skilled and unskilled labor. Participants did not mention any other problems which might bother them other then following basic safety rules. | Residents understand that construction impacts can be expected and do not have an issue with these, provided safety measures are taken. |

Figure 12.5.1: FGD Meeting with Local People at Deobhog, Bangla Bazar

Figure 12.5.2: Meeting with Local People at RK Mitra Road

12.6      Public Disclosure Meetings (PDMs)

Public Consultation meeting was held at NCC Conference room during project preparation and to share the draft EA and SIA reports. A public consultation meeting was held on 11th April 2017 with the local communities.  Notices about the consultation meeting were circulated to the local communities through leaflets one week in advance of the meeting. Posters were also displayed at public places at City Corporation gate, market and bus stand and railway station). Additionally, meetings were also held with NCC officials.

Photographs of public consultation are given in Figure 12.6.1 and 12.6.2. During these consultations, leaflets on key environmental and social issues were distributed to the participants (these were prepared in local Bangla language) and posters were also displayed at the venue. Power point presentations were made by the environmental and social experts. Participants were encouraged to ask questions on the environmental and social issues. Detail of consultation meeting and participation were presented in Table 12.6.1. The Summary of Consultation meeting were presented in Table 12.6.2. The leaflets of presentation material for public consultation meeting were presented in Annex.

Table 12.6.1: Details of Consultation Meetings

| Date | Meeting |  | Male | Female | Total |
| --- | --- | --- | --- | --- | --- |
| 1st March 2017 | Focus group discussions |  | 31 | - | 31 |
| 3rd March 2017 | Individual Interview |  | 8 | 1 | 9 |
| 11th April 2017 | NCC auditorium |  | 65 | 7 | 72 |
| Total |  |  | 104 | 8 | 112 |

Table 12.6.2: Summary of Consultation

| S.N. | Comment | Response/Action Plan |
| --- | --- | --- |
| 1 | Can we make an Auto-stand for the Padel Chalito Autos? Nuruddin Ahmed (President, Narayanganj bashi Shonggothon) | To provide a sustainable solution to transport problem we thought about promoting Public Transport like Buses. The road should be widen up to 7m. Then buses will start running on these roads. It will be an environment friendly solution. |
| 2 | How to manage the waste materials that accumulate beside the drains? Where to dump these wastes? Advo. AB Siddique (President, BAPA) | After collection of solid waste in bins, the solid waste will be disposed outside the city about 30 km away, this process will be implemented through tender which is now under process. An Environmental Monitoring cell will be formed and local people will also involve to monitor as well as involve in the solid waste management work. There will be fixed dustbins beside Gymkhana Lake. |
| 3 | Have the consultants considered the existence of Gas line and WASA line (Utility Lines) during the designing/planning? Will the Utility lines be interrupted/ disturbed by the development works? Will there be any walkway/road beside the Khal if all the private bridges get demolished? Obaidullah (Ex-Panel Mayor) | Yes, we have. If there appears any kind of obstacle of the utility lines then it will be removed. There will be walkways beside the water bodies. Project‟s social survey is on-going and the decision for road connectivity will be taken after the findings from the social and traffic surveys are received. |
| 4 | When will the project start and what is the total duration of the project? Nazmul Alam (Councilor 16 No. Ward) | The package-1 is already running and total duration of the whole subproject is about 2 years. Hopefully within 2019 the whole project will complete. |
| 5 | Will the Khal be filled with water ever (as consultant proposed dams/sluice gate)? Abdus Salam (President, Narayanganj Press Club) | Three internal khals are also connected to Baburail Khal and their polluted water should not contaminate Baburail Khal. We are thinking about connecting internal khals to RCC pipe drain. It is noteworthy that, the underground water level is in good condition and water level will always be 4.5 m from the bed level of the khal. |
| 6 | Is there any provision of potable water? Is there provision of maintenance of trees? Is there any provision of Public Toilet? | Thanks for your suggestion. We will try to incorporate it in our plan and designs. There is provision for public toilet in Baburail Khal. |

| S.N. | Comment | Response/Action Plan |
| --- | --- | --- |
| 7 | Is there any provision of water treatment plant? After provision of dams will this turn Baburail Khal/Lake into a pond? Will this water body be pollution free? Afzal Hossain (General Secretary, Narayanganj Press Club) | We are not treating the Lake water. We will preserve the rainwater in it which will be clean. We are putting sluice gate so that this clean water does not get mixed with the polluted water that comes from river branches. |
| 8 | Will there be any resettlement plan of the settlements along R.K. Mitro road? Abdur Rahman Liton (Secretary, Shop Owners Union) Liton: We have shifted our shops in our own initiatives for the betterment of the project. | Honorable Mayor has got some creative ideas about the resettlement and that will definitely happen. |
| 9 | Will there be any development of other Lakes, bridges outside the Narayanganj City Corporation area (From Dhaleshwari to Shitalakkhya River)? Is it possible to come to NCC office directly from Chasara by rickshaw? Sharifuddin Shobuj (Narayanganj Press Club) | I will try to work for the development works along Shitalakhya River to Dhaleshwari River. Vitti: Honorable Mayor has taken the ownership of working in the Union Level by developing partnership with LGED. In Bangladesh LGED is the only Engineering Department to work with Union Parishad. Some person wanted all of the Survey Data of TIA and SIA. But he was assured that these data are confidential so those won‟t be provided. But the entire planning of Baburail Khal Project will be available online within very short time. |
| 10 | Will there be any katcha bazar (Organic food store) inside the plan? (He was concerned because famous Kacha bazar of Meenabazar/Boubazar was being demolished) Ranjit Kumar Das (SM Malik Road) | Kachha Bazar is unhygienic. So, modern Grocery stores (Departmental store) will come to the area instead. However, if people still want a traditional kacha bazar then I will try to think of it. There is no provision for Katcha bazar along the Khal because of environmental concern. |
| 11 | Is there any provision of public toilet in the plan? How many and where? Mizanur Rahman Tulu (Businessman, R K Mitra Road) | We have thought of creating a recreational space surrounding the water bodies. In Baburail Khal there will be public toilets. However, as per your concern we will try to make arrangements for drinking water beside the water bodies also |
| 12 | How long is this project going to take to become a reality? Can we bring Shitalakhya River inside the realm of this project? (He also wants that river to be pollution free) Md. Shofiuddin Prodhan (Ward Councilor of Ward 14) | It‟s a two years‟ project. We have already started the work for segment one. One tender is passed. Now it‟s time for the other segments. Eventually, the project will be done by the end of 2018 or the beginning of 2019. We all want to save Shitalakhya. This is now a national problem. If government wants to do it, then it might be possible to save our rivers. We have to find it out from the Rainfall data. We considered the increase of traffic flow in the project. We have to check it back in our TIA. DAP is on-going. So, plan for a building will not pass if it does not have a road that is 7m wide. |
|  |  | Concluding Note Mayor: In conclusion note Mayor expressed her gratitude to all for attending in the meeting and making it successful. She informed the audience that a portion (package-1) of the project is already on-going and tender for package-2 will be prepared very soon. Narayanganj is a city of Khal and Rivers and connected by seven rivers directly and indirectly. Government is now taking positive initiatives to save the rivers and agricultural land with proper law and order. Mayor has an agenda to save the playground, doing tree plantation and she has already given directions to new elected councilors to provide her with a list of Khals and water bodies that need to be restored. |

Figure 12.6.1: Public Consultation Meeting with Local People at NCC Auditorium

Figure 12.6.2: Public Consultation Meeting with Local People at NCC Auditorium

## 12.7	Access to Information

The EA, SIA and RAP reports will be disclosed in the NCC website. Consultation workshops were held on 11th April 17 at NCC auditorium to share and disclose the results of the draft EA report. Invitations were sent to relevant stakeholders including local government officials and local community. The documents will also be sent to the World Bank info shop. The executive summaries of EA, SIA and RAP documents will also be translated and will be made available to the local communities by placing them at NCC Offices.

# CHAPTER -13: INDICATIVE EMERGENCY RESPONSE PLAN

# CHAPTER -13: INDICATIVE EMERGENCY RESPONSE PLAN

Emergency and disaster management can be defined as the organization and management of resources and responsibilities for dealing with all humanitarian aspects of emergencies, in particular the preparedness, response, and recovery to lessen the impact of disasters. Emergency Preparedness Planning (EPP) and Contingency Planning (CP) are the processes of disaster management plan for developing strategies, arrangements, and procedures to address the humanitarian needs of those adversely affected by the crisis. There are four main types of disasters, namely: Natural disasters, Environmental Emergencies, Complex Emergencies, and Pandemic Emergencies.

For the subproject activities, City Corporation officials would identify the immediate needs, prioritize the tasks, and identify resource requirements to address the humanitarian needs of those adversely affected by the crisis.

13.1 Emergency Response Planning (ERP)

Emergency response plans are required to include at least implementation of and training in the following procedures:

- All construction, fabrication, welding should be done utilizing good practice in response to requirement of emergency re-work and as such all tools, equipment machinery and materials must be properly stored for use as soon as needed;

- Emergency escape procedures and escape route assignments should be in place;

- The presence of employees and members of public if involved must be taken into account for evacuation;

- Emergency shut-down procedures and qualified personnel assignments must be in place;

- Rescue and medical duties must be assigned for employees who will perform them.

An Emergency and Contingency Preparedness Plan will be prepared by each contractor after assessing potential risks and hazards that could be encountered during construction. The plan will be submitted to the NCC for their review and approval before contractor mobilization.

13.2 Alarm Systems/ Cautionary Systems

In case of earth quake, thunder storm, storm, fire hazard and any kind of disaster and emergency, the contractor should establish a system to alert all employees.

13.3 Training

Employees must be trained in the use and purpose of the Emergency Response Plan:

- When the plan is developed;

- Whenever the emergency action plan responsibilities change;

- Whenever the plan modified.

During the regular training conducted by MSU of MGSP with the assistance of DSM consultant, a separate session is recommended to discuss about the emergency preparedness.

13.4 Spills Prevention

Small amount of spill may release. Hence, it will not create any emergency situation. However, measures for the spill prevention will be required.

# CHAPTER -14: CONCLUSION AND RECOMMENDATION

# CHAPTER 14: CONCLUSION AND RECOMMENDATION

14.1 Conclusion

This study has been carried out for the proposed Baburail Canal restoration subproject to meet the regularity requirements of DoE and GoB. Activity wise environmental impacts of all the elements of the subproject have been assessed and were identified in relation to subproject site, construction, and operation phases. The study has been conducted through identifying the potential impacts, assessing them and recommending possible mitigating and enhancing measure for negative and positive impacts, respectively. An outline of EMP has been given in the study to mitigate the adverse impacts and to enhance the positive impacts, which are expected to occur during construction and operation phase of the subproject.

The major negative impact may arise from the excavation, transportation and disposal of the excavated materials to the designated dump site. Quality analysis of the soil/sediments/sludge sample indicates that the excavated materials can be used in the inland application such as filling of the low lands. City Corporation can think of it for re-using of the excavated soils for filling of the low-land. But it would be better dumping of the excavated materials in the designated dumping site most preferably in the Jim Khana dumping site.

The major negative impacts also may come from site clearing work.  The adverse impacts on the physicochemical components such as air quality, noise level, traffic congestion, solid waste generation etc will be localized and limited during construction period. It is also anticipated that the overall adverse impacts due to the subproject activities is manageable through mitigation measures. In fact, the anticipated impacts due to the subproject activities are relatively minor in comparison to the significant benefits that will derive due to the implementation of the subproject. Thus, it can be concluded that the proposed subproject is environmentally acceptable and will bring economic, social and environmental benefits to the local community.

14.2 Recommendation

The canal water should be free from domestic wastewater, sewage or storm runoff pollution. However, both sides RCC pipe drain has been proposed with sufficient capacity to drain-out the storm water.  The four other existing canals which carry household wastewater and rain water enter directly to the Baburail canal is a major problem and spoil the aim of the subproject.

Few key recommendations are outlined below:

- Mitigation and enhancement measures mentioned in the EMP should be followed properly;

- Handling, transportation and disposal of the excavated sediments/sludge should be done effectively;

- Other 4 canals should be cleaned and connect with the RCC pipe drain to discharge in the River;

- Local people should be employed as much as possible during the pre-construction and construction phases. The contractor should be specifically instructed to employ local labourers as much as possible;

- The health and safety issues of workers should be taken care;

- The construction labour camps should be provided with water supply and sanitation facilities. The workers should be apprised of hygienic practices;

- The contractor is responsible for the proper disposal of the generated wastes materials from the subproject sites and Campsite;

- Contractor will ensure availability of the PPEs to the workers;

- Contractor will monitor behavioral matter of the workers to avoid any undue risks related to labor influx;

- Contractors will maintenance the planted trees during project liability period;

- NCC safeguard concerns, assistant municipal engineer and Jr. environmental specialist should visit the site regularly;

- Monthly monitoring report should be properly analyzed and corrective action should be taken immediately.

It should be noted that environmental assessment report is a live document. Hence, due to changing circumstances during the construction phase if any, there might be minor adaptation needed for environmental, health and safety issues.

- REFERENCES

- Metcalf & Eddy (1991), “Wastewater Engineering”, McGraw-Hill Inc., Singapore.

- Peavy & Rowe (1985), “Environmental Engineering”, McGraw-Hill Inc., Singapore.

- Eckenfelder (1989), “Industrial Water Pollution Control”, McGraw-Hill Inc., Singapore

- Sawyer & McCarty (1994), Chemistry for Environmental Engineers”, McGraw-Hill Inc., Singapore.

- S.S Dara (1995), “Environmental Chemistry and Pollution Control”, S. Chand & Company Ltd., New Delhi, India.

- A.K De (1989), “Environmental Chemistry”, Wiley Eastern Ltd., New Delhi, India.

- Arceivala (1994), Wastewater Treatment for Pollution Control”, Tata McGraw-Hill Publishing Co. Ltd., New Delhi, India.

- Sincero & Sincero (1999), “Environmental Engineering”, Prentice Hall of India Private Ltd., New Delhi.

- Kudesia (1996), “Industrial Pollution”, Pragati Prakashani, Meerut, India.

- BBS (2012), "The Statistical Yearbook of Bangladesh." Bangladesh Bureau of Statistics, Dhaka, Bangladesh.

- Bangladesh Population Census, Bangladesh Bureau of Statistics; Cultural survey report of Tangail Sadar Upazila.

- Canter, G. T. (1983), “Environmental Impact Assessment Handbook”. McGraw Hill, England

- DOE (1997) "Environmental Conservation Rules",  Department of Environment, Govt. of Bangladesh.

- DOE (1995) "Environmental Conservation Act",  Department of Environment, Govt. of Bangladesh.

- GOB, (1992), “Bangladesh Environmental Policy”.

- GOB, (1995), “National Environmental Management Action Plan (NEMAP)”.

- Munn, R.E. (1979), "Environmental Impact Assessment : Principal   and Procedures." Jhon Wiley & Sons.

- Nemerow, N. L. (1979) "Industrial Water Pollution" Addision-  Wesley publishing Co

# CHAPTER -15: ANNEXURE

Excerpts from WB OP 4.12 WB Operational Manual. December 2001.

EHS Guidelines available at: http://www.ifc.org/wps/wcm/connect/554e8d80488658e4b76af76a6515bb18/Final%2B-%2BGeneral%2BEHS%2BGuidelines.pdf?MOD=AJPERES